

Australian Capital Territory

Construction Occupations (Licensing) Regulation 2004

SL2004-36

made under the

Construction Occupations (Licensing) Act 2004

Republication No 43

Effective: 6 June 2020 – 30 June 2020

Republication date: 6 June 2020

Last amendment made by [A2019‑48](http://www.legislation.act.gov.au/a/2019-48/%22%20%5Co%20%22Building%20and%20Construction%20Legislation%20Amendment%20Act%202019)
(republication for amendments by [A2019-43](https://www.legislation.act.gov.au/a/2019-43/))

About this republication

The republished law

This is a republication of the *Construction Occupations (Licensing) Regulation 2004*, made under the *Construction Occupations (Licensing) Act 2004* (including any amendment made under the [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), part 11.3 (Editorial changes)) as in force on 6 June 2020. It also includes any commencement, amendment, repeal or expiry affecting this republished law to 6 June 2020.

The legislation history and amendment history of the republished law are set out in endnotes 3 and 4.

Kinds of republications

The Parliamentary Counsel’s Office prepares 2 kinds of republications of ACT laws (see the ACT legislation register at [www.legislation.act.gov.au](http://www.legislation.act.gov.au)):

* authorised republications to which the [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14) applies
* unauthorised republications.

The status of this republication appears on the bottom of each page.

Editorial changes

The [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), part 11.3 authorises the Parliamentary Counsel to make editorial amendments and other changes of a formal nature when preparing a law for republication. Editorial changes do not change the effect of the law, but have effect as if they had been made by an Act commencing on the republication date (see [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), s 115 and s 117). The changes are made if the Parliamentary Counsel considers they are desirable to bring the law into line, or more closely into line, with current legislative drafting practice.

This republication does not include amendments made under part 11.3 (see endnote 1).

Uncommenced provisions and amendments

If a provision of the republished law has not commenced, the symbol **U** appears immediately before the provision heading. Any uncommenced amendments that affect this republished law are accessible on the ACT legislation register ([www.legislation.act.gov.au](http://www.legislation.act.gov.au)). For more information, see the home page for this law on the register.

Modifications

If a provision of the republished law is affected by a current modification, the symbol **M** appears immediately before the provision heading. The text of the modifying provision appears in the endnotes. For the legal status of modifications, see the [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), section 95.

Penalties

At the republication date, the value of a penalty unit for an offence against this law is $160 for an individual and $810 for a corporation (see [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), s 133).



Australian Capital Territory

Construction Occupations (Licensing) Regulation 2004

made under the

Construction Occupations (Licensing) Act 2004

Contents

 Page

[Part 1 Preliminary 2](#_Toc42237519)

 [1 Name of regulation 2](#_Toc42237520)

 [2 Dictionary 2](#_Toc42237521)

 [3 Notes 2](#_Toc42237522)

 [4 Offences against regulation—application of Criminal Code etc 3](#_Toc42237523)

[Part 1A Work in construction occupation 4](#_Toc42237524)

 [4A Construction occupation of builder—excluded work—Act, s 6 (3) (b) 4](#_Toc42237525)

[Part 2 Licences 5](#_Toc42237526)

 [5 Licence applications—Act, s 17 (3) 5](#_Toc42237527)

 [6 Information required on licence—Act, s 23 (2) 7](#_Toc42237528)

 [7 Term of licences generally—Act, s 24 8](#_Toc42237529)

 [8 Term of licence for building assessors, building surveyors, plumbing plan certifiers and works assessors—Act, s 24 8](#_Toc42237530)

[Part 3 Register 10](#_Toc42237531)

 [9 Particulars in register 10](#_Toc42237532)

 [10 Keeping register 11](#_Toc42237533)

[Part 4 General eligibility requirements 12](#_Toc42237534)

[Division 4.1 Eligibility to be licensed 12](#_Toc42237535)

 [11 Not eligible because of suspension 12](#_Toc42237536)

 [11A Not eligible because of criminal activity 12](#_Toc42237537)

 [12 Individuals not eligible 12](#_Toc42237538)

 [13 Eligibility for licence—suitability and financial requirements—Act, s 18 and s 24A 13](#_Toc42237539)

 [14 Skill assessment of individuals 14](#_Toc42237540)

 [14A Notice of skill assessment 15](#_Toc42237541)

 [15 Corporations and partnerships eligible for some occupations 17](#_Toc42237542)

 [16 Eligibility to be owner-builder 18](#_Toc42237543)

 [16B Eligibility to be building assessor 19](#_Toc42237544)

 [17 Eligibility to be building surveyor 20](#_Toc42237545)

 [18 Eligibility to be plumbing plan certifier 21](#_Toc42237546)

 [18A Eligibility to be works assessor 21](#_Toc42237547)

[Division 4.1A Licence renewal 22](#_Toc42237548)

 [18B Requirement to undertake assessment 22](#_Toc42237549)

[Division 4.2 Nominees 25](#_Toc42237550)

 [19 Eligibility to be nominee—Act, s 28 (6) 25](#_Toc42237551)

[Part 5 Licence conditions and endorsements 27](#_Toc42237552)

[Division 5.1 Licence conditions on licences 27](#_Toc42237553)

 [20 Prescribed licence conditions—Act, s 21 (1) 27](#_Toc42237554)

 [21 Change of register information 27](#_Toc42237555)

 [21A Comply with code of practice 27](#_Toc42237556)

 [22 Corporate licences 28](#_Toc42237557)

 [23 Partnership licences 28](#_Toc42237558)

 [24 Individual licences 28](#_Toc42237559)

 [25 Operative drainers 28](#_Toc42237560)

 [26 Journeyperson gasfitters 29](#_Toc42237561)

 [27 Journeyperson plumbers 29](#_Toc42237562)

 [28 Certain building surveyors 29](#_Toc42237563)

[Division 5.2 Endorsements on licences 30](#_Toc42237564)

 [30 Endorsing builders licences for building work—Act, s 22 30](#_Toc42237565)

 [31 Endorsing plumbers licences for backflow prevention device test work—Act, s 22 30](#_Toc42237566)

 [31A Endorsing building assessors licences for use of software—Act, s 22 31](#_Toc42237567)

 [31B Endorsing licences for gas appliance work—Act, s 22 31](#_Toc42237568)

 [31C Endorsing electricians licences for work on interval meters—Act, s 22 32](#_Toc42237569)

 [32 Considerations for endorsing licences 33](#_Toc42237570)

[Division 5.3 Returning and replacing licences and unlicensed services 34](#_Toc42237571)

 [32A Return of licence 34](#_Toc42237572)

 [33 Replacement licences 34](#_Toc42237573)

 [35 Services that may be provided without licence 35](#_Toc42237574)

[Part 6 Construction occupation classes 38](#_Toc42237575)

 [36 Classes of licence generally 38](#_Toc42237576)

 [37 Classes of builder 38](#_Toc42237577)

 [37B Classes of building assessor 38](#_Toc42237578)

 [38 Classes of building surveyor 38](#_Toc42237579)

 [39 Classes of drainer 38](#_Toc42237580)

 [40 Classes of electrician 38](#_Toc42237581)

 [41 Classes of gasfitters 38](#_Toc42237582)

 [41A Classes of gas appliance worker 39](#_Toc42237583)

 [42 Classes of plumber 39](#_Toc42237584)

[Part 6A Notification and review of decisions 40](#_Toc42237585)

 [42A Reviewable decisions—Act, s 123A, def *reviewable decision* 40](#_Toc42237586)

 [42B Right of review and notice—Act, s 123B and s 123C (a) 40](#_Toc42237587)

[Part 7 Miscellaneous 41](#_Toc42237588)

 [43 Short descriptions and demerit points 41](#_Toc42237589)

 [44 Information in report to Minister—Act, s 112 41](#_Toc42237590)

 [45 Requirements for notices requesting skill assessment of licensees—Act, s 55A 42](#_Toc42237591)

[Part 8 Transitional 44](#_Toc42237592)

 [46 Meaning of *repealed Act* for pt 8 44](#_Toc42237593)

 [47 Meaning of *licence* for s 9 (1) (h) 44](#_Toc42237594)

 [48 Meaning of *licensee* and *occupational discipline—*s 9 (1) (i) 44](#_Toc42237595)

 [49 Requirement to consult under s 13 44](#_Toc42237596)

 [50 Meaning of *owner-builders licence* for s 16 45](#_Toc42237597)

 [51 Meaning of *licence* for s 34 45](#_Toc42237598)

[Schedule 1 Classes of construction occupation licence and functions 46](#_Toc42237599)

[Part 1.3 Builder 46](#_Toc42237600)

[Part 1.3A Building assessor 47](#_Toc42237601)

[Part 1.4 Building surveyor 48](#_Toc42237602)

[Part 1.5 Drainer 49](#_Toc42237603)

[Part 1.6 Electrician 50](#_Toc42237604)

[Part 1.7 Gasfitters 52](#_Toc42237605)

[Part 1.7A Gas appliance worker 53](#_Toc42237606)

[Part 1.8 Plumbers 54](#_Toc42237607)

[Part 1.9 Works assessors 55](#_Toc42237608)

[Schedule 2 Demerit grounds for occupational discipline 56](#_Toc42237609)

[Part 2.1 Builders licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 56](#_Toc42237610)

[Part 2.2 Building surveyors licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 67](#_Toc42237611)

[Part 2.3 Drainers licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 71](#_Toc42237612)

[Part 2.4 Electricians licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 77](#_Toc42237613)

[Part 2.5 Gasfitters licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 91](#_Toc42237614)

[Part 2.6 Plumbers licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 104](#_Toc42237615)

[Part 2.7 Plumbing plan certifiers licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 112](#_Toc42237616)

[Part 2.7A Works assessor licence demerit grounds for occupational discipline—Act, s 55 (1) (a) 114](#_Toc42237617)

[Part 2.8 All licences demerit grounds for occupational discipline—Act, s 55 (1) (a) 115](#_Toc42237618)

[Schedule 3 Licence demerit grounds for occupational discipline under Act, s 55 (1) (other than par (a)) 117](#_Toc42237619)

[Schedule 4 Reviewable decisions 118](#_Toc42237620)

[Dictionary 121](#_Toc42237621)

[Endnotes 124](#_Toc42237622)

 [1 About the endnotes 124](#_Toc42237623)

 [2 Abbreviation key 124](#_Toc42237624)

 [3 Legislation history 125](#_Toc42237625)

 [4 Amendment history 131](#_Toc42237626)

 [5 Earlier republications 139](#_Toc42237627)

 [6 Expired transitional or validating provisions 142](#_Toc42237628)



Australian Capital Territory

Construction Occupations (Licensing) Regulation 2004

made under the

[Construction Occupations (Licensing) Act 2004](http://www.legislation.act.gov.au/a/2004-12%22%20%5Co%20%22A2004-12)

Part 1 Preliminary

1 Name of regulation

This regulation is the Construction Occupations (Licensing) Regulation 2004.

2 Dictionary

The dictionary at the end of this regulation is part of this regulation.

Note 1 The dictionary at the end of this regulation defines certain terms used in this regulation, and includes references (signpost definitions) to other terms defined elsewhere.

 For example, the signpost definition ‘specialist building work—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), section 9.’ means that the term ‘specialist building work’ is defined in that section and the definition applies to this regulation.

Note 2 A definition in the dictionary (including a signpost definition) applies to the entire regulation unless the definition, or another provision of the regulation, provides otherwise or the contrary intention otherwise appears (see [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 155 and s 156 (1)).

3 Notes

A note included in this regulation is explanatory and is not part of this regulation.

Note See the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 127 (1), (4) and (5) for the legal status of notes.

4 Offences against regulation—application of Criminal Code etc

Other legislation applies in relation to offences against this regulation.

Note 1 Criminal Code

The [Criminal Code](http://www.legislation.act.gov.au/a/2002-51), ch 2 applies to all offences against this regulation (see Code, pt 2.1).

The chapter sets out the general principles of criminal responsibility (including burdens of proof and general defences), and defines terms used for offences to which the Code applies (eg conduct, intention, recklessness and strict liability).

Note 2 Penalty units

The [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 133 deals with the meaning of offence penalties that are expressed in penalty units.

Part 1A Work in construction occupation

4A Construction occupation of builder—excluded work—Act, s 6 (3) (b)

 (1) A building exempted by the Minister under the [Building (General) Regulation 2008](http://www.legislation.act.gov.au/sl/2008-3), section 7 is excluded work from the construction occupation of a builder for the stated period mentioned in the exemption, subject to any condition mentioned in the exemption.

 (2) A building or building work mentioned in the [Building (General) Regulation 2008](http://www.legislation.act.gov.au/sl/2008-3), schedule 1, part 1.2 is excluded work from the construction occupation of a builder, subject to any condition mentioned in that part, column 3.

 (3) A building or building work mentioned in the [Building (General) Regulation 2008](http://www.legislation.act.gov.au/sl/2008-3), schedule 1, part 1.3 is excluded work from the construction occupation of a builder, subject to any condition mentioned in that part, column 4.

Part 2 Licences

5 Licence applications—Act, s 17 (3)

A licence application must contain the following information:

 (a) the applicant’s name;

 (b) the construction occupation and class of construction occupation the application relates to;

 (c) any endorsement being applied for;

 (d) if the applicant is an individual—

 (i) the applicant’s date of birth; and

 (ii) the applicant’s home address; and

 (iii) if the applicant is applying for a principal building surveyor employee or general building surveyor employee licence—the name of the applicant’s employer or proposed employer; and

 (iv) the applicant’s mobile telephone number;

 (e) if the applicant is a partnership—

 (i) evidence of the existence of the partnership; and

 (ii) the name of each partner; and

 (iii) if a partner is a corporation—the partner’s ACN (if any); and

 (iv) the following for each of the applicant’s nominees:

 (A) the nominee’s name, business address, email address and mobile telephone number;

 (B) the nominee’s landline telephone number and fax number (if any);

 (f) if the applicant is a corporation—

 (i) its ACN (if any); and

 (ii) the following for each of the applicant’s nominees:

 (A) the nominee’s name, business address, email address and mobile telephone number;

 (B) the nominee’s landline telephone number and fax number (if any); and

 (iii) if the history of the corporation is on a database kept by the Australian Securities and Investments Commission—an extract about the history of the corporation from the database;

 (g) the applicant’s—

 (i) business telephone number and email address; and

 (ii) fax number (if any);

 (h) if the application is for a licence as—

 (i) a building assessor—the name of the insurer who will provide the insurance mentioned in section 16B (Eligibility to be building assessor); or

 (ii) a building surveyor—the name of the insurer who will provide the insurance mentioned in section 17 (Eligibility to be building surveyor); or

 (iii) a plumbing plan certifier—the name of the insurer who will provide the insurance mentioned in section 18 (Eligibility to be plumbing plan certifier); or

 (iv) a works assessor—the name of the insurer who will provide the insurance mentioned in section 18A (Eligibility to be works assessor);

 (i) evidence that the applicant is eligible to be licensed in the construction occupation or class of construction occupation applied for;

 (j) if an endorsement is being applied for—evidence that the applicant is capable of providing each construction service allowed to be provided under the endorsement;

 (k) whether the applicant has been licensed before and, if so, details of each previous licence;

 (l) whether the applicant has been convicted or found guilty of any offence involving fraud, dishonesty or violence, punishable by imprisonment for 1 year or more and, if so, details of each conviction or finding.

Note Under the [Spent Convictions Act 2000](http://www.legislation.act.gov.au/a/2000-48), an applicant need not include in an application certain spent convictions or extinguished convictions (see that Act, s 16 (c) (i) and s 19H (1) (c) (i)).

6 Information required on licence—Act, s 23 (2)

 (1) In addition to the information required by the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 23 (2), the following information must be included on a licence:

 (a) any endorsement relating to the licence;

 (b) the period for which the licence is issued in relation to each construction occupation and class of construction occupation;

 (c) if the licensee is a partnership—

 (i) the name of each partner; and

 (ii) if a partner is a corporation—the partner’s ACN (if any);

 (d) if the licensee is a corporation—its ACN (if any);

 (e) whether the licence is subject to conditions and, if it is, which construction occupation or class of construction occupation the conditions apply to.

 (2) A licence condition may, but need not, be included on the licence.

7 Term of licences generally—Act, s 24

 (1) The maximum period for which a licence in the following construction occupations may be issued or renewed is 3 years:

 (a) builder;

 (b) electrician;

 (c) plumber;

 (d) drainer;

 (e) gasfitter;

 (f) gas appliance worker.

 (2) However, an applicant for the issue or renewal of the licence may apply for a 1-year licence and, if the applicant does apply, the maximum period for which the licence may be issued or renewed is 1 year.

8 Term of licence for building assessors, building surveyors, plumbing plan certifiers and works assessors—Act, s 24

 (1) This section applies to a licence in the construction occupation of the following:

 (a) building assessor;

 (b) building surveyor;

 (c) plumbing plan certifier;

 (d) works assessor.

 (2) The maximum period for which a licence may be issued or renewed is 1 year.

 (3) However, if the applicant for the issue or renewal of the licence has insurance required under this regulation for a period of less than 1 year, the maximum period for which the licence may be issued or renewed is the period for which the applicant has insurance.

Part 3 Register

9 Particulars in register

 (1) The register must contain the following particulars in relation to a licensee:

 (a) the details included in the licensee’s licence;

 (b) the licensee’s—

 (i) business telephone number and email address; and

 (ii) fax number (if any);

 (c) if the licensee is—

 (i) a building assessor—the name of the insurer who provides the insurance mentioned in section 16B (Eligibility to be building assessor); or

 (ii) a building surveyor—the name of the insurer who provides the insurance mentioned in section 17 (Eligibility to be building surveyor); or

 (iii) a plumbing plan certifier—the name of the insurer who provides the insurance mentioned in section 18 (Eligibility to be plumbing plan certifier); or

 (iv) a works assessor—the name of the insurer who provides the insurance mentioned in section 18A (Eligibility to be works assessor);

 (d) if the licensee is an individual—the licensee’s mobile telephone number;

 (e) if the licensee is a corporation or partnership—

 (i) the name, business address, email address and mobile telephone number of each of the licensee’s nominees; and

 (ii) the landline telephone number and fax number (if any) of each of the licensee’s nominees;

 (f) if the licensee’s licence is suspended—details of the suspension;

 (g) if the licensee has ever had a licence suspended—details of the suspension, if available;

 (h) details of any suspension of the licence, whether or not the suspension has ended, if available;

 (i) details of any occupational discipline taken in relation to the licensee, if available;

 (j) whether any occupational discipline is being taken in relation to the licensee.

 (2) The registrar may enter in the register any other details the registrar considers appropriate, including information about former licensees.

10 Keeping register

The registrar may—

 (a) correct a mistake, error or omission in the register; or

 (b) correct or omit an entry that has become inaccurate.

Part 4 General eligibility requirements

Division 4.1 Eligibility to be licensed

11 Not eligible because of suspension

An entity is not eligible to be licensed in a construction occupation or class of construction occupation if—

 (a) the entity is licensed in another occupation or class of occupation; and

 (b) the licence is suspended; and

 (c) the registrar is satisfied that, because of the grounds for the suspension, it is not appropriate for the entity to be licensed in the occupation or class of occupation.

Note A suspended licence may be renewed (see [Act](http://www.legislation.act.gov.au/a/2004-12/), s 25 (4)).

11A Not eligible because of criminal activity

If a person’s licence is cancelled by a cancellation order made under the [Act](https://www.legislation.act.gov.au/a/2004-12/), part 5A, the person is not eligible to be licensed for a period of 5 years after the order was made unless the order is sooner revoked under the [Act](https://www.legislation.act.gov.au/a/2004-12/), section 68.

12 Individuals not eligible

An individual is not eligible to be licensed if—

 (a) the application is for a licence that would allow the applicant to provide a construction service without supervision; and

 (b) the individual has been found guilty of an offence—

 (i) that involves fraud or dishonesty; and

 (ii) is punishable by imprisonment for at least 1 year.

13 Eligibility for licence—suitability and financial requirements—Act, s 18 and s 24A

 (1) The Minister may declare the qualifications and financial requirements necessary for an entity to be eligible to be licensed in a construction occupation or occupation class.

Examples—qualifications

1 a formal academic qualification

2 a stated period or type of experience

3 that the applicant has not been refused a licence under the Act within a stated period

 (2) An entity is eligible to be licensed in a construction occupation or occupation class if—

 (a) the entity has a qualification declared by the Minister under subsection (1); and

 (b) the entity has the skills and knowledge reasonably necessary to satisfactorily exercise the functions of the construction occupation or occupation class; and

 (c) the entity satisfies the financial requirements declared by the Minister under subsection (1).

 (3) Also, an entity is eligible to be licensed in a construction occupation or occupation class if—

 (a) the entity does not have a qualification declared by the Minister under subsection (1); but

 (b) the entity has the skills and knowledge reasonably necessary to satisfactorily exercise the functions of the construction occupation or occupation class; and

 (c) the entity satisfies the financial requirements declared by the Minister under subsection (1).

 (4) A declaration is a disallowable instrument.

Note A disallowable instrument must be notified, and presented to the Legislative Assembly, under the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14).

 (5) A declaration may apply, adopt or incorporate a law of another jurisdiction or instrument as in force from time to time.

 (6) The [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), section 47 (5) or (6) does not apply in relation to the law of another jurisdiction or instrument applied, adopted or incorporated under a declaration.

Note Laws of another jurisdiction and instruments mentioned in s (4) do not need to be notified under the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14) because s 47 (5) and (6) do not apply (see [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 47 (7)).

 (7) In this section:

law of another jurisdiction—see the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), section 47 (10).

14 Skill assessment of individuals

 (1) This section applies if—

 (a) the registrar is not satisfied that an applicant has a qualification required to be eligible for the licence applied for; or

 (b) the registrar—

 (i) is satisfied that an applicant has a qualification required to be eligible for the licence applied for; and

 (ii) is not satisfied on reasonable grounds that the applicant has a skill reasonably necessary to satisfactorily exercise the functions of a construction occupation or class of construction occupation under the licence applied for; or

 (c) the registrar requires an applicant to undertake an assessment under section 18B.

 (2) The registrar may require the applicant to undertake an assessment to find out whether the applicant has the skills and knowledge reasonably necessary to satisfactorily exercise the functions of a construction occupation or class of construction occupation under the licence applied for.

 (3) An assessment may consist of 1 or more of the following:

 (a) an assessment by a person who the registrar is satisfied is competent to make the assessment;

 (b) an examination, which may have practical, written and oral aspects, by a registered training organisation that the registrar is satisfied is competent to set and assess the examination;

 (c) an examination of a record of the applicant’s experience provided by the applicant;

 (d) the undertaking of a test, or a series of tests, approved by the registrar.

 (4) The applicant must pay to the Territory the reasonable costs incurred by the Territory in arranging or carrying out an assessment.

 (5) An applicant is not eligible to be licensed if the applicant has not complied with subsection (4).

 (6) In this section:

registered training organisation—see the [National Vocational Education and Training Regulator Act 2011](http://www.comlaw.gov.au/Series/C2011A00012) (Cwlth), section 3.

14A Notice of skill assessment

 (1) This section applies if the registrar requires an applicant for a licence or renewal of a licence to undertake an assessment under section 14.

 (2) The registrar must give a notice (an assessment notice) to the applicant about the assessment.

 (3) An assessment notice must be given to the applicant—

 (a) in the case of a licence renewal—within a reasonable time, but not less than 28 days, before the licence term ends; or

 (b) in any other case—within a reasonable time before the assessment is required to be completed.

 (4) An assessment notice must include—

 (a) the reason the assessment is required; and

 (b) a statement that the assessment will be used by the registrar to determine whether the applicant has the skills and knowledge reasonably necessary to satisfactorily exercise the functions of a construction occupation or occupation class under the licence applied for; and

 (c) information about the assessment, including how and where the assessment will be conducted; and

 (d) the latest date by which the applicant must complete the assessment; and

 (e) if the applicant is to be given the written results of the assessment by the person conducting the assessment (if the person is not the registrar)—the latest date by which the applicant must give the results to the registrar; and

 (f) a statement that the applicant may make written representations to the registrar about 1 or more of the following not later than 5 business days after the day the notice is given to the applicant:

 (i) the latest date by which the applicant must complete the assessment stated in the notice;

 (ii) the latest date by which the applicant must give the results to the registrar if the applicant is to be given the written results of the assessment by the person conducting the assessment (if the person is not the registrar).

 (5) In this section:

applicant, in relation to a licence renewal, means the licensee even if the licensee has not yet applied for renewal of the licence under the [Act](https://www.legislation.act.gov.au/a/2004-12), section 25.

15 Corporations and partnerships eligible for some occupations

 (1) A corporation or partnership is eligible to be licensed only in the following construction occupations or occupation classes:

 (a) builder;

 (b) building surveyor;

 (c) drainer;

 (d) electrician, electrical contractor class;

 (e) gasfitter;

 (f) plumber;

 (g) plumbing plan certifier;

 (h) works assessor.

 (2) Also, a corporation or partnership is eligible to be licensed in a construction occupation or occupation class only if the corporation or partnership has a nominee who is licensed in the occupation or class.

 (3) However, a partnership is not eligible to be licensed in a construction occupation or occupation class if a partner has been found guilty, whether in the ACT or anywhere else, of an offence involving fraud, dishonesty or violence punishable by imprisonment for at least 1 year.

16 Eligibility to be owner-builder

 (1) An individual is eligible to be an owner-builder only if—

 (a) the individual owns the land where the building work allowed under the owner-builders licence is proposed to be undertaken; and

 (b) the building work has building approval under the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11/default.asp); and

 (c) the individual has not been issued with an owner-builders licence in relation to other land (a ***previous licence***) in the 5 years before applying for the owner-builders licence (the ***current licence***).

 (2) Despite section (1) (c), an individual issued with a previous licence in the 5 years before applying for the current licence is eligible to be an owner-builder if the individual no longer holds the previous licence and—

 (a) if—

 (i) the work allowed under the previous licence related to affected residential premises or a class 10 building associated with those premises; and

 (ii) the affected residential premises were acquired by the Territory from the individual under the buyback scheme for residential premises and were included in the affected residential premises register; or

 (b) if—

 (i) the work allowed under the previous licence related to a building that is or was an eligible impacted property or a class 10 building associated with that property; and

 (ii) the eligible impacted property was acquired by the Territory from the individual under the eligible impacted property buyback program.

 (3) In this section:

***affected residential premises***—see the [Civil Law (Sale of Residential Property) Act 2003](http://www.legislation.act.gov.au/a/2003-40/default.asp), section 9A (3).

***affected residential premises register***—see the [Dangerous Substances Act 2004](http://www.legislation.act.gov.au/a/2004-7/default.asp), section 47N (1).

***buyback scheme***, for affected residential premises—see the [Dangerous Substances Act 2004](http://www.legislation.act.gov.au/a/2004-7/default.asp), section 47N (6).

class, of building—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11/default.asp), dictionary.

*Note* A class 10 building or structure is a non-habitable building or structure (see building code).

***eligible impacted property***—see the [Civil Law (Sale of Residential Property) Act 2003](http://www.legislation.act.gov.au/a/2003-40/default.asp), section 9A (1).

***eligible impacted property buyback program***—see the [Civil Law (Sale of Residential Property) Act 2003](http://www.legislation.act.gov.au/a/2003-40/default.asp), section 9A (1).

16B Eligibility to be building assessor

 (1) An applicant for a licence as a building assessor is eligible for the licence only if the applicant satisfies the registrar that—

 (a) the applicant is adequately insured; and

 (b) if the class of licence applied for must be endorsed to authorise the licensee to operate stated software—the applicant can competently operate the software.

Note The registrar may determine software that a class of building assessor’s licence must be endorsed to authorise the licensee to operate (see s 31A).

 (2) An applicant is adequately insured if the applicant has professional indemnity insurance that provides—

 (a) indemnity against claims for breach of professional duty as a building assessor; and

 (b) a minimum limit of indemnity of $1 000 000 for a single claim.

17 Eligibility to be building surveyor

 (1) An applicant for a licence as a building surveyor is eligible for the licence only if the applicant satisfies the registrar that—

 (a) the applicant has successfully undertaken asbestos management training that has been approved by the registrar under subsection (2); and

 (b) the applicant is adequately insured.

 (2) The registrar may approve asbestos management training for subsection (1) (a) if the registrar considers that successful undertaking of the training will give an applicant for a licence as a building surveyor adequate knowledge of the requirements to deal appropriately with asbestos.

 (3) Subsection (1) (b) does not apply to an application for a licence as principal government building surveyor or government building surveyor.

 (4) An applicant is adequately insured if the applicant has professional indemnity insurance that provides—

 (a) indemnity against claims for breach of professional duty as a building surveyor; and

 (b) a minimum limit of indemnity of $1 000 000 for a single claim; and

 (c) a minimum limit of indemnity of $1 000 000 for the total of all claims made against the applicant during the period of cover; and

 (d) in addition to the indemnities mentioned in paragraphs (b) and (c), a minimum limit of indemnity for the costs and expenses of defending or settling a claim of 20% of the limit of indemnity for the claim.

 (5) For subsection (4), an applicant is taken to have professional indemnity insurance if the applicant is an applicant for a principal building surveyor employee licence, or general building surveyor employee licence, and the applicant’s employer has the insurance.

 (6) In subsection (4) (d):

costs and expenses means costs and expenses incurred with the insurer’s consent.

 (7) An approval under subsection (2) is a notifiable instrument.

Note A notifiable instrument must be notified under the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14).

18 Eligibility to be plumbing plan certifier

 (1) An applicant for a licence as a plumbing plan certifier is eligible for the licence only if the applicant satisfies the registrar that the applicant is adequately insured.

 (2) An applicant is adequately insured to be a plumbing plan certifier if the applicant has professional indemnity insurance that provides—

 (a) indemnity against claims for breach of professional duty as a plumbing plan certifier; and

 (b) a minimum limit of liability of $1 000 000 for each period of insurance.

18A Eligibility to be works assessor

 (1) An applicant for a licence to be a works assessor is eligible for the licence only if the applicant satisfies the registrar that the applicant is adequately insured.

 (2) An applicant is adequately insured if the applicant has professional indemnity insurance that provides—

 (a) indemnity against claims for breach of professional duty as a works assessor; and

 (b) a minimum limit of indemnity of $1 000 000 for a single claim; and

 (c) a minimum limit of indemnity of $1 000 000 for the total of all claims made against the applicant during the period of cover; and

 (d) in addition to the indemnities mentioned in paragraphs (b) and (c), a minimum limit of indemnity for the costs and expenses of defending or settling a claim of 20% of the limit of indemnity for the claim.

 (3) In subsection (2) (d):

costs and expenses means costs and expenses incurred with the insurer’s consent.

Division 4.1A Licence renewal

18B Requirement to undertake assessment

 (1) The registrar may require a licensee to undertake an assessment to determine the licensee’s eligibility for renewal of the licence if any of the following apply:

 (a) during the term of the licensee’s current licence, the registrar has made, or given notice of intention to make, a rectification order in relation to—

 (i) the licensee; or

 (ii) if the licensee is or was the nominee of a licensed corporation or partnership—the corporation or partnership;

 (b) in the 12 months prior to the expiry of the licence, the registrar formed a belief on reasonable grounds that a ground for occupational discipline exists in relation to—

 (i) the licensee; or

 (ii) if the licensee is or was the nominee of a licensed corporation or partnership—the corporation or partnership;

 (c) in the 12 months prior to the expiry of the licence, the registrar formed a belief on reasonable grounds that the licensee may not have the skills or knowledge reasonably necessary to satisfactorily exercise the functions of the construction occupation or occupation class under the licence;

 (d) in the period starting 3 years before the expiry of the licence and ending 3 months before the expiry of the licence—

 (i) if the licensee is licensed—

 (A) in a builder occupation class—the licensee has not been issued a commencement notice for building work in a builder occupation class; or

 (B) in any other occupation class—the licensee has not provided any construction service under the licence; or

 (ii) if the licensee is a nominee for a licensed corporation or partnership—the licensee has not undertaken work as the nominee for the corporation or partnership;

 (e) the registrar otherwise requires the licensee to undertake the assessment to determine the licensee’s eligibility to hold the licence.

 (2) However, a licensee is not required to undertake an assessment under this section if, in the 2 years prior to the expiry of the licence—

 (a) the licensee has undertaken—

 (i) an assessment as required by the registrar under the [Act](https://www.legislation.act.gov.au/a/2004-12), section 55A; or

 (ii) a course of training under the Act that includes an assessment; and

 (b) the assessment under the [Act](https://www.legislation.act.gov.au/a/2004-12), section 55A is the same or substantially the same as the assessment of eligibility under subsection (1).

 (3) Also, the registrar must not require a licensee to undertake an assessment under subsection (1) (e) if—

 (a) subsection (1) (a) to (d) do not apply; and

 (b) the licensee was required by the registrar to undertake an assessment under section 14 (Skill assessment of individuals) or this section before the registrar issued the current licence to the licensee; and

 (c) it is not a condition of the licensee’s current licence that the licensee undertake an assessment before applying for renewal of the licence.

 (4) In this section:

commencement notice means a building commencement notice issued under the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), section 37.

Division 4.2 Nominees

19 Eligibility to be nominee—Act, s 28 (6)

An individual is eligible to be a nominee of a corporation or partnership if—

 (a) for a corporation—the individual is a director or employee of the corporation; and

 (b) for a partnership—the individual—

 (i) is a partner; or

 (ii) is the nominee of a corporation that is a partner in the partnership; and

 (c) the individual is licensed in a construction occupation that the corporation or partnership is licensed in or applying to be licensed in; and

 (d) the individual is otherwise able to exercise the functions of a nominee on a daily basis; and

Examples

1 The individual is not able to exercise the functions of a nominee on a daily basis if the licensee is the nominee for another corporation that has no other nominees and is doing a lot of construction work.

2 The individual is reasonably able exercise the functions of a nominee if the nominee is available to attend locations where the construction services the nominee will be responsible for supervising are being carried out.

Note An example is part of the regulation, is not exhaustive and may extend, but does not limit, the meaning of the provision in which it appears (see [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 126 and s 132).

 (e) for a construction occupation divided into classes—either—

 (i) the individual is licensed in the same class as, or a class that allows the exercising of the same functions as, the class the corporation or partnership is licensed in or applying to be licensed in; or

 (ii) the corporation or partnership has a nominee mentioned in subparagraph (i); and

 (f) the individual’s licence is not subject to 1 or more of the following conditions (however described):

 (i) that the individual must not be a nominee for a stated period, and the period in question is within the stated period;

 (ii) that the individual must not supervise trainees or licensees;

 (iii) that the individual must be supervised by someone else.

Note For functions of nominees, see the [Act](http://www.legislation.act.gov.au/a/2004-12/default.asp), s 31.

Part 5 Licence conditions and endorsements

Division 5.1 Licence conditions on licences

20 Prescribed licence conditions—Act, s 21 (1)

The conditions a licence is subject to include the applicable requirements in this division.

Note The registrar may also impose conditions on a licence (see [Act](http://www.legislation.act.gov.au/a/2004-12/), s 21 (2)).

21 Change of register information

 (1) The licensee must tell the registrar in writing of any change in a detail relating to the licensee that is recorded in the register.

 (2) The notice must be given within 2 weeks after—

 (a) the day of the change to which it relates happened; or

 (b) the day the licensee became aware of the change.

21A Comply with code of practice

 (1) This section applies to a licensee if a code of practice applies to the licensee’s construction occupation or class of construction occupation, or to a construction service undertaken by the licensee.

 (2) The licensee must comply with the code of practice, including by using any form of report, certificate or other document (if any) required by the code of practice.

 (3) In this section:

code of practice means a code of practice under this Act or an operational Act.

22 Corporate licences

 (1) This section applies if the licensee is a corporation.

 (2) The licensee must tell the registrar in writing if a person becomes or stops being a director or a nominee (other than the sole nominee of the corporation for a construction service, construction occupation or occupation class).

 (3) The notice must be given to the registrar within 1 business day after the day the person becomes or stops being a director or nominee.

23 Partnership licences

 (1) This section applies if the licensee is a partnership.

 (2) The partnership must tell the registrar in writing if a person becomes or stops being a partner or a nominee (other than the sole nominee of the partnership for a construction service, construction occupation or occupation class).

 (3) The notice must be given to the registrar within 1 business day after the day the person becomes or stops being a partner or nominee.

24 Individual licences

 (1) This section applies if the licensee is an individual.

 (2) The individual may provide construction services only as a nominee or employee of a licensed entity if—

 (a) the individual becomes bankrupt or personally insolvent; and

 (b) the individual is a nominee or employee of a licensed entity.

25 Operative drainers

A licensee in the operative drainer class of the construction occupation drainer may only provide a construction service in that occupation class as an employee.

26 Journeyperson gasfitters

A licensee in the journeyperson gasfitter class in the construction occupation gasfitter may only provide a construction service in that occupation class as an employee.

27 Journeyperson plumbers

A licensee in the journeyperson plumber class in the construction occupation of plumber may only provide a construction service in that occupation class as an employee.

28 Certain building surveyors

 (1) This section applies to licensees in the following classes in the construction occupation of building surveyor:

 (a) principal building surveyor employee;

 (b) general building surveyor employee.

 (2) The licensee may only provide a construction service in that occupation class as an employee of a licensee who—

 (a) is licensed as—

 (i) a principal building surveyor; or

 (ii) a general building surveyor; and

 (b) holds insurance of a kind mentioned in section 17 in relation to the employee.

Division 5.2 Endorsements on licences

30 Endorsing builders licences for building work—Act, s 22

 (1) The registrar may, on application, endorse a builders licence to authorise the licensee to do any building work, including specialist building work, if satisfied that the licensee can competently do the work.

Note If deciding whether to endorse a licence under this section, the registrar must consider the considerations in s 32.

 (2) The endorsement may be subject to any condition the registrar is satisfied protects the public.

31 Endorsing plumbers licences for backflow prevention device test work—Act, s 22

 (1) The registrar may, on application, endorse a plumbers licence to authorise the licensee to do backflow prevention device test work if satisfied that the licensee can competently do the work.

Note If deciding whether to endorse a licence under this section, the registrar must consider the considerations in s 32.

 (2) In this section:

backflow prevention device test work means—

 (a) work in accordance with Australian Standard 2845.3, Water Supply—Backflow prevention devices—Field testing and maintenance, to test, or supervise the testing of, a backflow prevention device that forms part of a water service, hot-water system, irrigation system or fire sprinkler system; or

 (b) the production of a report about a test under paragraph (a).

31A Endorsing building assessors licences for use of software—Act, s 22

 (1) The registrar may, on application, endorse a building assessor’s licence to authorise the licensee to operate stated software if satisfied that the licensee can competently operate the software.

Note If deciding whether to endorse a licence under this section, the registrar must consider the considerations in s 32.

 (2) The registrar may determine—

 (a) that a class of building assessor’s licence must be endorsed to authorise a licensee to operate software; and

 (b) the software that the class of licence must be endorsed to authorise a licensee to operate.

 (3) A determination is a notifiable instrument.

Note A notifiable instrument must be notified under the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14).

31B Endorsing licences for gas appliance work—Act, s 22

 (1) This section applies to—

 (a) an advanced gasfitters licence; and

 (b) a general gasfitters licence.

 (2) The registrar may, on application, endorse the licence to authorise the licensee to do type B gas flue work, if satisfied that the licensee is competent to do the work.

Note In deciding whether to endorse a licence under this section, the registrar must consider the considerations in s 32.

 (3) In this section:

type B gas flue work means work on the flue of a type B gas appliance, including the connection of the flue to, and disconnection of the flue from, the appliance.

31C Endorsing electricians licences for work on interval meters—Act, s 22

 (1) The registrar may, on application, endorse an electrical contractor licence or an unrestricted electrician licence to authorise the licensee to do, or to supervise, interval metering work if satisfied that the licensee is competent to do, or to supervise, the work.

Note 1 A metering provider operating in the National Energy Market must be registered with the Australian Energy Market Operator to provide, install, and maintain a metering installation (see National Electricity Rules, ch 7 (Metering)).

Note 2 In deciding whether to endorse a licence under this section, the registrar must consider the considerations in s 32.

 (2) The endorsement may be subject to any condition the registrar is satisfied protects the public.

 (3) For this regulation, interval metering work means the following:

 (a) electrical wiring work on an interval meter;

 (b) removing a type 5, type 6, or type 7 meter to replace it with an interval meter.

 (4) In this section:

interval meter means a type 1, type 2, type 3, or type 4 metering installation that meets the requirements described in the National Electricity Rules, chapter 7, schedule 7.2 (Types and Accuracy of Metering Installations) for the type of meter.

metering installation—see the National Electricity Rules, chapter 10 (Glossary).

national electricity rules means the National Electricity Rules made under the [National Electricity (ACT) Law](http://www.legislation.act.gov.au/a/1997-79/default.asp).

type 5, type 6, or type 7 meter means a type 5, type 6, or type 7 metering installation that meets the requirements described in the National Electricity Rules, chapter 7, schedule 7.2 (Types and Accuracy of Metering Installations) for the type of meter.

32 Considerations for endorsing licences

 (1) In deciding whether to endorse an individual’s licence under this division, the registrar must consider the following:

 (a) the individual’s physical ability or skill;

 (b) the individual’s qualifications, training and knowledge;

 (c) the extent, quality and relevance of the individual’s experience, and how recent that experience is, in doing similar work to, or work that is equally complex as, the work to be allowed by the proposed endorsement;

 (d) whether any occupational discipline has ever been taken in relation to the individual;

 (e) whether the individual has incurred any demerit points that have not been deleted from the register.

 (2) In deciding whether to endorse the licence of a corporation or partnership, the registrar must consider the following:

 (a) whether any occupational discipline has ever been taken in relation to the entity;

 (b) whether the entity has incurred any demerit points that have not been deleted from the register.

 (3) However, the registrar may endorse the licence of the corporation or partnership only if nominees of the entity have licences that are endorsed in the way applied for.

 (4) The registrar may consider anything else that is relevant.

Division 5.3 Returning and replacing licences and unlicensed services

32A Return of licence

 (1) This section applies if the registrar decides to—

 (a) amend a condition on a licence; or

 (b) endorse a licence.

 (2) The registrar may require a licensee to return the licence to the registrar in relation to the amendment or endorsement.

Note The registrar may, but need not, include a condition on a licence (see s 6 (2)).

 (3) If the registrar requires the licensee to return the licence—

 (a) the licensee must return the licence; and

 (b) the registrar must return the licence to the licensee as soon as the licence is amended (whether by including the condition on the licence or otherwise) or endorsed, unless the licence is suspended or cancelled.

 (4) A licensee commits an offence if the licensee fails to return a licence under subsection (3) (a).

Maximum penalty: 5 penalty units.

 (5) An offence against subsection (4) is a strict liability offence.

33 Replacement licences

The registrar may, on application, issue a replacement licence to a licensee if satisfied that the licence previously issued has been lost, stolen, damaged or destroyed.

Note 1 A fee may be determined under the [Act](http://www.legislation.act.gov.au/a/2004-12/), s 127 for this provision.

Note 2 If a form is approved under the [Act](http://www.legislation.act.gov.au/a/2004-12/), s 128 for this provision, the form must be used.

35 Services that may be provided without licence

 (1) The following construction services may be provided by an individual without a licence if done under the supervision of a licensed individual, or the nominee of a licensed corporation or partnership, authorised by the licence to provide the service:

 (a) building services;

 (b) if the individual providing the service is a trainee—

 (i) electrical wiring services; or

 (ii) gasfitting services; or

 (iii) plumbing services; or

 (iv) sanitary drainage services.

 (2) Also, subsection (1) (b) applies only if—

 (a) there is a training arrangement (however described) between the trainee’s relevant person and the trainee; and

Example—training arrangement

an approved training contract under the [Training and Tertiary Education Act 2003](http://www.legislation.act.gov.au/a/2003-36)

Note An example is part of the regulation, is not exhaustive and may extend, but does not limit, the meaning of the provision in which it appears (see [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 126 and s 132).

 (b) the construction service provided by the trainee is covered by the training arrangement; and

 (c) the trainee’s relevant person gives the registrar the following information:

 (i) if the relevant person is the trainee’s employer who is an individual—

 (A) the employer’s name, business address and email address; and

 (B) the employer’s landline telephone number or mobile telephone number; and

 (C) the employer’s fax number (if any);

 (ii) if the relevant person is the trainee’s employer who is not an individual—

 (A) the name of the employer and the trainee’s manager; and

 (B) the business address and email address of the employer and manager; and

 (C) the landline telephone number or mobile telephone number of the employer and manager; and

 (D) the fax number (if any) of the employer and manager;

 (iii) if the relevant person is the provider of the VET course that the trainee is undertaking—

 (A) the provider’s name, business address and email address; and

 (B) the name of the person nominated by the provider for the trainee (the nominated person); and

 (C) the nominated person’s email address; and

 (D) the nominated person’s landline telephone number or mobile telephone number;

 (iv) the trainee’s name and date of birth;

 (v) the name of the VET course that the trainee is undertaking and its unique identifying number (however described);

 (vi) when the training arrangement begins and ends.

Note If a form is approved under the [Act](http://www.legislation.act.gov.au/a/2004-12/default.asp), s 128 for this provision, the form must be used.

 (3) In this section:

building service—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 8 (2).

electrical wiring service—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 11 (2).

gasfitting service—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 12 (2).

plumbing service—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 13 (2).

relevant person, of a trainee, means—

 (a) the trainee’s employer; or

 (b) if the trainee does not have an employer—the provider of the VET course that the trainee is undertaking.

sanitary draining service—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 10 (2).

trainee, for a service, means an individual who—

 (a) provides the service to gain experience in providing the service and training from the person supervising the provision of the service; and

 (b) is undertaking a VET course that provides instruction in relation to providing the service.

VET course—see the [National Vocational Education and Training Regulator Act 2011](http://www.comlaw.gov.au/Series/C2011A00012) (Cwlth), section 3.

Part 6 Construction occupation classes

36 Classes of licence generally

A licence for a class authorises the licensee to provide each service in schedule 1, column 3 for the class in the circumstances (if any) stated in the column for the item.

37 Classes of builder

The construction occupation of builder is divided into the classes in schedule 1, part 1.3, column 2.

37B Classes of building assessor

The construction occupation of building assessor is divided into the classes in schedule 1, part 1.3A, column 2.

38 Classes of building surveyor

The construction occupation of building surveyor is divided into the classes in schedule 1, part 1.4, column 2.

39 Classes of drainer

The construction occupation of drainer is divided into the classes in schedule 1, part 1.5, column 2.

40 Classes of electrician

The construction occupation of electrician is divided into the classes in schedule 1, part 1.6, column 2.

41 Classes of gasfitters

The construction occupation of gasfitter is divided into the classes in schedule 1, part 1.7, column 2.

41A Classes of gas appliance worker

The construction occupation of gas appliance worker is divided into the classes in schedule 1, part 1.7A, column 2.

42 Classes of plumber

The construction occupation of plumber is divided into the classes in schedule 1, part 1.8, column 2.

Part 6A Notification and review of decisions

42A Reviewable decisions—Act, s 123A, def reviewable decision

A decision mentioned in schedule 4, column 3, under a provision mentioned in column 2 in relation to the decision is prescribed.

42B Right of review and notice—Act, s 123B and s 123C (a)

An entity mentioned in schedule 4, column 4 is prescribed.

Part 7 Miscellaneous

43 Short descriptions and demerit points

 (1) The short description for a demerit ground for occupational discipline that is a contravention of the Act or an operational Act mentioned in schedule 2, column 2 is the description mentioned in the item, column 3.

 (2) The short description for a demerit ground for occupational discipline under the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 55 (1) (other than paragraph (a)) that is mentioned in schedule 3, column 2 is the description mentioned in the item, column 3.

 (3) The number of demerit points mentioned in schedule 2, column 4 or schedule 3, column 4 is prescribed for the demerit ground for occupational discipline mentioned in the item, column 2.

 (4) For a demerit ground for occupational discipline that is not mentioned in subsection (3), the demerit points for the ground is one.

44 Information in report to Minister—Act, s 112

 (1) The registrar’s report to the Minister about complaints for a financial year must include the following information:

 (a) the total number of complaints made in the year;

 (b) the number of complaints made about former licensees;

 (c) the number of complaints made about current licensees;

 (d) a description of the kinds of complaints made about licensees and former licensees in each construction occupation.

 (2) The registrar’s report to the Minister about occupational discipline for a financial year must include the following information:

 (a) the name of each licensee or former licensee against whom occupational discipline was taken during the financial year;

 (b) for each licensee or former licensee mentioned in paragraph (a)—

 (i) the contravention; and

 (ii) the construction occupation or class of construction occupation in which the licensee or former licensee was licensed when the contravention happened; and

 (iii) the occupational discipline taken; and

 (iv) the result of any review of the decision to take occupational discipline.

 (3) In this section:

contravention, in relation to a licensee or former licensee, means what the licensee or former licensee did that caused occupational discipline to be taken.

45 Requirements for notices requesting skill assessment of licensees—Act, s 55A

The notice must state—

 (a) the reasons for requiring the assessment; and

 (b) the consequences under the Act of failing to complete the assessment; and

 (c) information about the assessment, including who must conduct the assessment; and

 (d) the latest date by which the licensee must complete the assessment that the registrar considers on reasonable grounds is reasonable; and

 (e) if the licensee is to be given the written results of the assessment by the person conducting the assessment—the latest date by which the licensee must give the results to the registrar; and

 (f) that the licensee may make written representations to the registrar about 1 or more of the following not later than 5 business days after the day the notice is given to the licensee:

 (i) the registrar’s reasons for requiring the assessment;

 (ii) the proposed assessment;

 (iii) the latest date by which the licensee must complete the assessment stated in the notice;

 (iv) the latest date by which the licensee must give the results to the registrar if the licensee is to be given the written results of the assessment by the person conducting the assessment.

Part 8 Transitional

46 Meaning of repealed Act for pt 8

In this part:

repealed Act means the [Construction Practitioners Registration Act 1998](http://www.legislation.act.gov.au/a/1998-53) (repealed).

47 Meaning of licence for s 9 (1) (h)

In section 9 (1) (h):

licence includes—

 (a) registration under the repealed Act; and

 (b) a licence, permit or registration under an operational Act as in force immediately before commencement day; and

 (c) a licence or certificate of competency under the [Plumbers, Drainers and Gasfitters Board Act 1982](http://www.legislation.act.gov.au/a/1982-74) (repealed).

48 Meaning of licensee and occupational discipline—s 9 (1) (i)

In section 9 (1) (i):

licensee includes a person registered under the repealed Act.

occupational discipline is taken to include action taken under the [repealed Act](http://www.legislation.act.gov.au/a/1998-53/), section 22 (6) (Procedure).

49 Requirement to consult under s 13

 (1) The registrar need not consult the advisory board for a construction occupation before making a declaration about qualifications for the construction occupation or an occupation class under section 13 on or before the commencement of this section.

 (2) However, the registrar must consult the advisory board for the construction occupation about the qualification for the construction occupation within 1 year after the commencement of this section.

50 Meaning of **owner-builders licence** for s 16

In section 16:

owner-builders licence includes an owner-builder’s licence granted under the [Building Act 1972](http://www.legislation.act.gov.au/a/1972-26) before the commencement of the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 6 (What is a construction practitioner?).

51 Meaning of licence for s 34

In section 34:

licence includes—

 (a) registration under the repealed Act; and

 (b) a licence, permit or registration under an operational Act as in force immediately before commencement day; and

 (c) a licence or certificate of competency under the [Plumbers, Drainers and Gasfitters Board Act 1982](http://www.legislation.act.gov.au/a/1982-74) (repealed).

Schedule 1 Classes of construction occupation licence and functions

(see pt 6)

Part 1.3 Builder

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | class A | building work other than specialist building work |
| 2 | class B |  (a) building work (other than specialist building work) in relation to a building that is 3 storeys or lower; and (b) basic building work |
| 3 | class C |  (a) building work (other than specialist building work) in relation to a building that is 2 storeys or lower and is a class 1, class 2 or class 10a building; and (b) building work (other than specialist building work) in relation to a building that is a class 10b structure (other than a swimming pool or swimming pool fence) and is ancillary to a building mentioned in paragraph (a); and (c) basic building work |
| 4 | class D | non-structural basic building work, other than specialist building work |
| 5 | owner-builder | building work, other than specialist building work, in relation to a class 1, class 2 or class 10 building that is, or is to be, the licensee’s main home or ancillary to it |

Note For building work that involves asbestos removal, a builder must hold an asbestos removal licence (see [Work Health and Safety Regulation 2011](http://www.legislation.act.gov.au/sl/2011-36), div 8.10.1).

Part 1.3A Building assessor

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | class A building assessor—energy efficiency |  (a) the following building assessment work, based on an on-site inspection: (i) preparing an energy efficiency certificate under the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11); or (ii) preparing an energy efficiency rating statement.Note Energy efficiency certificate—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 139C. (b) doing anything allowed to be done under a class B licence |
| 2 | class B building assessor—energy efficiency | the following building assessment work, based on the plans of a building: (a) preparing an energy efficiency certificate under the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11); or (b) preparing an energy efficiency rating statement.Note Energy efficiency certificate—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 139C. |

Part 1.4 Building surveyor

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | principal building surveyor | building certification work or, for a corporation, supervision of building certification work |
| 2 | principal building surveyor employee | building certification work as an employee of a principal building surveyor |
| 3 | general building surveyor | building certification work or, for a corporation, supervision of building certification work, in relation to a building that is 3 storeys or lower and that has a floor area of 2 000m2 or less |
| 4 | general building surveyor employee | building certification work in relation to a building that is 3 storeys or lower and that has a floor area of 2 000m2 or less, as an employee of a principal building surveyor or general building surveyor |
| 5 | principal government building surveyor | building certification work |
| 6 | government building surveyor | building certification work in relation to a building that is 3 storeys or lower and that has a floor area of 2 000m2 or less |

Part 1.5 Drainer

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | advanced sanitary drainer | sanitary drainage work without supervision |
| 2 | journeyperson drainer | sanitary drainage work under supervision of licensee with advanced sanitary drainers licence |
| 3 | operative drainer | sanitary drainage work under supervision of licensee with advanced sanitary drainers licence |

Part 1.6 Electrician

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | electrical contractor | 1 electrical wiring work, other than interval metering work, without supervision2 supervision of electrical wiring work, other than interval metering work |
| 2 | unrestricted | 1 electrical wiring work, other than interval metering work, without supervision2 supervision of electrical wiring work, other than interval metering work |
| 3 | electrotechnology systems permit | 1 electrical wiring work under supervision2 incidental electrical work |
| 4 | restricted—electrotechnology systems assembly and servicing electrical fitting | electrotechnology assembly and servicing incidental to electrical wiring work in relation to electrical fitting disconnection and reconnection work |
| 5 | restricted—electrotechnology systems mechanical fitting | electrotechnology systems incidental to electrical wiring work in relation to mechanical fitting disconnection and reconnection work |
| 6 | restricted–electrotechnology systems plumbing and gas fitting | electrotechnology systems incidental to electrical wiring work in relation to plumbing and gasfitting disconnection and reconnection work |
| 7 | restricted–electrotechnology systems refrigeration and air conditioning | incidental electrical wiring work in relation to refrigeration and air conditioning disconnection and reconnection work |
| 8 | restricted— electrotechnology systems type B gas appliances | incidental electrical wiring work in relation to disconnection and reconnection of type B gas appliances |
| 9 | electrotechnology systems restricted permit | incidental electrical work under the supervision of a licensee with a licence in 1 or more of the following classes: (a) restricted—electrotechnology systems assembly and servicing electrical fitting (b) restricted—electrotechnology systems mechanical fitting (c) restricted—electrotechnology systems plumbing and gas fitting (d) restricted— electrotechnology systems refrigeration and air conditioning (e) restricted—electrotechnology systems type B gas appliances |

Part 1.7 Gasfitters

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | advanced | gasfitting work, other than LP gas (liquid phase) installation, without supervision |
| 2 | general | 1 gasfitting work for pressures below 21kPa without supervision2 gasfitting work for pressures above 21kPa under the supervision of an advanced gasfitter |
| 3 | journeyperson gasfitter | gasfitting work under the general supervision of a licensee with an advanced gasfitters licence or unrestricted licence |
| 4 | LPG gasfitter (vapour phase) | LP gas (vapour phase) installation without supervision |
| 5 | LPG gasfitter (liquid phase) | LP gas (liquid phase) installation without supervision |
| 6 | restricted automotive—LPG | LP gas fuel installation on motor vehicles |
| 7 | restricted automotive—NGV | NGV fuel installation on motor vehicles |
| 8 | restricted automotive—LPG forklifts | gasfitting for LPG forklifts |
| 9 | restricted automotive—NGV forklifts | gasfitting for NGV forklifts |

Part 1.7A Gas appliance worker

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | unrestricted type A | type A gas appliance work without supervision |
| 2 | restricted type B | type A gas appliance work under the supervision of a licensee with an unrestricted type A licence |
| 3 | unrestricted type B | type B gas appliance work without supervision |
| 4 | restricted type B–level 2 |  (a) without supervision—type B gas appliance work on— (i) an atmospheric type gas appliance that consumes less than 2000MJ/h; or (ii) a forced draft burner system that consumes less than 500MJ/h; and (b) under the supervision of a licensee with an unrestricted type B licence—any other type B gas appliance work |
| 5 | restricted type B–level 1 | type B gas appliance work under the supervision of a licensee with— (a) an unrestricted type B licence; or (b) a restricted type B–level 2 licence that authorises the licensee to perform the work to be completed unsupervised |

Part 1.8 Plumbers

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | sanitary plumber | sanitary plumbing work without supervision |
| 2 | water supply plumber | water supply plumbing work including fire sprinkler work for class 1 and 2 buildings in relation to pipework of 25mm diameter or less, but not including backflow prevention device test work within the meaning of section 31 |
| 3 | irrigation plumber | installation of irrigation networks and related equipment |
| 4 | journeyperson plumber | sanitary plumbing work under supervision of licensee with sanitary plumbers licence |
| 5 | fire sprinkler fitter | fire sprinkler work and work on a fire hydrant or fire hose connection point |
| 6 | journeyperson fire sprinkler fitter | fire sprinkler work, and work on a fire hydrant or fire hose connection point, under supervision of licensee with fire sprinkler fitter licence |

Part 1.9 Works assessors

| column 1item | column 2construction occupation class | column 3construction work |
| --- | --- | --- |
| 1 | Class A works assessor—planning and development | undertaking an exemption assessment under the [Planning and Development Act 2007](http://www.legislation.act.gov.au/a/2007-24) |
| 2 | Class B works assessor—planning and development | undertaking an exemption assessment under the [Planning and Development Act 2007](http://www.legislation.act.gov.au/a/2007-24), in relation to the following: (a) site work under the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11) for a class 1 building or class 10 building or structure; (b) development in relation to a class 1 building or class 10 building or structure, mentioned in the [Planning and Development Regulation 2008](http://www.legislation.act.gov.au/sl/2008-2), schedule 1, other than the following: (i) division 1.3.6; (ii) section 1.102 and section 1.103; (iii) section 1.105 to section 1.112 |
| 3 | works assessor—unit titles | providing, including doing anything incidental to providing, a unit tiles assessment report under the [Unit Titles Act 2001](http://www.legislation.act.gov.au/a/2001-16) |

Schedule 2 Demerit grounds for occupational discipline

(see s 43)

Part 2.1 Builders licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.1.1 | fail to comply with building code, vol 1, cl BP1.1 or vol 2, cl P2.1 in that building did not resist actions reasonably subject to—local damage not minimised as demonstrated by deformation in single element of brickwork, blockwork, or stonework, laid in mortar causing crack or split in joint if— (a) crack or split wider than 3mm; or (b) face of element on either side of crack or split out of alignment with opposite face across crack or joint by more than 3mm | creation of defective single masonry element—cracked or split more than 3mm | 1 |
| 2.1.2 | fail to comply with building code, vol 1, cl BP1.1 or vol 2, cl P2.1 in that building did not resist actions reasonably subject to—local damage not minimised as demonstrated by deformation in single element concrete floor or structural concrete element causing crack or split in joint if— (a) crack or split wider than 5mm; or (b) face of element on either side of crack or split out of alignment with opposite face across crack or joint by more than 5mm | creation of defective single concrete element—cracked or split more than 5mm | 1 |
| 2.1.3 | fail to comply with building code, vol 1, cl BP1.1 or vol 2, cl P2.1 in that building did not resist actions reasonably subject to—local damage not minimised as demonstrated by deformation in wall, wall render, wall lining, wall tiling, ceiling lining or cornice causing crack or split in joint | creation of defective wall or wall render, lining or tiling, or ceiling lining or cornice—cracked or split | 1 |
| 2.1.4 | fail to comply with building code, vol 1, cl BP1.1 or vol 2, cl P2.1 in that building did not resist actions reasonably subject to—local damage not minimised as demonstrated by possibility of instability or collapse of primary building element susceptible to termite attack because not provided with code-compliant termite risk management system | failure to protect primary building element with compliant termite management system | 2 |
| 2.1.5 | fail to comply with building code, vol 1, cl FP1.2, FP1.3 (b), FP1.4, FP1.5, FP1.6 or vol 2, cl P2.1(b), P2.2.1(c)(ii), P2.2.2, P2.2.3—surface water, water or dampness could occur in building other than under code | failure to protect a building from water or dampness | 3 |
| 2.1.6 | fail to comply with building code, vol 1, cl FP1.1 or vol 2, cl P2.2.1(a)—surface water collected or concentrated by building not disposed of in code-compliant way that avoids damage or nuisance to another property, or likelihood of damage or nuisance | creation of building with defective surface water collection or concentration disposal that damaged or caused nuisance or likelihood of either to other property | 2 |
| 2.1.7 | fail to comply with building code, vol 1, cl FP1.3 or vol 2, cl P2.2.1(c)—drainage system for disposal of surface water did not, in code-compliant way— (a) carry water to appropriate outfall; or (b) avoid entry of water to building; or (c) avoid water damaging building | creation of building with defective drainage system—failure to carry water to appropriate outfall, avoid entry of water to building or avoid water damaging building | 3 |
| 2.1.8 | fail to comply with building code, vol 1, cl EP2.1 or vol 2, cl P2.3.2—building without code-compliant automatic warning on smoke detection | creation of building without effective smoke alarm | 3 |
| 2.1.9 | fail to comply with building code, vol 1, cl FP1.7 or vol 2, cl P2.4.1—water not stopped from penetrating behind fittings, linings or concealed spaces of sanitary facilities, bathrooms, laundries and other wet area facilities | creation of building with defective wet area waterproofing or water containment | 3 |
| 2.1.10 | fail to comply with building code, vol 1, cl FP3.1 or vol 2, cl P2.4.2—height of room or other space more than 50mm less than code requires | creation of building with ceiling height more than 50mm too low | 3 |
| 2.1.11 | fail to comply with building code, vol 1, cl FP5.1 to FP5.4 or vol 2, cl P2.4.6—floor, wall or floor or wall penetration do not comply with code sound transmission and insulation requirements | creation of building with defective sound transmission or insulation arrangements | 2 |
| 2.1.12 | fail to comply with building code, vol 1, cl DP2(c)(v) or vol 2, cl P2.5.1(b)(iii)—geometry of stairway risers or goings do not satisfy code safe passage requirements | creation of unsafe step or stairway | 3 |
| 2.1.13 | fail to comply with building code, vol 1, cl DP3 or vol 2, cl P2.5.2—barrier required under code to prevent people falling not provided | creation of building with defective or no safety barrier | 3 |
| 2.1.14 | fail to comply with building code, vol 1, cl GP1.2 or vol 2, cl P2.5.3—swimming pool over 300mm deep without code compliant safety barrier | creation of swimming pool with defective or no safety barrier | 3 |
| 2.1.15 | fail to comply with building code, vol 1, cl CP2 or vol 2, cl P2.3.1—building with element that does not comply with code to avoid spread of fire to exit, sole occupancy unit or public area or between buildings or in building | creation of building with defective or no fire spread avoidance measures | 2 |
| 2.1.16 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 37A (2)—carried out or supervised building work without displaying sign | carrying out or supervising building work without displaying sign  | 1 |
| 2.1.17 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 37A (5)—carried out or supervised building work without replacing or repairing damaged sign within 2 days or prescribed period | carrying out or supervising building work without replacing or repairing damaged sign within 2 days or prescribed period | 1 |
| 2.1.18 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (c)—mortar joint in mortar-jointed masonry element not between 8mm and 12mm wide or bed joint not horizontal | creation of defective masonry joint—mortar joint not between 8mm and 12mm wide or bed joint not horizontal | 1 |
| 2.1.19 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (c)—beam, doorway, window, wall, column, post or truss erected out of plumb | creation of out of plumb beam, doorway, window, wall, column, post or truss | 1 |
| 2.1.20 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (c)—floor, ceiling, beam or sill erected out of horizontal | creation of out of horizontal floor, ceiling, beam or sill | 1 |
| 2.1.21 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (c)—floor, ceiling or beam erected so surface not flat | creation of floor, ceiling or beam without flat surface | 1 |
| 2.1.22 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—building erected more than 100mm but less than 300mm away from position relative to boundaries indicated on approved plans | failure to comply with building siting on approved plan by more than 100mm but less than 300mm | 2 |
| 2.1.23 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—building erected 300mm or more away from position relative to boundaries indicated on approved plans | failure to comply with building siting on approved plan by 300mm or more | 3 |
| 2.1.24 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—part of floor erected more than 100mm higher or lower than level indicated on approved plans | failure to comply with floor level on approved plan by more than 100mm | 2 |
| 2.1.25 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—top of building erected more than 300mm higher than height indicated on approved plans | failure to comply with building height requirements of approved plan by more than 300mm | 2 |
| 2.1.26 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—location of structural element, wall, window or door, relative to building erected more than 100mm away from position on building indicated on approved plans or in position where plans indicate other element to be erected | failure to comply with set out requirements of approved plan for structural element, wall, window or door by more than 100mm, or inclusion of unplanned structural element, wall, window or door | 1 |
| 2.1.27 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—lineal dimensions of window, door or doorway erected more than 100mm larger or smaller than lineal dimension of window, door or doorway indicated on approved plans | failure to comply with dimensional requirements of approved plan for window, door or doorway by more than 100mm | 1 |
| 2.1.28 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (d)—beam, doorway, window, wall, column, post or truss in approved plan not erected | failure to include significant building element from approved plan | 2 |
| 2.1.29 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42 (1) (e)—carried out building work when not builder in commencement notice and not under supervision of builder in notice | carrying out building work when not in commencement notice or supervised by notice builder | 2 |
| 2.1.30 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 43 (2)—proceeded with building work above dampcourse level although certifier has not received required document or is not satisfied that position of building or level of all floors comply with approved plan and any condition | failure to provide survey plan or document or comply with approved plan or condition before building above dampcourse | 2 |
| 2.1.31 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 43 (3)—proceeded beyond stage of building work without giving written notice to certifier or without certifier’s written permission to proceed | failure to give written notice to certifier about reaching inspection stage or obtain written permission before proceeding | 2 |
| 2.1.32 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 64—did not comply with stop notice | failure to comply with stop notice | 2 |
| 2.1.33 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 64—did not comply with notice to produce survey plan | failure to comply with notice to provide survey plan | 2 |

Part 2.2 Building surveyors licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.2.1 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 24, s 28A (4) or s 37 (6)—certifier failed to give registrar required notice | failure to notify registrar as required under [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11) | 1 |
| 2.2.2 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 28—certifier failed to issue building approval when should have, or issued building approval when no grounds to issue | failure to issue required building approval, or issue of unauthorised building approval | 2 |
| 2.2.3 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 28A (1) or (2)—certifier issued building approval that was not, or not entirely— (a) marked on, attached to, or partly marked on and partly attached to, plans in relation to which approval was issued; or (b) marked on plans and certifier did not indicate on plans that approval, or part of approval, in separate document | failure to mark, attach or annotate building approval required detail on approved plan | 1 |
| 2.2.4 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 30—certifier issued building approval that allowed building work that would contravene law because of external design or siting of building | issuing improper building approval—building work would contravene law because of external design or siting | 3 |
| 2.2.5 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 37 (5)—certifier failed to issue building commencement notice as required | failure to issue building commencement notice as required | 2 |
| 2.2.6 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 44 (1)—received notice that licensee reached stage of building work but did not inspect the building work as soon as practicable | failure to do required inspection as soon as practicable after receiving notification about it | 2 |
| 2.2.7 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 44 (2) (a)—certifier satisfied that building work not compliant with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42, but did not give licensee in charge of building work written notice in accordance with s 44 (2) (a) | failure to give written notice in accordance with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 44 (2) (a) | 2 |
| 2.2.8 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 44 (2) (b)—building work complied with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 42, but certifier did not certify compliant or give certificate of compliance to licensee in charge of work | failure to give certificate of compliance after finding compliant work during required inspection | 2 |
| 2.2.9 | fail to comply with [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), s 50—certifier failed to notify registrar of contravention of building approval or development approval in accordance with s 50 | failure to notify registrar of known contravention of building approval or development approval | 2 |
| 2.2.10 | fail to comply with [Unit Titles Act 2001](http://www.legislation.act.gov.au/a/2001-16), s 22B (3) (b)—fail to give copy of unit title assessment report to planning and land authority within 5 working days after giving report to applicant | failure to give copy of report to authority within 5 working days after giving report to applicant | 1 |

Part 2.3 Drainers licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.3.1 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (a)—sanitary drainage system designed, constructed or installed in way that failed to convey sewage from sanitary plumbing system to approved disposal system or in manner that creates undue noise | creation of sanitary drainage system that fails to convey sewage from sanitary plumbing system to approved disposal system or in way that creates undue noise  | 1 |
| 2.3.2 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (b)—sanitary drainage system designed, constructed or installed in way that failed to avoid likelihood of blockage or leakage | creation of sanitary drainage system with likelihood of blockage or leakage | 1 |
| 2.3.3 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (c)—sanitary drainage system designed, constructed or installed in way that failed to avoid likelihood of root penetration | creation of sanitary drainage system with likelihood of root penetration | 1 |
| 2.3.4 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (d)—sanitary drainage system designed, constructed or installed in way that failed to provide adequate access for maintenance or clearing blockages | creation of sanitary drainage system without adequate access for maintenance or clearing blockages | 1 |
| 2.3.5 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (e)—sanitary drainage system designed, constructed or installed in way that failed to provide ventilation to avoid likelihood of foul air or gases accumulating in the sanitary drainage system or sewerage system | creation of sanitary drainage system without adequate ventilation of foul air or gases | 1 |
| 2.3.6 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (f)—sanitary drainage system designed, constructed or installed in way that failed to avoid likelihood of damage from superimposed loads or ground movement | creation of sanitary drainage system with likelihood of damage from loads or ground movement | 1 |
| 2.3.7 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (h)—sanitary drainage system designed, constructed or installed in way that failed to protect against internal contamination  | creation of sanitary drainage system without protection from contamination | 1 |
| 2.3.8 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (i)—sanitary drainage system designed, constructed or installed in way that failed to avoid likelihood of ingress of surface water, sub-surface water or stormwater into sewerage system | creation of sanitary drainage system with likelihood of allowing entry of surface water, sub‑surface water or stormwater into sewerage system | 1 |
| 2.3.9 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP2.1 (k) or (l)—sanitary drainage system designed, constructed or installed in way that failed to avoid likelihood of damage to existing buildings, site works, the sewerage system or other approved disposal system | creation of sanitary drainage system with likelihood of damaging existing building, site works, sewerage system or other approved disposal system | 1 |
| 2.3.10 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 16—provided sanitary drainage service without giving required notice | failure to give required notice of intention to start or completion of sanitary drainage work | 1 |
| 2.3.11 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 7 (1)—did work on sanitary drainage system other than in accordance with approved plan | creation of sanitary drainage work other than in accordance with approved plan | 1 |
| 2.3.12 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 8— (a) did not tell registrar when sanitary drainage work ready for inspection; or (b) did not leave sanitary drainage work ready for inspection as required | failure to tell registrar sanitary drainage work ready for inspection or to leave work uncovered for test | 1 |
| 2.3.13 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 9 (1)—did not test sanitary drain in accordance with AS/NZS 3500 before it was to be passed by an inspector or, if the sanitary drain was altered or repaired, before the alteration or repair was to be passed | failure to test sanitary drain before inspection | 1 |
| 2.3.14 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 9 (3)—did not rectify sanitary drainage work found to be defective | failure to rectify defective sanitary drainage work found by test | 2 |
| 2.3.15 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 10—did not give registrar required information, evidence of fee payment and plan within required time for sanitary drainage work completed in accordance with the plumbing code | failure to give required information, fee payment evidence and plan for completed sanitary drainage work | 1 |

Part 2.4 Electricians licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.4.1 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (a) (i)—inadequate or no protection (eg insulation and enclosure) against direct contact with live parts | inadequate or no protection against direct contact with live parts | 3 |
| 2.4.2 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (a) (ii)—inadequate or no protection (eg double insulation or isolating transformers) against indirect contact with exposed conductive parts | inadequate or no protection against indirect contact with exposed conductive parts | 2 |
| 2.4.3 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (a) (iii)—inadequate or no protection (eg enclosure, guarding or screening) against hazardous parts (eg flammable materials, hot surfaces or parts that may cause physical injury) | inadequate or no protection against hazardous parts | 3 |
| 2.4.4 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (a) (iv)—inadequate or no protection (eg unimpaired fire barriers) against spread of fire | inadequate or no protection against fire spread | 1 |
| 2.4.5 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (a) (v)—electrical equipment in poor general condition (eg signs of damage that could impair safe operation, failure to disconnect unused electrical equipment) | creation of electrical equipment in poor general condition | 1 |
| 2.4.6 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (b) (i)—noncompliant consumer mains current carrying capacity | creation of consumer mains with noncompliant current carrying capacity | 2 |
| 2.4.7 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (b) (ii)—noncompliant consumer mains voltage drop | creation of consumer mains with noncompliant voltage drop | 1 |
| 2.4.8 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (b) (iii)—noncompliant consumer mains underground installation condition | creation of consumer mains with noncompliant underground installation condition | 3 |
| 2.4.9 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (b) (iv)—noncompliant consumer mains aerial installation condition | creation of consumer mains with noncompliant aerial installation condition | 3 |
| 2.4.10 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (b) (v)—noncompliant consumer mains wiring connection | creation of consumer mains with noncompliant wiring connection | 3 |
| 2.4.11 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (b) (vi)—inadequate or no protection of consumer mains against external influences | failure to protect consumer mains against external influence | 1 |
| 2.4.12 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (i)—noncompliant switchboard location (eg access or egress) | creation of switchboard in noncompliant location | 2 |
| 2.4.13 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (ii)—switchboard protective device defect (eg overload and residual current rating, fault current rating) | creation of switchboard with protective device defect | 3 |
| 2.4.14 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (iii)—switchboard isolating device defect (eg main switch) | creation of switchboard with isolating device defect | 3 |
| 2.4.15 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (iv)—switchboard connecting device defect (eg neutral bars, earth bars or active link) | creation of switchboard with connective device defect | 3 |
| 2.4.16 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (v)—switchboard connection defect or fixing of switchboard wiring and switchgear defect | creation of switchboard with connection defect or fixing of wiring or switchgear defect | 3 |
| 2.4.17 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (vi)—switchboard identification defect or labelling of switchboard electrical equipment defect | creation of switchboard with labelling identification defect or labelling electrical equipment defect | 1 |
| 2.4.18 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (c) (vii)—inadequate or no protection of switchboard against external influences | failure to protect switchboard against external influences | 3 |
| 2.4.19 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (i)—conductor size of wiring systems defect (eg current-carrying capacity or voltage drop) | creation of wiring system with conductor size defect | 3 |
| 2.4.20 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (ii)—inadequate or no identification of cable core | creation of wiring system with cable core identification defect | 1 |
| 2.4.21 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (iii)—inadequate or no support or fixing of wiring systems | creation of wiring system with inadequate or no support or fixing | 1 |
| 2.4.22 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (iv)—connection or enclosure of wiring system defective | creation of wiring system with connection or enclosure defect | 2 |
| 2.4.23 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (v)—noncompliant installation of wiring system with installation condition (eg underground, aerial, emergency system) | creation of wiring system with installation condition in noncompliant way | 3 |
| 2.4.24 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (vi)—inadequate or no segregation of wiring system from other services and electrical installations | creation of wiring system with defective segregation from another service or electrical installation | 3 |
| 2.4.25 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (d) (vii)—inadequate or no protection of wiring system against external influences (eg enclosure) | failure to protect wiring system against external influence | 1 |
| 2.4.26 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (i)—electrical equipment with isolation or switching devices not protected against injury from mechanical movement devices or motors | creation of electrical equipment with defect in isolation or switching device for protection against injury from mechanical movement device or motor | 3 |
| 2.4.27 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (ii)—electrical equipment with isolation or switching devices not protected against thermal effects (eg motors, room heaters, water heaters) | creation of electrical equipment with defect in isolation or switching device for protection against injury from thermal effect | 2 |
| 2.4.28 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (iii)—particular electrical equipment switching devices noncompliant (eg socket-outlets, cooking appliances) | creation of electrical equipment switching device noncompliant for particular electrical equipment  | 2 |
| 2.4.29 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (iv)—electrical equipment switching devices noncompliant for use in installation conditions (eg locations affected by water, explosive atmospheres, extra-low voltage, high voltage) | creation of electrical equipment switching device noncompliant in conditions | 3 |
| 2.4.30 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (v)—electrical equipment noncompliant with required Australian Standard | creation of electrical equipment noncompliant with Australian Standard | 3 |
| 2.4.31 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (vi)—electrical equipment connection, support or fixing defect | creation of electrical equipment with connection, support or fixing defect | 2 |
| 2.4.32 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (e) (vii)—inadequate or no protection of electrical equipment against external influences | failure to protect electrical equipment against external influence | 2 |
| 2.4.33 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (i)—MEN connection defect | creation of defective MEN connection  | 3 |
| 2.4.34 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (ii)—earth electrode defect | creation of defective earth electrode | 3 |
| 2.4.35 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (iii)—earthing conductor defect (eg size, identification) | creation of defective earthing conductor | 3 |
| 2.4.36 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (iv)—equipotential bonding conductor defect (eg size, identification) | creation of defective equipotential bonding conductor | 3 |
| 2.4.37 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (v)—earthing connection, joint or termination defect | creation of defective earthing connection, joint or termination | 3 |
| 2.4.38 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (vi)—inadequate or no protection of earthing connection against external influences | failure to adequately protect earthing connection against external influence | 2 |
| 2.4.39 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (vii)—noncompliant connection of earthing to earthing arrangements for another system | creation of earthing with noncompliant connection to earthing arrangements of another system | 3 |
| 2.4.40 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 2.2 (f) (viii)—earthing situation required earthing of additional electrical equipment | creation of noncompliant earthing requiring earthing of additional electrical equipment | 3 |
| 2.4.41 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 3.1—earthing system failed earth continuity and resistance test under AS 3017 | creation of earthing system that failed earth continuity and resistance test under AS 3017 | 3 |
| 2.4.42 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 3.2—wiring or installation with inadequate or no insulation resistance between all live parts, including live conductors and the electrical installation earth, and each live conductor of consumer mains and submains | creation of wiring or installation that failed insulation resistance test under AS 3017 | 3 |
| 2.4.43 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 3.3—wiring or installation with defective polarity of active, neutral or earthing conductors | creation of wiring or installation that failed polarity test under AS 3017 | 3 |
| 2.4.44 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 3.4—wiring or installation with defective circuit connections | creation of wiring or installation that failed correct circuit connections test under AS 3017 | 3 |
| 2.4.45 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 3.5—wiring or installation with defective fault-loop impedance | creation of wiring or installation that failed fault-loop impedance test under AS 3017 | 3 |
| 2.4.46 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 5, compliance with AS 3000, as indicated by testing under AS 3017, cl 3.6—wiring or installation with defective residual current device (RCD) operation | creation of wiring or installation that failed RCD test under AS 3017 | 3 |
| 2.4.47 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 6—did not ensure electrical wiring work tested under AS 3017 or did not give registrar or owner of installation required report about test | failure to test installation or give required test report | 2 |
| 2.4.48 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 8 (4)—contravention of direction under [Electricity Safety Act](http://www.legislation.act.gov.au/a/1971-30/), s 8 (2) to take stated action to make installation or work safe and compliant | failure to comply with direction to make installation or work safe | 3 |
| 2.4.49 | fail to comply with [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), s 12 or s 13—prescribed article of electrical equipment installed in, or connected to, electrical installation in stated circumstances | creation of connection to unapproved electrical appliance | 3 |

Part 2.5 Gasfitters licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.5.1 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8 requiring work to be done under AS 5601, cl 2.5.2—provided outlet not connected to gas appliance and not sealed with plug, cap or blank flange | failure to appropriately seal surplus gas outlet  | 3 |
| 2.5.2 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cls 3.2.1 and 3.3.6—material used to join components of consumer piping system, or to connect to consumer piping system, with incompatible mating screw threads or noncompliant joint | creation of noncompliant joint in, or connection to, consumer piping system | 1 |
| 2.5.3 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cls 4.1.3, 4.3.1 (c) and 4.4—material of consumer piping system, or connecting to consumer piping system, not adequately protected from corrosion or isolated from incompatible material | creation of part of consumer piping system, or connection to it, without compliant corrosion protection or isolation between incompatible material | 2 |
| 2.5.4 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.1.12—pipework forming part of consumer piping system required to have compliant markings and did not have them | failure to adequately identify gas pipework | 1 |
| 2.5.5 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.2.4—pipework forming part of consumer piping system with diameter too small to achieve required available gas pressure | creation of part of consumer piping system with noncompliant pipework size | 3 |
| 2.5.6 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.3—inadequate spacing or strength of devices supporting or restraining, or intended to support or restrain, consumer piping system | failure to adequately support or restrain gas pipework | 1 |
| 2.5.7 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.6—part of piping system required to have adequate pressure protection device | creation of consumer piping system with defective gas pressure protection | 3 |
| 2.5.8 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.7—gas vent located in noncompliant position, or so could discharge gas in prohibited way, or no required gas vent provided | creation of noncompliant gas vent discharge point or failure to provide required gas vent | 2 |
| 2.5.9 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cls 4.8.2 and 4.8.3—gas hose assembly connection point located— (a) in bedroom, bathroom, sauna, toilet or hallway; or (b) in place where traffic across hose; or (c) if used for space heater—1m or less from doorway | creation of gas hose assembly connection in noncompliant location | 1 |
| 2.5.10 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.9.2—quick-connect type gas connection point installed outside in way that possible for rainwater and debris to enter it | creation of quick-connect gas device outside with likelihood of entry of water or debris | 1 |
| 2.5.11 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.11.3—part of consumer piping system located less than 25mm from metal electrical conduit, metal-armoured or metal-sheathed electrical wire or cable, or electrical earthing electrode | creation of part of gas pipework less than 25mm from electrical installation | 1 |
| 2.5.12 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 4.11.11—part of consumer piping system exposed to potential liquid discharge (eg from water heater relief valve or condensate drain) | creation of part of gas pipework exposed to liquid discharge | 1 |
| 2.5.13 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cls 5.2.4, 5.3.1 and 5.4— (a) gas appliance’s ventilation inadequate to ensure appliance’s safe operation; or (b) possibility that operation of ventilation system, air distribution system or air blower could deprive gas appliance of air required for combustion or caused air pressure to be less than atmospheric pressure at appliance or otherwise adversely affected appliance’s operation; or (c) gas appliance installed at location without adequate ventilation for complete combustion of gas, proper fluing or maintenance of ambient temperature of immediate surrounds at safe level, under normal operating conditions; or (d) air supply to gas appliance contaminated with gases produced by fuel combustion, or contained chemicals or flammable vapours that could have affected combustion; or (e) gas appliance in room or enclosure required to have 1 or more of following, but did not: (i) natural ventilation direct from outside the room or enclosure; (ii) natural ventilation from nearby room or enclosure; (iii) mechanical ventilation | failure to provide gas appliance with compliant air ventilation or adequate combustion air supply | 2 |
| 2.5.14 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.2.5—gas appliance installed other than in accordance with manufacturer’s instructions | creation of gas appliance installation not in accordance with manufacturer’s instructions | 2 |
| 2.5.15 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.2.6—gas appliance installed but failure to install component or install in compliant way may have affected safe operation | creation of potentially unsafe gas appliance installation | 3 |
| 2.5.16 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cls 5.2.7, 5.3.4 and 5.12—gas appliance installed so that— (a) surface temperature of nearby combustible surface could exceed 65˚C above ambient temperature because of use of appliance; or (b) appliance is hazard to walls, nearby surfaces, curtains, furniture or opened door; or (c) clearance from appliance, including any flue, to anything else less than required | creation of gas appliance installation too close to combustible surface or other hazardous thing | 3 |
| 2.5.17 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cls 5.2.13, 5.2.15, 5.2.18, 5.2.19 and 5.12—gas appliance installed— (a) so that supported on, or secured to, structure that not durable, or otherwise inappropriate; or (b) so that supported or secured in way that does not minimise strain on any gas pipe connection; or (c) so that not secured or stabilised in way suitable for its conditions of use or in accordance with manufacturer’s instruction (eg upright stove not prevented from tilting when oven door open and lent on; or (d) but not restrained, or restrained in noncompliant way if required to be restrained against rolling on wheels, rollers or castors | creation of gas appliance with noncompliant support, security, restraint or stability | 2 |
| 2.5.18 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.3.11 (c) and (d)—gas appliance in roof space not provided with compliant access walkway— (a) of required dimensions from point of access into roof space to gas appliance and around appliance; and (b) with no duct intruding on it; and (c) capable of supporting person’s weight; and (d) permanently fixed to building | failure to provide compliant walkway to roof space gas appliance | 3 |
| 2.5.19 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.3.11 (f)—gas appliance in roof space without required artificial lighting or lighting switch located adjacent to, and within 600mm from closest edge of, access opening into roof space | failure to provide required compliant artificial light to roof-space gas appliance | 2 |
| 2.5.20 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.3.11 (c) and (g)—roof-space gas appliance located so that cannot be readily lit or serviced, or so that components cannot be removed | creation of defective roof-space gas appliance installation—not readily lit or serviced, parts cannot be removed | 2 |
| 2.5.21 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.3.11 (e)—roof-space gas appliance required to be installed in stated way on non-combustible platform or on combustible platform with compliant heat shielding was not installed that way | creation of roof-space gas appliance with platform inadequately protected from combustion | 3 |
| 2.5.22 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.6—thing connected to consumer piping system did not have required compliant device to allow thing to be isolated or disconnected from gas supply | failure to provide required compliant way to disconnect or isolate gas supply | 1 |
| 2.5.23 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.11—gas appliance installed without required automatic gas shut-off if operation of overhead automaticfire-extinguishing equipment might extinguish appliance’s flame | creation of gas appliance installation without automatic gas shut-off on automatic fire extinguishing | 3 |
| 2.5.24 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl 5.13—gas appliance with flue made of noncompliant material or configured, located or supported in noncompliant way  | creation of gas appliance installation with noncompliant flue | 3 |
| 2.5.25 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, requiring work to be done under AS 5601, cl E3.2.1—consumer piping system gas pressure dropped or gas leaked more than allowed | creation of consumer piping system or connection that leaked gas or dropped gas pressure | 3 |
| 2.5.26 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 9 (1)—gasfitting work completed in accordance with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 8, but certificate of compliance for work not given in accordance with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67) | failure to give appropriate certificate of compliance for pipework | 3 |
| 2.5.27 | fail to comply with [Gas Safety Act 2000](http://www.legislation.act.gov.au/a/2000-67), s 23 (2)—gas appliance that not approved connected to consumer piping system | connection of unapproved appliance to consumer piping system | 3 |

Part 2.6 Plumbers licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.6.1 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP1.1 (b)—sanitary plumbing system designed, constructed or installed in way that failed to avoid likelihood of loss of amenity because of blockage or leakage | creation of sanitary plumbing system with likelihood of loss of amenity because of blockage or leakage | 2 |
| 2.6.2 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP1.1 (c)—sanitary plumbing system designed, constructed or installed in way that failed to avoid likelihood of ingress of inappropriate water, sewage, sullage, foul air or gases from the system into a building | creation of sanitary plumbing system with likelihood of inappropriate water, sewage, sullage, foul air or gas entering a building | 2 |
| 2.6.3 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP1.1 (d)—sanitary plumbing system designed, constructed or installed in way that failed to provide adequate access for maintenance of mechanical components, operational controls or for clearing blockages | creation of sanitary plumbing system without adequate access for maintenance of mechanical components, operational controls or clearing blockages | 1 |
| 2.6.4 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 6 (1), performance requirement under plumbing code cl CP1.1 (e)—sanitary plumbing system designed, constructed or installed in way that failed to avoid likelihood of damage from superimposed loads, ground movement or root penetration | creation of sanitary plumbing system with likelihood of damage from loads, ground movement or root penetration | 1 |
| 2.6.5 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 18 (1), performance requirement under plumbing code cl B1.2 (a)—cold water service designed, constructed or installed in way that failed to avoid likelihood of contamination of drinking water within the water service or water network | creation of cold water service with likelihood of contamination of drinking water in cold water service or water network | 2 |
| 2.6.6 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 18 (1), performance requirement under plumbing code cl B1.2 (f)—cold water service designed, constructed or installed in way that failed to allow the system, appliances or backflow prevention devices to be isolated for testing or maintenance where required | creation of cold water service without allowance for system, appliances or backflow prevention devices to be isolated for testing or maintenance | 2 |
| 2.6.7 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 18 (1), performance requirement under plumbing code cl B1.2 (c)—cold water service designed, constructed or installed in way that failed to avoid likelihood of leakage or failure, including uncontrolled discharges | creation of cold water service with likelihood of leakage or failure | 1 |
| 2.6.8 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 11 or s 15 (1) (a) and [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 17— (a) installed or fitted sprinkler system or part of fire sprinkler service without giving required notice of start to registrar; or (b) altered, repaired or replaced pipe or fitting communicating with water network without giving required notice (including required plumbing plan) of start to registrar or without required approval | failure to give required notice of intention to start sprinkler or fire sprinkler work or interfere with pipes communicating with water network | 1 |
| 2.6.9 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 15 (2) or (3)— (a) contravened direction of registrar about how water supply plumbing service is to be provided; or (b) installed a thing to which the plumbing code, part G applies and the thing was not certified under the part | failure to provide service as directed by registrar or installed thing not certified under plumbing code, part G | 2 |
| 2.6.10 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 19— (a) did not tell registrar when water supply plumbing work ready for inspection; or (b) did not leave water supply plumbing work ready for inspection as required | failure to tell registrar water supply plumbing work ready for inspection or to leave work uncovered for test | 1 |
| 2.6.11 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 20 (1)—did not test water supply plumbing in accordance with AS/NZS 3500 before it was to be passed by an inspector or, if the water supply plumbing was altered or repaired, before the alteration or repair was to be passed | failure to test water supply plumbing before inspection | 1 |
| 2.6.12 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 20 (3)—did not rectify water supply plumbing work found to be defective | failure to rectify defective water supply plumbing work found by test | 2 |
| 2.6.13 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 21—did not give registrar required information, evidence of fee payment and plan within required time for water supply plumbing work completed in accordance with the plumbing code | failure to give required information, fee payment evidence and plan for completed water supply plumbing work | 1 |
| 2.6.14 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 22 (4)—installed testable backflow prevention device but did not tell registrar about installation or ensure device tested as required as soon as practicable | installation of testable backflow prevention device without notifying or testing | 1 |
| 2.6.15 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 16—provided sanitary plumbing service without giving required notice | failure to give required notice of intention to start or complete sanitary plumbing work | 1 |
| 2.6.16 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 7 (1)—did work on sanitary plumbing system other than in accordance with approved plan | creation of sanitary plumbing work other than in accordance with approved plan | 1 |
| 2.6.17 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 8— (a) did not tell registrar when sanitary plumbing work ready for inspection; or (b) did not leave sanitary plumbing work ready for inspection as required | failure to tell registrar sanitary plumbing work ready for inspection or to leave work uncovered for test | 1 |
| 2.6.18 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 9 (1)—did not test sanitary plumbing in accordance with AS/NZS 3500 before it was to be passed by an inspector or, if the sanitary plumbing was altered or repaired, before the alteration or repair was to be passed | failure to test sanitary plumbing before inspection | 1 |
| 2.6.19 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 9 (3)—did not rectify sanitary plumbing work found to be defective | failure to rectify defective sanitary plumbing work found by test | 2 |
| 2.6.20 | fail to comply with [Water and Sewerage Regulation 2001](http://www.legislation.act.gov.au/sl/2001-2), s 10—did not give registrar required information, evidence of fee payment and plan within required time for sanitary plumbing work completed in accordance with the plumbing code | failure to give required information, fee payment evidence and plan for completed sanitary plumbing work | 1 |

Part 2.7 Plumbing plan certifiers licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.7.1 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 8 (1)—approved plumbing or sanitary drainage work plan without required approvals | failure to obtain required approval before approving plumbing or drainage plan | 3 |
| 2.7.2 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 8 (2) (e)—certifier issued plan approval for proposed plumbing or sanitary drainage work, or approved amendment plan, where design of work did not comply with the plumbing code | creation of plan approval or amendment for noncompliant plumbing or drainage work | 2 |
| 2.7.3 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 9 (2)—certifier approved amendment to plan approval for proposed plumbing or sanitary drainage work if reconsideration required | approved amended plan that required reconsideration | 1 |
| 2.7.4 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 9 (4)—certifier did not keep all documents relating to approved plumbing or drainage plan for at least 12 months | failure to keep plan approval records for 1 year | 1 |
| 2.7.5 | fail to comply with [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), s 10—certifier did not notify registrar within 7 days after end of appointment under [Water and Sewerage Act](http://www.legislation.act.gov.au/a/2000-68/), s 5 (3) | failure to notify loss of appointment as certifier within 7 days after loss | 1 |

Part 2.7A Works assessor licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.7A.1 | fail to comply with [Unit Titles Act 2001](http://www.legislation.act.gov.au/a/2001-16), s 22B (3) (b)—fail to give copy of unit title assessment report to planning and land authority within 5 working days after giving report to applicant | failure to give copy of report to authority within 5 working days after giving report to applicant | 1 |

Part 2.8 All licences demerit grounds for occupational discipline—Act, s 55 (1) (a)

| column 1item | column 2demerit grounds for occupational discipline | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 2.8.1 | fail to comply with [Act](http://www.legislation.act.gov.au/a/2004-12/), s 40—contravention of rectification order other than emergency rectification order | contravention of non-emergency rectification order | 2 |
| 2.8.2 | fail to comply with [Act](http://www.legislation.act.gov.au/a/2004-12/), s 40—contravention of emergency rectification order | contravention of emergency rectification order | 4 |
| 2.8.3 | fail to comply with [Act](http://www.legislation.act.gov.au/a/2004-12/), s 47—did not give client evidence of relevant insurance before providing construction service | failure to give client insurance evidence | 1 |
| 2.8.4 | fail to comply with [Act](http://www.legislation.act.gov.au/a/2004-12/), s 87 (1)—contravention of licence condition that— (a) limited number or cost of construction services provided under licence; or (b) required licensee to do something in a stated way in connection with the performance of a construction service | failure to comply with licence condition | 2 |
| 2.8.5 | fail to comply with [Act](http://www.legislation.act.gov.au/a/2004-12/), s 87 (3)—contravention of applicable code of practice | failure to comply with applicable code of practice | 1 |

Schedule 3 Licence demerit grounds for occupational discipline under Act, s 55 (1) (other than par (a))

(see s 43)

| column 1item | column 2provision | column 3short description | column 4demerit points |
| --- | --- | --- | --- |
| 3.1 | s 55 (1) (b) | giving false or misleading information | 2 |

Schedule 4 Reviewable decisions

(see pt 6A)

| column 1item | column 2section | column 3decision | column 4entity |
| --- | --- | --- | --- |
| 1 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 19 (1) | refuse to issue licence | applicant for licence |
| 2 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 19 (1) | issue licence for period less than maximum period for which licence may be issued | applicant for licence |
| 3 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 19 (2) | issue licence other than licence applied for | applicant for licence |
| 4 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 21 (2) | amend licence by putting condition on licence, or amending or cancelling licence | licensee |
| 5 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 21 (2) | refuse to amend licence | licensee |
| 6 | [Act](http://www.legislation.act.gov.au/a/2004-12/default.asp), 21A | amend licence by putting condition on licence | licensee |
| 7 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 22 | refuse to endorse licence | licensee |
| 8 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 25 | renew licence for period less than the maximum period for which licence may be renewed | applicant for renewal |
| 9 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 25 (2) or (3) | refuse to renew licence | person whose licence renewal refused |
| 10 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 26 | refuse to cancel licence | licensee |
| 11 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 29 | refuse to approve resignation of nominee of corporation or partnership | nominee, corporation or partnership |
| 12 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 37 | authorise licensee to enter land  | entity given notice under s 34 in relation to land or licensee |
| 13 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 38 | make rectification order | person or entity to which rectification order relates |
| 14 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 53 | refuse to revoke automatic suspension | licensee |
| 15 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 56 (1) (b), (c) or (d) | take disciplinary action | licensee |
| 16 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 53A (2) | cancel licence following 3-month period of automatic suspension | licensee  |
| 17 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 59 (2) | suspend licence | licensee |
| 18 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 61 (2) | refuse to revoke suspension | licensee |
| 19 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 95 | take disciplinary action | licensee |
| 20 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 96 | refuse application for licence or renewal | applicant for licence or renewal |
| 21 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 97 | give notice of licence suspension without opportunity to make representations  | person whose licence suspended |
| 22 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 98 | give notice of licence disqualification without opportunity to make representations  | person whose licence disqualified |
| 23 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 107 (5) | refuse to give access to information on register | person asking for access to information |
| 24 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 107A (8) (b) | include information about rectification undertaking on public register | licensee who gave, or a person affected by, the rectification undertaking |
| 25 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 109 (3) | include details of contravention in register | entity to which details of contravention relate |
| 26 | [Act](http://www.legislation.act.gov.au/a/2004-12/), 111 | refuse to remove information from the register | entity to which information relates |
| 27 | 30 | refuse to endorse builders licence | licensee or applicant for endorsement |
| 28 | 30 | endorse builders licence subject to conditions | licensee |
| 29 | 31 | refuse to endorse plumbers licence | licensee |
| 30 | 31A | refuse to endorse building assessor’s licence | licensee |
| 31 | 31B | refuse to endorse advanced gasfitters licence or general gasfitters licence | licensee |
| 32 | 31C | refuse to endorse electrical contractor licence or unrestricted electrician licence | licensee |
| 33 | 33 | refuse to issue replacement licence | licensee |

Dictionary

(see s 2)

Note 1 The [Legislation Act](http://www.legislation.act.gov.au/a/2001-14) contains definitions and other provisions relevant to this regulation.

Note 2 For example, the [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), dictionary, pt 1, defines the following terms:

 Act

 found guilty

 home address.

Note 3 Terms used in this regulation have the same meaning that they have in the [Construction Occupations (Licensing) Act 2004](http://www.legislation.act.gov.au/a/2004-12) (see [Legislation Act](http://www.legislation.act.gov.au/a/2001-14), s 148). For example, the following terms are defined in the [Construction Occupations (Licensing) Act 2004](http://www.legislation.act.gov.au/a/2004-12), dict:

 AS 3500

 building surveyor (see s 9)

 disciplinary action

 demerit disciplinary ground

 endorsement

 nominee

 registrar

 works assessor (see s 14A (1)).

AS 3000 means Australian/New Zealand Standard 3000 (Wiring Rules), as in force from time to time.

AS 3017 means Australian/New Zealand Standard 3017 (Electrical Installations—Testing and Inspection Guidelines), as in force from time to time.

AS 5601 means Australian Standard 5601 (Gas Installations), as in force from time to time.

basic building work—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), section 10.

building certification work—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 9 (4) (What is a building surveyor?).

electrical installation—see the [Electricity Safety Act 1971](http://www.legislation.act.gov.au/a/1971-30), dictionary.

electrical wiring work—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 11 (3) (What is an electrician?).

fire sprinkler work—see the [Water and Sewerage Act 2000](http://www.legislation.act.gov.au/a/2000-68), dictionary.

gasfitting work—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 12 (3) (What is a gasfitter?).

incidental electrical work means work carried out by a person whose main occupation is not as an electrician if the work—

 (a) either—

 (i) involves the disconnection and reconnection of an appliance, or fitting, that is an electrical installation; or

 (ii) involves finding and fixing faults in components of an appliance, or fitting, that is an electrical installation; and

 (b) is incidental to the person’s main occupation; and

 (c) does not include interval metering work.

interval metering work—see section 31C (3).

sanitary drainage work—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 10 (3) (What is a drainer?).

sanitary plumbing work—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 13 (3) (What is a plumber?).

specialist building work—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), section 9.

storey—see the [Building Act 2004](http://www.legislation.act.gov.au/a/2004-11), dictionary.

type B gas appliance means a gas appliance that—

 (a) consumes more than 10MJ/h of gas; and

 (b) is not covered by an approval scheme for gas appliances recognised by an entity appointed by the government of a State or Territory to administer the gas safety legislation for the State or Territory.

unit title assessment report—see the [Unit Titles Act 2001](http://www.legislation.act.gov.au/a/2001-16), section 22B.

water supply plumbing work—see the [Act](http://www.legislation.act.gov.au/a/2004-12/), section 13 (3) (What is a plumber?).

Endnotes

1 About the endnotes

Amending and modifying laws are annotated in the legislation history and the amendment history. Current modifications are not included in the republished law but are set out in the endnotes.

Not all editorial amendments made under the [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), part 11.3 are annotated in the amendment history. Full details of any amendments can be obtained from the Parliamentary Counsel’s Office.

Uncommenced amending laws are not included in the republished law. The details of these laws are underlined in the legislation history. Uncommenced expiries are underlined in the legislation history and amendment history.

If all the provisions of the law have been renumbered, a table of renumbered provisions gives details of previous and current numbering.

The endnotes also include a table of earlier republications.

2 Abbreviation key

|  |  |
| --- | --- |
| A = Act | NI = Notifiable instrument |
| AF = Approved form | o = order |
| am = amended | om = omitted/repealed |
| amdt = amendment | ord = ordinance |
| AR = Assembly resolution | orig = original |
| ch = chapter | par = paragraph/subparagraph |
| CN = Commencement notice | pres = present |
| def = definition | prev = previous |
| DI = Disallowable instrument | (prev...) = previously |
| dict = dictionary | pt = part |
| disallowed = disallowed by the Legislative  | r = rule/subrule |
| Assembly | reloc = relocated |
| div = division | renum = renumbered |
| exp = expires/expired | R[X] = Republication No |
| Gaz = gazette | RI = reissue |
| hdg = heading | s = section/subsection |
| IA = Interpretation Act 1967 | sch = schedule |
| ins = inserted/added | sdiv = subdivision |
| LA = Legislation Act 2001 | SL = Subordinate law |
| LR = legislation register | sub = substituted |
| LRA = Legislation (Republication) Act 1996 | underlining = whole or part not commenced |
| mod = modified/modification | or to be expired |

3 Legislation history

This regulation was made as part of the [Construction Occupations (Licensing) Act 2004](http://www.legislation.act.gov.au/a/2004-12) (see [A2004‑12](http://www.legislation.act.gov.au/a/2004-12), s 151 and sch 1) and was originally the [Construction Occupations (Licensing) Regulations 2004](http://www.legislation.act.gov.au/sl/2004-36). It was renamed under the [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14).

Construction Occupations (Licensing) Regulation 2004 SL2004-36

taken to have been notified LR 26 March 2004 ([A2004‑12](http://www.legislation.act.gov.au/a/2004-12), s 151 (3) (a))

s 1 taken to have commenced 26 March 2004 (LA s 75 (1))

remainder commenced 1 September 2004 ([A2004‑12](http://www.legislation.act.gov.au/a/2004-12), s 151 (3) (b))

as amended by

[Construction Occupations (Licensing) Amendment Regulations 2004 (No 1)](http://www.legislation.act.gov.au/sl/2004-44) SL2004-44

notified LR 8 September 2004

s 1, s 2 commenced 8 September 2004 (LA s 75 (1))

remainder commenced 9 September 2004 (s 2)

[Construction Occupations Legislation Amendment Act 2005](http://www.legislation.act.gov.au/a/2005-34) A2005‑34 sch 1 pt 1.4

notified LR 6 July 2005

s 1, s 2 commenced 6 July 2005 (LA s 75 (1))

sch 1 pt 1.4 commenced 27 July 2005 (s 2)

[Construction Occupations (Licensing) Amendment Regulation 2005 (No 1)](http://www.legislation.act.gov.au/sl/2005-18) SL2005-18

notified LR 26 August 2005

s 1, s 2 commenced 26 August 2005 (LA s 75 (1))

remainder commenced 27 August 2005 (s 2)

[Construction Occupations Legislation Amendment Act 2006](http://www.legislation.act.gov.au/a/2006-15) [A2006‑15](http://www.legislation.act.gov.au/a/2006-15) sch 1 pt 1.3

notified LR 6 April 2006

s 1, s 2 commenced 6 April 2006 (LA s 75 (1))

sch 1 pt 1.3 commenced 1 September 2006 (s 2 and [CN2006-19](http://www.legislation.act.gov.au/cn/2006-19/default.asp))

[Asbestos Legislation Amendment Act 2006](http://www.legislation.act.gov.au/a/2006-16) A2006-16 sch 1 pt 1.5 (as am by [A2006‑24](http://www.legislation.act.gov.au/a/2006-24) s 4)

notified LR 18 May 2006

s 1, s 2 commenced 18 May 2006 (LA s 75 (1))

amdt 1.39, amdt 1.44 commenced 18 November 2006 (s 2 (2) and LA s 79)

sch 1 pt 1.5 remainder commenced 1 July 2006 (s 2 (1) as am by [A2006‑24](http://www.legislation.act.gov.au/a/2006-24) s 4))

[Asbestos Legislation Amendment Act 2006 (No 2)](http://www.legislation.act.gov.au/a/2006-24) A2006-24

notified LR 18 May 2006

s 1, s 2 commenced 18 May 2006 (LA s 75 (1))

remainder commenced 19 May 2006 (s 2)

Note This Act only amends the [Asbestos Legislation Amendment Act 2006](http://www.legislation.act.gov.au/a/2006-16) A2006-16.

[Construction Occupations (Licensing) Amendment Regulation 2006 (No 1)](http://www.legislation.act.gov.au/sl/2006-52) SL2006-52

notified LR 4 December 2006

s 1, s 2 commenced 4 December 2006 (LA s 75 (1))

remainder commenced 5 December 2006 (s 2)

[Training and Tertiary Education Legislation Amendment Act 2007](http://www.legislation.act.gov.au/a/2007-12) A2007-12 sch 1 pt 1.6

notified LR 13 June 2007

s 1, s 2 commenced 13 June 2007 (LA s 75 (1))

sch 1 pt 1.6 commenced 1 July 2007 (s 2 and [CN2007-3](http://www.legislation.act.gov.au/cn/2007-3/default.asp))

[Building Legislation Amendment Act 2007](http://www.legislation.act.gov.au/a/2007-26) A2007-26 sch 1 pt 1.4

notified LR 13 September 2007
s 1, s 2 commenced 13 September 2007 (LA s 75 (1))

sch 1 pt 1.4 commenced 31 March 2008 (s 2 (1) and see [Planning and Development Act 2007](http://www.legislation.act.gov.au/a/2007-24) A2007-24, s 2 and [CN2008-1](http://www.legislation.act.gov.au/cn/2008-1/default.asp))

[ACT Civil and Administrative Tribunal Legislation Amendment Act 2008](http://www.legislation.act.gov.au/a/2008-36) A2008-36 sch 1 pt 1.11

notified LR 4 September 2008

s 1, s 2 commenced 4 September 2008 (LA s 75 (1))

sch 1 pt 1.11 commenced 2 February 2009 (s 2 (1) and see [ACT Civil and Administrative Tribunal Act 2008](http://www.legislation.act.gov.au/a/2008-35) A2008-35, s 2 (1) and [CN2009-2](http://www.legislation.act.gov.au/cn/2009-2/default.asp))

as modified by

[ACT Civil and Administrative Tribunal (Transitional Provisions) Regulation 2009](http://www.legislation.act.gov.au/sl/2009-2) SL2009-2 s 67 and sch 2 (as am by [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) amdt 1.2, amdt 1.4)

notified LR 29 January 2009

s 1, s 2 commenced 29 January 2009 (LA s 75 (1))

s 67 and sch 2 commenced 2 February 2009 (s 2 and see [ACT Civil and Administrative Tribunal Act 2008](http://www.legislation.act.gov.au/a/2008-35) A2008-35, s 2 (1) and [CN2009-2](http://www.legislation.act.gov.au/cn/2009-2/default.asp))

as amended by

[Statute Law Amendment Act 2009 (No 2)](http://www.legislation.act.gov.au/a/2009-49) A2009-49 amdt 1.2, amdt 1.4, sch 1 pt 1.5, sch 3 pt 3.11

notified LR 26 November 2009

s 1, s 2 commenced 26 November 2009 (LA s 75 (1))

amdt 1.2, amdt 1.4, sch 1 pt 1.5, sch 3 pt 3.11 commenced 17 December 2009 (s 2)

Note This Act also amends the [ACT Civil and Administrative Tribunal (Transitional Provisions) Regulation 2009](http://www.legislation.act.gov.au/sl/2009-2) SL2009-2.

[Statute Law Amendment Act 2010](http://www.legislation.act.gov.au/a/2010-18) A2010-18 sch 3 pt 3.2

notified LR 13 May 2010

s 1, s 2 commenced 13 May 2010 (LA s 75 (1))

sch 3 pt 3.2 commenced 3 June 2010 (s 2)

[Construction Occupations Legislation (Exemption Assessment) Amendment Act 2010](http://www.legislation.act.gov.au/a/2010-24) A2010-24 pt 4

notified LR 8 July 2010

pt 1 commenced 8 July 2010 (s 2 (1))

s 42 commenced 8 July 2011 (s 2)

pt 4 remainder commenced 3 September 2010 (s 2 (2) and see [Construction Occupations Legislation Amendment Act 2010](http://www.legislation.act.gov.au/a/2010-8) A2010-8 (s 2 (2) and LA s 79)

[Construction Occupations Legislation Amendment Act 2010 (No 2)](http://www.legislation.act.gov.au/a/2010-32) A2010-32 pt 5

notified LR 1 September 2010

s 1, s 2 commenced 1 September 2010 (LA s 75 (1))

s 3 commenced 18 February 2011 (LA s 75AA)

s 33 commenced 18 February 2011 (s 2 and [CN2011-2](http://www.legislation.act.gov.au/cn/2011-2/default.asp))

pt 5 remainder commenced 1 March 2011 (s 2 and LA s 79)

[Construction Occupations (Licensing) Amendment Regulation 2010 (No 1)](http://www.legislation.act.gov.au/sl/2010-36) SL2010-36

notified LR 7 September 2010

s 1, s 2 commenced 7 September 2010 (LA s 75 (1))

remainder commenced 8 September 2010 (s 2)

[Statute Law Amendment Act 2011 (No 3)](http://www.legislation.act.gov.au/a/2011-52) A2011-52 sch 3 pt 3.11

notified LR 28 November 2011

s 1, s 2 commenced 28 November 2011 (LA s 75 (1))

sch 3 pt 3.11 commenced 12 December 2011 (s 2)

[Planning and Building Legislation Amendment Act 2011 (No 2)](http://www.legislation.act.gov.au/a/2011-54) A2011‑54 pt 4

notified LR 13 December 2011

s 1, s 2 commenced 13 December 2011 (LA s 75 (1))

pt 4 commenced 1 July 2012 (s 2 and [CN2012-11](http://www.legislation.act.gov.au/cn/2012-11/default.asp))

[Planning, Building and Environment Legislation Amendment Act 2013](http://www.legislation.act.gov.au/a/2013-15) A2013-15 pt 4

notified LR 21 May 2013

s 1, s 2 commenced 21 May 2013 (LA s 75 (1))

pt 4 commenced 22 May 2013 (s 2)

[Construction and Energy Efficiency Legislation Amendment Act 2013](http://www.legislation.act.gov.au/a/2013-31) A2013-31 pt 7, sch 1

notified LR 26 August 2013

s 1, s 2 commenced 26 August 2013 (LA s 75 (1))

s 67 commenced 1 December 2013 (s 2 (2))

pt 7 remainder commenced 27 August 2013 (s 2 (3))

sch 1 commenced 1 September 2013 (s 2 (1))

[Construction and Energy Efficiency Legislation Amendment Act 2014](http://www.legislation.act.gov.au/a/2014-2) A2014-2 pt 4

notified LR 5 March 2014

s 1, s 2 commenced 5 March 2014 (LA s 75 (1))

pt 4 commenced 6 March 2014 (s 2)

[Construction and Energy Efficiency Legislation Amendment Act 2014 (No 2)](http://www.legislation.act.gov.au/a/2014-10) A2014-10 pt 3

notified LR 17 April 2014

s 1, s 2 commenced 17 April 2014 (LA s 75 (1))

pt 3 commenced 18 April 2014 (s 2)

[Gas Safety Legislation Amendment Act 2014](http://www.legislation.act.gov.au/a/2014-38/default.asp) A2014-38 pt 3

notified LR 30 September 2014

s 1, s 2 commenced 30 September 2014 (LA s 75 (1))

pt 3 commenced 30 March 2015 (s 2 and LA s 79)

[Training and Tertiary Education Amendment Act 2014](http://www.legislation.act.gov.au/a/2014-48) A2014‑48 sch 1 pt 1.6

notified LR 6 November 2014

s 1, s 2 commenced 6 November 2014 (LA s 75 (1))

sch 1 pt 1.6 commenced 20 November 2014 (s 2)

[Dangerous Substances (Asbestos Safety Reform) Legislation Amendment Act 2014](http://www.legislation.act.gov.au/a/2014-53) A2014‑53 pt 5

notified LR 3 December 2014

s 1, s 2 commenced 3 December 2014 (LA s 75 (1))

pt 5 commenced 1 January 2015 (s 2)

[Building (General) Legislation Amendment Regulation 2015 (No 1)](http://www.legislation.act.gov.au/sl/2015-14/default.asp) SL2015-14 pt 3

notified LR 4 May 2015

s 1, s 2 commenced 4 May 2015 (LA s 75 (1))

pt 3 commenced 5 May 2015 (s 2 (1))

[Planning, Building and Environment Legislation Amendment Act 2015](http://www.legislation.act.gov.au/a/2015-12) A2015‑12 pt 5

notified LR 20 May 2015

s 1, s 2 commenced 20 May 2015 (LA s 75 (1))

pt 5 commenced 21 May 2015 (s 2)

[Spent Convictions (Historical Homosexual Convictions Extinguishment) Amendment Act 2015](http://www.legislation.act.gov.au/a/2015-45) A2015‑45 sch 1 pt 1.2

notified LR 6 November 2015

s 1, s 2 commenced 6 November 2015 (LA s 75 (1))

sch 1 pt 1.2 commenced 7 November 2015 (s 2)

[Building and Construction Legislation Amendment Act 2016](http://www.legislation.act.gov.au/a/2016-44/default.asp)
A2016-44 pt 6

notified LR 19 August 2016

s 1, s 2 commenced 19 August 2016 (LA s 75 (1))

pt 6 commenced 20 August 2016 (s 2 (1))

[Construction Occupations (Licensing) Amendment Regulation 2016 (No 1)](http://www.legislation.act.gov.au/sl/2016-36/default.asp) SL2016-36

notified LR 22 December 2016

s 1, s 2 commenced 22 December 2016 (LA s 75 (1))

remainder commenced 23 December 2016 (s 2)

[Statute Law Amendment Act 2017](http://www.legislation.act.gov.au/a/2017-4/default.asp) A2017-4 sch 3 pt 3.8

notified LR 23 February 2017

s 1, s 2 commenced 23 February 2017 (LA s 75 (1))

sch 3 pt 3.8 commenced 9 March 2017 (s 2)

[Construction Occupations (Licensing) Amendment Regulation 2017 (No 1)](http://www.legislation.act.gov.au/sl/2017-33/default.asp) SL2017-33

notified LR 23 November 2017

s 1, s 2 commenced 23 November 2017 (LA s 75 (1))

remainder commenced 1 December 2017 (s 2)

[Construction Occupations (Licensing) Amendment Regulation 2019 (No 1)](http://www.legislation.act.gov.au/sl/2019-4/default.asp) SL2019-4

notified LR 21 February 2019

s 1, s 2 commenced 21 February 2019 (LA s 75 (1))

remainder commenced 22 February 2019 (s 2)

[Crimes (Disrupting Criminal Gangs) Legislation Amendment Act 2019](http://www.legislation.act.gov.au/a/2019-43/default.asp) A2019-43 pt 3

notified LR 6 December 2019

s 1, s 2 commenced 6 December 2019 (LA s 75 (1))

pt 3 commenced 6 June 2020 (s 2 (2) and LA s 79))

[Building and Construction Legislation Amendment Act 2019](http://www.legislation.act.gov.au/a/2019-48)
A2019-48 pt 6

notified LR 9 December 2019

s 1, s 2 commenced 9 December 2019 (LA s 75 (1))

pt 6 commenced 10 December 2019 (s 2 (1))

4 Amendment history

Name of regulation

s 1 am R3 LA

Work in construction occupation

pt 1A hdg ins [SL2015‑14](http://www.legislation.act.gov.au/sl/2015-14) s 17

Construction occupation of builder—excluded work—Act, s 6 (3) (b)

s 4A ins [SL2015‑14](http://www.legislation.act.gov.au/sl/2015-14) s 17

Licence applications—Act, s 17 (3)

s 5 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.30, amdt 1.31; [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.34; [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) amdt 3.25; [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 36; [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 27; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) ss 53-56; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 20; pars renum R31 LA; [A2015‑45](http://www.legislation.act.gov.au/a/2015-45) amdt 1.2; [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 80

Information required on licence—Act, s 23 (2)

s 6 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.32

Term of licences generally—Act, s 24

s 7 am [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 57; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 21; [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) s 8; pars renum R32

Term of licence for building assessors, building surveyors, plumbing plan certifiers and works assessors—Act, s 24

s 8 hdg sub [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 37; [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 28; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 22

s 8 sub [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.35

 am [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 38; [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 29; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 58; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 23; pars renum R31 LA

Particulars in register

s 9 am [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.36; [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.122; [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 39; [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 30; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) ss 59-61; pars renum R25 LA; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 24; pars renum R31 LA

Not eligible because of criminal activity

s 11A ins [A2019-43](http://www.legislation.act.gov.au/a/2019-43/) s 8

Eligibility for licence—suitability and financial requirements—Act, s 18 and s 24A

s 13 hdg sub [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) s 13

s 13 am [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) amdt 3.47; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 62, s 63; ss renum R25 LA

 sub [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 81

 am [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) s 5, s 6; ss renum R41 LA

Skill assessment of individuals

s 14 am [A2007‑12](http://www.legislation.act.gov.au/a/2007-12) amdt 1.9; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 64; [A2014‑48](http://www.legislation.act.gov.au/a/2014-48) amdt 1.9; [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) ss 7-9

Notice of skill assessment

s 14A ins [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) s 10

Corporations and partnerships eligible for some occupations

s 15 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.33; [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.37; [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) s 4; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 25; pars renum R31 LA

Eligibility to be asbestos removalist

s 15A ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.38

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 26

Eligibility to be owner-builder

s 16 sub [SL2016‑36](http://www.legislation.act.gov.au/sl/2016-36/default.asp) s 4

Eligibility to be asbestos assessor

s 16A ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.39

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 27

Eligibility to be building assessor

s 16B ins [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 31

Eligibility to be building surveyor

s 17 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.34; [A2006‑15](http://www.legislation.act.gov.au/a/2006-15) amdt 1.23

 sub [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.39

 am [SL2006‑52](http://www.legislation.act.gov.au/sl/2006-52) ss 4-6

Eligibility to be plumbing plan certifier

s 18 am [A2006‑15](http://www.legislation.act.gov.au/a/2006-15) amdt 1.23

Eligibility to be works assessor

s 18A ins [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 40

Licence renewal

div 4.1A hdg ins [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) s 11

Requirement to undertake assessment

s 18B ins [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) s 11

Eligibility to be nominee—Act, s 28 (6)

s 19 hdg sub [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 82

s 19 am [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 65, s 66; [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 83

Comply with code of practice

s 21A ins [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 32

 am [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 84

Corporate licences

s 22 am [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 85, s 86

Partnership licences

s 23 am [A2016‑44](http://www.legislation.act.gov.au/a/2016-44/default.asp) s 87, s 88

Individual licences

s 24 am [A2010‑18](http://www.legislation.act.gov.au/a/2010-18) amdt 3.2

Certain building surveyors

s 28 am [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 4

Endorsements on licences

div 5.2 hdg sub [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 4

Return of licence

s 29 reloc and renum as s 32A

Endorsing builders licences for building work—Act, s 22

s 30 hdg sub [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.35

s 30 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.36

Endorsing building assessors licences for use of software—Act, s 22

s 31A ins [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 33

Endorsing licences for gas appliance work—Act, s 22

s 31B ins [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) s 9

Endorsing electricians licences for work on interval meters—Act, s 22

s 31C ins [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 6

Considerations for endorsing licences

s 32 hdg sub [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 7

s 32 sub [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.20

 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.123; [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 34; [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) s 10; [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 8

Returning and replacing licences and unlicensed services

div 5.3 hdg sub [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 9

Return of licence

s 32A (prev s 29) reloc and renum as s 32A [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 5

Matters that may be published—Act, s 64 (1)

s 34 om [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.124

Services that may be provided without licence

s 35 am [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.40, amdt 1.41; ss renum R8 LA; [A2007‑12](http://www.legislation.act.gov.au/a/2007-12) amdt 1.10; [A2013‑15](http://www.legislation.act.gov.au/a/2013-15) s 8; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 67, s 68; ss renum R27 LA; [A2014‑48](http://www.legislation.act.gov.au/a/2014-48) amdts 1.10-1.14; [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 28, s 29; ss renum R31 LA; [A2015‑12](http://www.legislation.act.gov.au/a/2015-12) s 37

Classes of asbestos assessor

s 36A ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.42

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 30

Classes of asbestos removalist

s 36B ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.42

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 31

Classes of building assessor

s 37B ins [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 35

Notification and review of decisions

pt 6A hdg ins [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.125

Classes of gas appliance worker

s 41A ins [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) s 11

Reviewable decisions—Act, s 123A, def reviewable decision

s 42A ins [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.125

Right of review and notice—Act, s 123B and s 123C (a)

s 42B ins [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.125

Short descriptions and demerit points

s 43 sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.126

 am [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 69, s 70

Information in report to Minister—Act, s 112

s 44 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.127

Requirements for notices requesting skill assessment of licensees—Act, s 55A

s 45 pars renum R3 LA

 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.37

 om [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.128

 ins [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 71

Meaning of licensee and occupational discipline—s 9 (1) (i)

s 48 sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.129

Modification of Act, s 149—Act, s 152

s 52 ins [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 5

 om R4 LA

 ins [SL2005‑18](http://www.legislation.act.gov.au/sl/2005-18) s 4

 exp 1 September 2005 (s 52)

Modification of Act, pt 13, s 137 (2)—Act, s 152

s 53 ins [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 5

 om [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.38

Modification of Act, pt 13—Act, s 152

s 54 ins [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 5

 om [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.38

Modification of Act, dictionary, definition of AS 3500—Act, s 152

s 55 ins [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 5

 om [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.38

Transitional—Construction Occupations (Licensing) Amendment Regulation 2017 (No 1)

pt 9 hdg ins [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 10

 exp 28 February 2018 (s 58)

Meaning of authorised licensee—pt 9

s 56 ins [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 10

 exp 28 February 2018 (s 58)

Authorisations under s 31C for undecided applications

s 57 ins [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 10

 exp 28 February 2018 (s 58)

Expiry—pt 9

s 58 ins [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 10

 exp 28 February 2018 (s 58)

Asbestos assessor

sch 1 pt 1.1A renum as sch 1 pt 1.1

Asbestos removalist

sch 1 pt 1.1B renum as sch 1 pt 1.2

Asbestos assessor

sch 1 pt 1.1 orig sch 1 pt 1.1 renum as sch 1 pt 1.3

 (prev sch 1 pt 1.1A) ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.43

 renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

 am [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) amdt 3.48

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 32

Asbestos removalist

sch 1 pt 1.2 orig sch 1 pt 1.2 renum as sch 1 pt 1.4

 (prev sch 1 pt 1.1B) ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.43

 renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 33

Builder

sch 1 pt 1.3 orig sch 1 pt 1.3 renum as sch 1 pt 1.5

 (prev sch 1 pt 1.1) am [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 6

 renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

 am [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.44; [A2015‑12](http://www.legislation.act.gov.au/a/2015-12) s 38, s 39

Building assessor

sch 1 pt 1.3A ins [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 36

Building surveyor

sch 1 pt 1.4 orig sch 1 pt 1.4 renum as sch 1 pt 1.6

 (prev sch 1 pt 1.2) renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

Drainer

sch 1 pt 1.5 orig sch 1 pt 1.5 renum as sch 1 pt 1.7

 (prev sch 1 pt 1.3) renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

Electrician

sch 1 pt 1.6 orig sch 1 pt 1.6 renum as sch 1 pt 1.8

 (prev sch 1 pt 1.4) am [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 7

 renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

 am [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 11

Electrician

sch 1 pt 1.7 (prev sch 1 pt 1.5) renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

Gas appliance worker

sch 1 pt 1.7A ins [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) s 12

Plumbers

sch 1 pt 1.8 (prev sch 1 pt 1.6) am [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 8, s 9

 renum R8 LA (see [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.45)

 am [A2006‑15](http://www.legislation.act.gov.au/a/2006-15) amdt 1.21; items renum R9 (see [A2006‑15](http://www.legislation.act.gov.au/a/2006-15) amdt 1.22); [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 72

Works assessors

sch 1 pt 1.9 ins [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 41

 sub [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) s 42

Demerit grounds for occupational discipline

sch 2 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.130

Builders licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.1 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.131

sch 2 pt 2.1 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.132; [A2011‑54](http://www.legislation.act.gov.au/a/2011-54) s 8; items renum R23 LA; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) amdt 1.1; [A2015‑12](http://www.legislation.act.gov.au/a/2015-12) s 40; items renum R34 LA

Building surveyors licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.2 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.133

sch 2 pt 2.2 am [A2007‑26](http://www.legislation.act.gov.au/a/2007-26) amdts 1.96-1.102; [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.134; [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) s 5

Drainers licence demerit disciplinary grounds under Act, s 54 (1) (a)

sch 2 pt 2.3 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.135

sch 2 pt 2.3 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdts 1.39-1.42; [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.136; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) amdts 1.2-1.4

Electricians licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.4 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.137

sch 2 pt 2.4 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.138

Gasfitters licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.5 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.139

sch 2 pt 2.5 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.140; [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) ss 13-15

Plumbers licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.6 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.141

sch 2 pt 2.6 am [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdts 1.43-1.49; [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.142; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) amdts 1.5-1.11

Plumbing plan certifiers licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.7 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.143

sch 2 pt 2.7 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.144; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) amdt 1.12

Works assessor licence demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.7A ins [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) s 6

All licences demerit grounds for occupational discipline—Act, s 55 (1) (a)

sch 2 pt 2.8 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.145

sch 2 pt 2.8 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.146

Licence demerit grounds for occupational discipline under Act, s 55 (1) (other than par (a))

sch 3 hdg sub [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.147

sch 3 am [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.148

Reviewable decisions

sch 4 ins [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) amdt 1.149

 mod [SL2009‑2](http://www.legislation.act.gov.au/sl/2009-2) mod 2.1

 mod lapsed 17 December 2009 ([SL2009‑2](http://www.legislation.act.gov.au/sl/2009-2) mod 2.1 om by [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) amdt 1.4)

 am [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) amdt 1.13; items renum R15 LA; [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) s 37; items renum R20 LA; [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) amdt 3.49; items renum R22 LA; [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) s 73, s 74; items renum R25 LA; [A2014‑2](http://www.legislation.act.gov.au/a/2014-2) s 21; [A2014‑10](http://www.legislation.act.gov.au/a/2014-10) s 24; items renum R29 LA; [A2014‑38](http://www.legislation.act.gov.au/a/2014-38) s 16; items renum R32; [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 12; items renum R39 LA; [A2019‑48](http://www.legislation.act.gov.au/a/2019-48/) ss 57-59; items renum R42 LA

Dictionary

dict am [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) amdt 3.26; [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) s 7, s 8; [A2017‑4](http://www.legislation.act.gov.au/a/2017-4/default.asp) amdt 3.46

 def bonded asbestos ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.46

 sub [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) amdt 3.50

 om [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) s 34

 def electrical installation ins [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.50

 def fire sprinkler work sub [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) s 10

 def friable asbestos ins [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) amdt 1.46

 om [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) amdt 3.51

 def incidental electrical work sub [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) amdt 1.51

 am [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 13

 def interval metering work ins [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) s 14

 def storey ins [A2017‑4](http://www.legislation.act.gov.au/a/2017-4/default.asp) amdt 3.47

 def unit title assessment report ins [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) s 9

5 Earlier republications

Some earlier republications were not numbered. The number in column 1 refers to the publication order.

Since 12 September 2001 every authorised republication has been published in electronic pdf format on the ACT legislation register. A selection of authorised republications have also been published in printed format. These republications are marked with an asterisk (\*) in column 1. Electronic and printed versions of an authorised republication are identical.

| Republication No and date | Effective | Last amendment made by | Republication for |
| --- | --- | --- | --- |
| R11 Sept 2004 | 1 Sept 2004–8 Sept 2004 | not amended | new regulation |
| R29 Sept 2004 | 9 Sept 2004–2 Nov 2004 | [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) | amendments by [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) |
| R33 Nov 2004 | 3 Nov 2004–9 Mar 2005 | [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) | editorial amendments under [Legislation Act](http://www.legislation.act.gov.au/a/2001-14) |
| R410 Mar 2005 | 10 Mar 2005–26 July 2005 | [SL2004‑44](http://www.legislation.act.gov.au/sl/2004-44) | commenced expiry |
| R527 July 2005 | 27 July 2005–26 Aug 2005 | [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) | amendments by [A2005‑34](http://www.legislation.act.gov.au/a/2005-34) |
| R627 Aug 2005 | 27 Aug 2005–1 Sept 2005 | [SL2005‑18](http://www.legislation.act.gov.au/sl/2005-18) | amendments by [SL2005‑18](http://www.legislation.act.gov.au/sl/2005-18) |
| R72 Sept 2005 | 2 Sept 2005–30 June 2006 | [SL2005‑18](http://www.legislation.act.gov.au/sl/2005-18) | commenced expiry |
| R81 July 2006 | 1 July 2006–31 Aug 2006 | [A2006‑24](http://www.legislation.act.gov.au/a/2006-24) | amendments by [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) as amended by [A2006‑24](http://www.legislation.act.gov.au/a/2006-24) |
| R91 Sept 2006 | 1 Sept 2006–17 Nov 2006 | [A2006‑24](http://www.legislation.act.gov.au/a/2006-24) | amendments by [A2006‑15](http://www.legislation.act.gov.au/a/2006-15) |
| R1018 Nov 2006 | 18 Nov 2006–4 Dec 2006 | [A2006‑24](http://www.legislation.act.gov.au/a/2006-24) | amendments by [A2006‑16](http://www.legislation.act.gov.au/a/2006-16) |
| R115 Dec 2006 | 5 Dec 2006–30 June 2007 | [SL2006‑52](http://www.legislation.act.gov.au/sl/2006-52) | amendments by [SL2006‑52](http://www.legislation.act.gov.au/sl/2006-52) |
| R121 July 2007 | 1 July 2007–30 Mar 2008 | [A2007‑12](http://www.legislation.act.gov.au/a/2007-12) | amendments by [A2007‑12](http://www.legislation.act.gov.au/a/2007-12) |
| R1331 Mar 2008 | 31 Mar 2008–1 Feb 2009 | [A2007‑26](http://www.legislation.act.gov.au/a/2007-26) | amendments by [A2007‑26](http://www.legislation.act.gov.au/a/2007-26) |
| R14\*2 Feb 2009 | 2 Feb 2009–16 Dec 2009 | [SL2009‑2](http://www.legislation.act.gov.au/sl/2009-2) | amendments by [A2008‑36](http://www.legislation.act.gov.au/a/2008-36) and modifications by [SL2009‑1](http://www.legislation.act.gov.au/sl/2009-1) |
| R1517 Dec 2009 | 17 Dec 2009–2 June 2010 | [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) | amendments by [A2009‑49](http://www.legislation.act.gov.au/a/2009-49) |
| R163 June 2010 | 3 June 2010–2 Sept 2010 | [A2010‑18](http://www.legislation.act.gov.au/a/2010-18) | amendments by [A2010‑18](http://www.legislation.act.gov.au/a/2010-18) |
| R173 Sept 2010 | 3 Sept 2010–7 Sept 2010 | [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) | amendments by [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) |
| R188 Sept 2010 | 8 Sept 2010–17 Feb 2011 | [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) | amendments by [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) |
| R1918 Feb 2011 | 18 Feb 2011–28 Feb 2011 | [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) | amendments by [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) |
| R201 Mar 2011 | 1 Mar 2011–7 July 2011 | [SL2010‑36](http://www.legislation.act.gov.au/sl/2010-36) | amendments by [A2010‑32](http://www.legislation.act.gov.au/a/2010-32) |
| R218 July 2011 | 8 July 2011–11 Dec 2011 | [SL2011‑36](http://www.legislation.act.gov.au/sl/2011-36) | amendments by [A2010‑24](http://www.legislation.act.gov.au/a/2010-24) |
| R2212 Dec 2011 | 12 Dec 2011–30 June 2012 | [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) | amendments by [A2011‑52](http://www.legislation.act.gov.au/a/2011-52) |
| R231 July 2012 | 1 July 2012–21 May 2013 | [A2011‑54](http://www.legislation.act.gov.au/a/2011-54) | amendments by [A2011‑54](http://www.legislation.act.gov.au/a/2011-54) |
| R2422 May 2013 | 22 May 2013–26 Aug 2013 | [A2013‑15](http://www.legislation.act.gov.au/a/2013-15) | amendments by [A2013‑15](http://www.legislation.act.gov.au/a/2013-15) |
| R2527 Aug 2013 | 27 Aug 2013–31 Aug 2013 | [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) | amendments by [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) |
| R261 Sept 2013 | 1 Sept 2013–30 Nov 2013 | [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) | amendments by [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) |
| R271 Dec 2013 | 1 Dec 2013–5 Mar 2014 | [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) | amendments by [A2013‑31](http://www.legislation.act.gov.au/a/2013-31) |
| R286 Mar 2014 | 6 Mar 2014–17 Apr 2014 | [A2014-2](http://www.legislation.act.gov.au/a/2014-2/) | amendments by [A2014-2](http://www.legislation.act.gov.au/a/2014-2/) |
| R2918 Apr 2014 | 18 Apr 2014–19 Nov 2014 | [A2014-10](http://www.legislation.act.gov.au/a/2014-10/default.asp) | amendments by [A2014-10](http://www.legislation.act.gov.au/a/2014-10/default.asp) |
| R3020 Nov 2014 | 20 Nov 2014–31 Dec 2014 | [A2014-48](http://www.legislation.act.gov.au/a/2014-48/default.asp) | amendments by [A2014-48](http://www.legislation.act.gov.au/a/2014-48/default.asp) |
| R311 Jan 2015 | 1 Jan 2015–29 Mar 2015 | [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) | amendments by [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) |
| R3230 Mar 2015 | 30 Mar 2015–4 May 2015 | [A2014‑53](http://www.legislation.act.gov.au/a/2014-53) | amendments by [A2014-38](http://www.legislation.act.gov.au/a/2014-38/default.asp) |
| R335 May 2015 | 5 May 2015–20 May 2015 | [SL2015-14](http://www.legislation.act.gov.au/sl/2015-14/default.asp) | amendments by [SL2015-14](http://www.legislation.act.gov.au/sl/2015-14/default.asp) |
| R3421 May 2015 | 21 May 2015–6 Nov 2015 | [A2015‑12](http://www.legislation.act.gov.au/a/2015-12) | amendments by [A2015‑12](http://www.legislation.act.gov.au/a/2015-12) |
| R357 Nov 2015 | 7 Nov 2015–19 Aug 2016 | [A2015‑45](http://www.legislation.act.gov.au/a/2015-45) | amendments by [A2015‑45](http://www.legislation.act.gov.au/a/2015-45) |
| R3620 Aug 2016 | 20 Aug 2016–22 Dec 2016 | [A2016‑44](http://www.legislation.act.gov.au/a/2016-44) | amendments by [A2016‑44](http://www.legislation.act.gov.au/a/2016-44) |
| R3723 Dec 2016 | 23 Dec 2016–8 Mar 2017 | [SL2016-36](http://www.legislation.act.gov.au/sl/2016-36/default.asp) | amendments by [SL2016-36](http://www.legislation.act.gov.au/sl/2016-36/default.asp) |
| R389 Mar 2017 | 9 Mar 2017–30 Nov 2017 | [A2017‑4](http://www.legislation.act.gov.au/a/2017-4/default.asp) | amendments by [A2017‑4](http://www.legislation.act.gov.au/a/2017-4/default.asp) |
| R391 Dec 2017 | 1 Dec 2017–28 Feb 2018 | [SL2017-33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) | amendments by [SL2017-33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) |
| R401 Mar 2018 | 1 Mar 2018–21 Feb 2019 | [SL2017‑33](http://www.legislation.act.gov.au/sl/2017-33/default.asp) | expiry of transitional provisions (pt 9) |
| R4122 Feb 2019 | 22 Feb 2019–9 Dec 2019 | [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) | amendments by [SL2019‑4](http://www.legislation.act.gov.au/sl/2019-4/default.asp) |
| R4210 Dec 2019 | 10 Dec 2019–5 June 2020 | [A2019-48](http://www.legislation.act.gov.au/sl/2019-48) | amendments by [A2019-48](http://www.legislation.act.gov.au/sl/2019-48) |

6 Expired transitional or validating provisions

This Act may be affected by transitional or validating provisions that have expired. The expiry does not affect any continuing operation of the provisions (see [Legislation Act 2001](http://www.legislation.act.gov.au/a/2001-14), s 88 (1)).

Expired provisions are removed from the republished law when the expiry takes effect and are listed in the amendment history using the abbreviation ‘exp’ followed by the date of the expiry.

To find the expired provisions see the version of this Act before the expiry took effect. The ACT legislation register has point-in-time versions of this Act.

© Australian Capital Territory 2020