Australian Capital Territory
Radiation Council Notification of Particulars of Decisions 2003 (No 4)*
Notifiable instrument NI2003-379
made under the
Radiation Act 1983, s 73 (1) – Notification of decisions

I notify the following particulars of decisions of the Radiation Council as stated in the schedule.

Code of Practice under s25B(1) of the Administrative Appeals Tribunal Act 1989
Review by the ACT Administrative Appeals Tribunal – Any persons whose interests are adversely affected by these decisions may apply to the Tribunal to have the decision reviewed.
Reasons – If you wish to obtain a statement of reasons to explain why the decision was made you should write within 28 days of this notice to the
ACT Radiation Council, GPO Box 825, Canberra ACT 2601
Location of the ACT Administrative Appeals Tribunal – The Tribunal is located on the 4th Floor, Canberra House, 40 Marcus Clarke Street, Canberra City.
Postal Address : GPO Box 9955, Canberra 2601. Telephone : 6243 4611. Facsimile : 6247 0962. Document Exchange : DX 5727
Powers of the ACT Administrative Appeals Tribunal – The Tribunal is an independent body. The Tribunal can agree with, change or reject to the original decision, substitute its own decision or send the matter back to the decision maker for reconsideration in accordance with Tribunal recommendations.
How to apply to the ACT Administrative Appeals Tribunal – Simply write within 28 days explaining the details to the decision and the reasons for asking for a review.
Cost – To lodge an application there is a fee. You may apply to have the fee waived on the grounds of hardship. No fee is payable if you are receiving legal assistance.
Access to documents – You may apply for access to any documents relevant to this decision under the ACT Freedom of Information Act 1989. For more information contact the Freedom of Information Officer, Department of Health and Community Care, on phone 620 51340.

Anthony Agostino
Chairperson
Radiation Council
11 September 2003

SCHEDULE

REGISTRATION of an IRRADIATING APPARATUS (s 73(1)(e))

Owner	Phenomix Australia Pty Ltd
Description	Ge Lunar model PIXImus2 DEXA x-ray machine with Spellman X2608 tube 	S/Nos 51595, C34171-1218.   80kVp, 0.4mA
 Location	Room 12, Medical Genome Centre
 	John Curtin School of Mededical Research
	ANU Building124 
	Mills Road, Acton
Conditions	X-ray examinations of laboratory rodents. 

Owner	Dr Sherry Guo & Dr Andrew Chang
Description	Sirona Heliodent DS dental x-ray machine S/nos 17697,19307 with Heliodent
	SR 60/70/L tube S/Nos 124969, 304784.   60kVp  7mA
Location	Dickson Dental TLC
 	5/30-36 Woolley Street, Dickson
Conditions	Diagnostic dental examinations.

Owner	ACT X-ray Services
Description	Norland bone mineral densitometer (BMD) model 433A025 with Toshiba DO-51, 	391A168 tube S/Nos 1728, 3252, 3595.   100kVp, 1.3mA.
Location	BMD Room (Nuclear Medicine)
 	Calvary Clinic, Bruce
Conditions	Bone density analysis.

Owner	ACT X-ray Services
Description	Norland bone mineral densitometer (BMD) model 433A025 wth Toshiba DO-51, 	391A168 tube S/Nos 0000, 0000.   100kVp, 1.3mA.
Location	BMD Room
 	Brindabella Specialist Centre, Garran
Conditions	Bone density analysis.

Owner	Stephen Huang
Description	Gendex 765DC dental x-ray machine with Gendex GX70 10DC tube.
  	S/No 15159.   65kVp, 7.5mA
Location	Suite 15, Corinna Chambers
 	36 Corinna Street
 	Woden
Conditions	Diagnostic dental examinations.

APPROVAL for an ALTERATION in the LOCATION, INSTALLATION or SHIELDING of a REGISTERED IRRADIATING APPARATUS (s 73(1)(g))

Reason	Change of owner/Change of location
Owner	Dr Anthony Bubear
Description	Dental x-ray unit Siemens Dentotime S/Nos 01091 S02, 01831 S02.   70kVp, 7mA.
Location	Room 4
 	Level 1, City Walk Arcade
 	Canberra City
Conditions	Diagnostic dental examinations. 

Reason	Change of owner/Change of location
Owner	Dr Anthony Bubear
Description	Dental x-ray unit Siemens Dentotime S/Nos 1098 S02, 01820 S02.   70kVp, 7mA
Location	Room 3
 	Level 1, City Walk Arcade
 	Canberra City
Conditions	Diagnostic dental examinations.

Reason	Change of business name.
Owner	Preventive Dental Care Pty Ltd
Description	Siemens model  1448 237 D3195 dental x-ray machine with Heliodent MD tube 	S/Nos 57038, 25452, 522885 S02.   70/60 kVp, 7mA.
Location	Hygienist's Room (4)
 	Deakin Court
 	Hopetoun Circuit, Deakin
Conditions	Diagnostic dental examinations.

Reason	Change of business name.
Owner	Preventive Dental Care Pty Ltd
Description	Glem Image.X System, X-Mind dental x-ray machine with DG-073B tube 
	S/Nos 00006325, 5616 07465094.   70kVp, 8mA
Location	Room 3
 	Suite 6, Deakin Court
 	Hopetoun Circuit, Deakin
Conditions	Diagnostic dental examinations.

Reason	Change of owner/Change of location
Owner	Preventive Dental Care Pty Ltd
Description	Dental x-ray unit Belmont Acuray model  071A 
 	S/Nos 404256, D-88/T4049.   70kVp, 10mA 
Location	Room 1
 	Suite 6, Deakin Court
 	Hopetoun Circuit, Deakin
Conditions	Diagnostic dental examinations.

GRANTING of a DISPOSAL PERMIT (s 73(1)(k))

Permit Holder	Pamela Bleakley
Licensed Premises	John Curtin School of Medical Research
 	Australian National University

Radionuclide contained in the material for
Disposal
	Physical and chemical form of the material	Annual quantity of
material for which
approval is granted	Disposal method
approved	
Calcium-45 	Water soluble 	185 	.00	MBq	Sewer 	
Calcium-45 	Scintillation fluid 	740	.00	MBq	Burial-Mugga Lane Tip 	
Carbon-14   	Liquid waste 	37 	.00	MBq	Burial-Mugga Lane Tip 	
Carbon-14   	Water soluble 	37 	.00	MBq	Sewer 	
Carbon-14   	Scintillation fluid 	300 	.00	MBq	Incineration-Mitchell 	
Chromium-51 	Contaminated waste 	7	.40	GBq	Burial-Mugga Lane Tip 	
Chromium-51 	Water soluble 	14	.80	GBq	Sewer 	
Hydrogen-3 	Liquid waste 	3	.70	GBq	Burial-Mugga Lane Tip 	
Hydrogen-3 	Water soluble 	14	.30	GBq	Sewer 	
Hydrogen-3 	Scintillation fluid 	37	.00	GBq	Incineration-Mitchell 	
Iodine-125 	Liquid waste 	925	.00	MBq	Burial-Mugga Lane Tip 	
Iodine-125 	Water soluble 	925 	.00	MBq	Sewer 	
Iodine-131 	Liquid waste 	925 	.00	MBq	Burial-Mugga Lane Tip 	
Iodine-131 	Water soluble 	925 	.00	MBq	Sewer 	
Phosphorus-32 	Contaminated waste 	2 	.00	GBq	Burial-Mugga Lane Tip 	
Phosphorus-32 	Water soluble 	2 	.00	GBq	Sewer	
Phosphorus-33 	Water soluble 	1	.00	 GBq	Sewer 	
Phosphorus-33 	Contaminated waste 	100 	.00	MBq	Burial-Mugga Lane Tip 	
Sulphur-35 	Liquid waste 	925 	.00	MBq	Burial-Mugga Lane Tip 	
Sulphur-35 	Water soluble 	925 	.00	MBq	Sewer 	

Permit Holder	Helen Muirhead 
Licensed Premises	Research School of Biological Sciences
 	Biology Place 
 	ANU

Radionuclide contained in the material for
Disposal	Physical and chemical form of the material	Annual quantity of
material for which
approval is granted	Disposal method
approved	
Carbon-14   	Scintillation fluid 	185	.00	MBq	Burial-Mugga Lane Tip 	
Sulphur-35 	Solid waste 	50	.00	MBq	Burial-Mugga Lane Tip 	
Sulphur-35 	Water soluble 	500	.00	MBq	Sewer 	
Phosphorus-32 	Water soluble 	2000	.00	MBq	Sewer 	
Phosphorus-32 	Solid waste 	200	.00	MBq	Burial-Mugga Lane Tip 	
Phosphorus-33 	Solid waste 	50	.00	MBq	Burial-Mugga Lane Tip 	
Phosphorus-33 	Water soluble 	100	.00	MBq	Sewer 	
Iodine-125 	Solid waste 	20	.00	MBq	Burial-Mugga Lane Tip 	
Hydrogen-3 	Solid waste 	20	.00	MBq	Burial-Mugga Lane Tip 	
Hydrogen-3 	Water soluble 	200	.00	MBq	Sewer 	
Hydrogen-3 	Scintillation fluid 	20	.00	MBq	Burial-Mugga Lane Tip 	
Carbon-14   	Solid waste 	185	.00	MBq	Burial-Mugga Lane Tip 	
Carbon-14   	Water soluble 	800	.00	MBq	Sewer	
GRANTING OF LICENCE (paragraph 73(1)(b))

Licensee	Conan Liu
Address	Room 12, Medical Genome Centre
 	John Curtin School of Medical Research
 	ANU Building 124, 
	Mills Road, Acton
Authorised Activities:  Own or have in possession, use, cause or permit to use, irradiating apparatus.
Conditions	X-ray examinations of laboratory rodents.