Australian Capital Territory
Radiation (Council Decision) Notice 2006 (No 8)
Notifiable Instrument NI2006–413
made under the
Radiation Act 1983, s 73 (1) Notification of decisions

1	Name of instrument

This instrument is the Radiation (Council Decision) Notice 2006 (No 8).

2	Commencement

This instrument commences on the day after notification.

3	Notice of Decisions

The particulars of decisions of the Radiation Council are as stated in the schedule.

4	Right of Review

Any persons whose interests are adversely affected by these decisions may apply to the ACT Administrative Appeals Tribunal to have the decision reviewed.  Write within 28 days explaining the details of the decision and the reasons for asking for a review.  To lodge an application there is a fee.  You may apply to have the fee waived on the grounds of hardship.  No fee is payable if you are receiving legal assistance.  The Tribunal is located on the 4th Floor, Canberra House, 40 Marcus Clarke Street, Canberra City, GPO Box 9955, Canberra  ACT  2601, Telephone (02) 6243 4611, Facsimile (02) 6247 0962, Document Exchange DX 5727.  The Tribunal is an independent body.  The Tribunal can agree with, change or reject to the original decision, substitute its own decision or send the matter back to the decision maker for reconsideration in accordance with Tribunal recommendations.

5	Reasons

If you wish to obtain a statement of reasons to explain why the decision was made you should write within 28 days of this notice to the ACT Radiation Council, GPO Box 825, Canberra  ACT  2601.

6	Access to documents

You may apply for access to any documents relevant to this decision under the ACT Freedom of Information Act 1989.  For more information contact the Freedom of Information Officer, ACT Health, telephone (02) 620 51340.

Professor Leslie Keith Fifield
Deputy Chairperson Radiation Council
8 November 2006

SCHEDULE

GRANTING of a LICENCE (s 73(1)(c))
With conditions
Licensee		David Keith Oliver
Address		ACT Wide
Authorised Activities:	use, irradiating apparatus
Conditions		Use of irradiating apparatus is limited to servicing, maintenance and installation.
Council must be provided on a quarterly basis with a list of all servicing, maintenance and installations conducted by the licensee within the ACT.
 		Nil returns are also required.

Licensee		Eugene Wong
Address		ACT Wide
Authorised Activities:	use, irradiating apparatus
Conditions		Testing of x-ray apparatus within the ACT.
 		Use of irradiating apparatus is limited to testing.
 		Council must be provided on a quarterly basis with a list of all testing conducted by 
		the licensee within the ACT.
 		Nil returns are also required.

REGISTRATION of an IRRADIATING APPARATUS (s 73(1)(e))

Owner		Dr Carmelo Bonanno
Description		Sirona D3352 / 5884999 S/n: 03282. 
 		Tube 1117340V1010 S/n: 112202
 		90 kVp, 12mA.
Location		Suite 1 Gadal Chambers
 		48 Corinna Street
 		WODEN ACT 2606
Conditions		Diagnostic dental radiography.

Owner		Dr Samuel L Whittle
Description		Sirona Orthophos XG Plus S/n: 41389.
 		Tube Housing Sirona 5884999D3352. S/n: 04442.
 		Tube Insert Siemens SR90/FN 15 S/n: 7111218.
 		90kVp, mA12.
Location		X-ray/Utility Room
 		1st Floor, Gadal Chambers
 		48 Corinna Street
 		WODEN ACT 2606
Conditions		Diagnostic dental radiography.

Owner		Preventive Dental Care Pty Ltd
Description		Trophy CCX. S/N: C2830016.
 		X-Ray tube housing Trophy IRIX70. S/N:XAMG0624.
 		70kVp, 8mA
Location		Room 3 Suite 6 Deakin Court
 		Hopetoun Circuit
 		DEAKIN ACT 2600
Conditions		Diagnostic dental radiography.

Owner		ACT X-Ray Services
Description		Toshiba, Aquilion 16. S/n: 6398-6-T/H63968.
 		Tube Housing - Toshiba CGGT-018A. S/n: 1AD0683237..
 		135kVp, 400mA.
Location		CT Room
 		Ground Floor
 		John James Clinical Services Building
 		175 Strickland Crescent DEAKIN
Conditions		Diagnostic Radiography

Owner		John Aspley-Davis
Description		Eureka Vet APR. S/n: 6C019.
 		Tube housing Toshiba, E7242X. S/n: 6B019.
 		150kVp, 400mA.
Location		Radiography Room 
 		Kippax Veterinary Hospital
 		82 Hardwick Crescent
 		HOLT 
Conditions		Veterinary radiography.

Owner		Medical Imaging TCH
Description		Siemens Axiom Artis MP S/n:2756.  Acc No:21560.
 		X-ray tube housing: Siemens 05662106H S/n: 3123H.
 		130 kVp, 4 mA.
 		Fixed unit. Capable of continuous exposure.
Location		Room 3, 2nd Floor Building 12
 		Medical Imaging Department 
 		The Canberra Hospital
 		GARRAN ACT
Conditions		Diagnostic Radiography.

Owner		ACT X-ray Services Pty Ltd
Description		Toshiba Aquillion S/n: 2AA03683607.
 		X-ray tube housing: Toshiba S/n: 1AD0683230.
 		Tube insert: Toshiba TSX-101A. S/n: GCB0682677.
 		130kVp, 400mA.
Location		CT Room
 		Calvary Clinic
 		Mary Potter Circuit
 		BRUCE
Conditions		Diagnostic radiography

Owner		Ravindraraj DURASINGAM
Description		Gendex x-ray machine Model 765DC with Gendex GX 70/10DC tube housing, Serial Nos 15-1719969DP,   10-1719560DP
 		65kVp,  7mA
Location		Dental Surgery
 		Kambah Medical Centre
 		Jenke Circuit
 		KAMBAH   ACT   2902
Conditions		Diagnostic dental radiography.

Owner		Dr Carmelo Bonanno
Description		Sirona 4681263 (D3302) Sn. 44894. Tube 3343741 (V 1034) Sn. 507902.
 		60 kVp, 7 mA.
Location		Suite 1 Gadal Chambers
 		48 Corinna Street
 		WODEN ACT 2606
Conditions		Diagnostic dental radiography.

Owner		Preventive Dental Care P/L
Description		Soredex Minray S/N:i601016.
 		X-ray tube housing: Soredex INTH 1 S/N:2310.
 		Tube D-0711S S/N:4972
 		70kVp, 7mA.
Location		Room 2 Suite 6 Deakin Court
 		Hopetoun Circuit
 		DEAKIN ACT 2600
Conditions		Diagnostic dental radiography.

Owner		ACT X-Ray Services
Description		Philips Xpert FD20 Allura S/n: 55343.
 		Tube Housing Philips 989000085102, S/n: 14212M104443.
 		125 kVp, 1000 mA.
Location		Angiography & Daycare Suite
 		Canberra Imaging Group
 		John James Memorial Hospital
 		Strickland Crescent DEAKIN ACT
Conditions		Use of irradiating apparatus for diagnostic medical purposes.

Owner		Preventive Dental Care P/L
Description		Soredex Minray S/N:i600964.
 		Xray tube housing: Soredex INTH1. S/N:977.
 		Tube S/N: D-0711S
 		70kVp, mA7.
Location		Room 1, Suite 6 Deakin Court
 		Hopetoun Circuit
 		DEAKIN ACT 2600
Conditions		Diagnostic dental radiography

Owner		Preventive Dental Care Pty Ltd
Description		SIRONA XG 3 OPG S/N: 100126
 		X-ray tube housing. SIRONA 
 		60-90kVp and 3-16 mA.
Location		OPG Room Suite 6 Deakin Court
 		Hopetoun Circuit
 		DEAKIN ACT 2600
Conditions		Diagnostic dental radiography.
 	
Owner		Linh Nguyen
Description		Soredex SL - 4/PT-11 Cranex Excel D. K612638 DM.
 		Tube: Soredex PT-11. S/n: 1303899
 		81kVp, 6mA
Location		Surgery 3
 		Kambah Professional Centre
 		51 Jenke Circuit
 		KAMBAH ACT
Conditions		Diagnostic dental radiography.

Owner		ACT X-ray Services Pty Ltd
Description		Planmeca Proline XC with X-ray tube housing Planmeca EC/CC Proline XC.
 		S/nos: XC 427181, 6BO3002(tube), RTH 061708.
 		80 kVp, 12mA.
Location		OPG Room
 		Valley Diagnostic Centre
 		Grattan Court
 		ERINDALE
Conditions		Diagnostic radiograph

APPROVAL for an ALTERATION or MODIFICATION of a REGISTERED
IRRADIATING APPARATUS (s 73(1)(f))
Include “Reason”

Reason	Major component replacement.
Owner		Graeme Flett
Description		Sirona Heliodent DS S/n: 12881.
 		x-ray tube housing Sirona 4681263 D3302 S/n:28697
 		60kVp, 7mA.
Location		Room 2  Unit 3
 		Medical Centre
 		Blamey Place 
 		CAMPBELL
Conditions		Diagnostic dental radiography

Reason	Major component replacement.
Reason	Alteration in the location of the machine.
Owner		ACT X-ray Services Pty Ltd
Description		Toshiba Aquillion CT scanner S/n: A0592223
 		x-ray tube housing: Toshiba CGGT-041A. S/n: A0592004.
 		130 kVp, 400mA.
Location		CT Room
 		Canberra Imaging Group
 		Lakeview Square, 21 Belconnen Way
 		BELCONNEN ACT 2617
Conditions		Diagnostic radiography.

 
APPROVAL for an ALTERATION in the LOCATION, INSTALLATION or SHIELDING of a REGISTERED IRRADIATING APPARATUS (s 73(1)(g))

Reason			 	    Alteration in the location of the machine.
Owner		National Capital Diagnostic Imaging
Description		Diagnostic Fluoroscopy II / Radiography machine
 		Philips Optimus duo-diagnost
 		with ROT350 tube S/Nos 89000427, 6397150.
 		125kVp, 400mA
Location		Screening Room NCDI
 		Corinna Chambers
 		Corinna St,  WODEN
Conditions			   Diagnostic radiography.

Reason		Alteration in the location of the machine.
Owner		ACT X-Ray Services Pty Ltd
Description		Diagnostic CT scanner x-ray machine
 		Toshiba CXXG-008A/1A  
 		with Varian CXB-750C tube
 		S/Nos AO562194, 14490-OS    135kVp   400mA
Location		CT Room Valley Medical Centre
 		Grattan Court
 		ERINDALE ACT 
Conditions			   Diagnostic radiography.	

Reason	Alteration in the location of the machine.
Owner		ACT X-ray Services Pty Ltd
Description		Norland Excell 433a025 bone mineral densitometer. S/n: 8112
 		x-ray tube housing Toshiba 391A68, S/n:3251 
 		100kVp, 1.3mA
Location		BMD Room 1st Floor
 		Clinical Services Building
 		John James Memorial Hospital
 		DEAKIN ACT
Conditions			   Bone density analysis.