Australian Capital Territory
WATER RESTRICTION SCHEME APPROVAL 2002
Disallowable instrument DI2002—203
made under the
Utilities Act 2000, s 234: Regulation making power - Utilities (Water Restrictions) Regulations 2002: Part 2, s 5: Approved water restriction scheme 

I approve the attached water restriction scheme developed by ACTEW Corporation.

Ted Quinlan
Treasurer 
22 November 2002

SCHEME OF RESTRICTIONS ON THE USE OF WATER FROM ACTEW CORPORATION WATER SUPPLY SYSTEM

This approved water restrictions scheme is to be triggered by ACTEW pursuant to the Utilities (Water Restrictions) Regulations 2002 when ACTEW water storages (combined Bendora, Corin, and Googong dams) reach or fall below the 55% capacity level and will remain in effect until storages approach the 25% capacity level.
At the 25% storage level, the ACT Government may declare a State of Emergency under the Emergency Management Act under which supply and/or use of water  may be restricted to Emergency Use Only.

Pre-restriction community water use education measures will be initiated by ACTEW when water the risk of water restrictions appear real.  These measures, while not part of the formal water restrictions scheme, aim to reduce water consumption by 15% on a voluntary basis and hence defer or reduce the risk of mandatory restrictions.

Notes:
1.	This scheme applies to water drawn from ACTEW Corporation’s potable water supply system only.
2.	The “odds and evens” system means that, if your street number ends in an odd number (i.e. 1, 3, 5, 7 or 9), you can only water on days when the date also ends in an odd number.  Similarly, if your street number ends in an even number (i.e. 0, 2, 4, 6 or 8) then you can only water on days when the date also ends in an even number – except for 31st day of any month (bonus day).
3.	“Private” includes residential, business and Government and non-Government institutions.
4.	“Public” includes government and privately operated for public use
5.	Where customers can demonstrate serious detriment from application of restrictions, application can be made for an exemption or partial exemption.  Applications for exemption must be made in writing and addressed to “Restriction Exemptions”, ACTEW Corporation Limited, GPO Box 366, Canberra, ACT 2601.  Exemptions or partial exemptions will only be granted in writing.  Applications should include a statement of the reasons why an exemption or partial exemption is sought and set out, in particular, what serious detriment is claimed will be incurred if the application is not granted.  Without limiting the grounds on which ACTEW might grant an exemption or partial exemption, applications may be granted where there is a compelling health or public hygiene reason or where compliance with restrictions would be likely to cause disproportionate or unintended financial damage to the applicant.

	
Restriction stages on use of water

Stage 1	
Stage 2	
Stage 3	
Stage 4	
Stage 5	
Remaining ACTEW Storage	55%	45%	40%	35%	30%	
Target Reduction	15%	25%	40%	55%	60%	
1.	Private Gardens and Lawns	Sprinkler systems from mid-night to 7am and 7pm to mid-night on alternate days as per the “odds and evens” system
Hand held hoses and buckets anytime	Sprinkler systems from 5am to 8am and 7pm to 10pm on alternate days as per the “odds and evens” system
Hand held hoses and buckets anytime	No sprinklers
Hand held hoses and buckets from 5am to 8am and 7pm to 10pm on alternate days as per the “odds and evens” system	Watering of lawns not permitted
Hand held hoses and buckets from 5am to 8am and 7pm to 10pm on alternate days as per the “odds and evens” system	No external watering
(recycled water permitted)	
2.	Private Ponds and Garden Fountains	Fountains to be switched Off unless they re-cycle water.
Ponds may be topped up by hand held hose or bucket	Fountains to be switched Off
Ponds may be topped up by hand held hose or bucket	Ponds that support fish or birds may be topped up by bucket directly filled from a tap but not a hose	Ponds that support fish or birds may be topped up by bucket directly filled from a tap but not a hose	Ponds that support fish or birds may be topped up by bucket directly filled from a tap but not a hose	
3.	Parks, Sports Fields, Golf Courses & Public Gardens	The target of a 15 per cent reduction in water use should be met.
Hand held hoses can be used at any time	The target of a 25 per cent reduction in water use should be met.
Hand held hoses can be used at any time	The target of a 40 per cent reduction in water use should be met.
Hand held hoses can be used at any time	The target of a 55 per cent reduction in water use should be met.
Hand held hoses can be used at any time	No watering without prior written exemption	
4.	Paved Areas	Water must not be used to clean paved area unless cleaning required as a result of accident, fire, health hazard or other emergency	Water must not be used to clean paved area unless cleaning required as a result of accident, fire, health hazard or other emergency	Water must not be used to clean paved area unless cleaning required as a result of accident, fire, health hazard or other emergency	Water must not be used to clean paved area unless cleaning required as a result of accident, fire, health hazard or other emergency	Water must not be used to clean paved area unless cleaning required as a result of accident, fire, health hazard or other emergency	
5.	Public Swimming Pools	Existing pool must not be either emptied or refilled without written exemption but may be topped up 
Any pool not previously filled must not be filled without written exemption	Existing pool must not be either emptied or refilled without written exemption but may be topped up 
Any pool not previously filled must not be filled without written exemption	Existing pool must not be either emptied or refilled without written exemption but may be topped up 
Any pool not previously filled must not be filled without written exemption	Pools may not be filled or topped up without written exemption	Pools may not be filled or topped up without written exemption	

	
Restriction stages on use of water

Stage 1	
Stage 2	
Stage 3	
Stage 4	
Stage 5	
Remaining ACTEW Storage	55%	45%	40%	35%	30%	
Target Reduction	15%	25%	40%	55%	60%	
6.	Public Ponds & Fountains	A fountain that does not recycle water must not be operated or topped up.
Ponds and fountains previously used that do recycle water may be operated  but not topped up.	A fountain that does not recycle water must not be operated or topped up.
Ponds and fountains previously used that do recycle water may be operated  but not topped up.	A fountain that does not recycle water must not be operated or topped up.
Ponds and fountains previously used that do recycle water may be operated  but not topped up.	A fountain that does not recycle water must not be operated or topped up.
Ponds and fountains previously used that do recycle water may be operated  but not topped up.	A fountain that does not recycle water must not be operated or topped up.
Ponds and fountains previously used that do recycle water may be operated  but not topped up.	
7.	Private Swimming Pools and External Spas	Existing pool must not be either emptied or refilled without written exemption.  Customers are encouraged to keep their pool covered when not in use.
Pools may be topped up with a hand held hose
Any pool not previously filled must not be filled without written exemption	Existing pool must not be either emptied or refilled without written exemption.  Customers are encouraged to keep their pool covered when not in use.
Pools may be topped up with a hand held hose
Any pool not previously filled must not be filled without written exemption	Pools may not be filled or topped up without written exemption	Pools may not be filled or topped up without written exemption	Pools may not be filled or topped up without written exemption	
8.	Motor Vehicle Washing	Bucket filled directly from a tap or trigger hose used to rinse the vehicle after it has been washed.
No restrictions on commercial car wash	Bucket filled directly from a tap or trigger hose used to rinse the vehicle after it has been washed.
No restrictions on commercial car wash	No washing except by commercial car wash that recycles water.	No washing except by commercial car wash that recycles water.	No car washing.	
9.	Window and Building Washing	No washing except by bucket directly filled from a tap unless cleaning required as a result of accident, fire, health hazard or other emergency	No washing except by bucket directly filled from a tap unless cleaning required as a result of accident, fire, health hazard or other emergency	No washing except by bucket directly filled from a tap unless cleaning required as a result of accident, fire, health hazard or other emergency	No washing unless cleaning required as a result of accident, fire, health hazard or other emergency	No washing unless cleaning required as a result of accident, fire, health hazard or other emergency	

	
Restriction stages on use of water

Stage 1	
Stage 2	
Stage 3	
Stage 4	
Stage 5	
Remaining ACTEW Storage	55%	45%	40%	35%	30%	
Target Reduction	15%	25%	40%	55%	60%	
10.	Construction Activities	Unless impractical water must not be used unless by means of a trigger hose.
Wherever possible non-potable water should be used	Unless impractical water must not be used unless by means of a trigger hose. 
Wherever possible non-potable water should be used	Unless otherwise exempted in writing water must not be used unless by means of a trigger hose.
Wherever possible non-potable water should be used	Unless otherwise exempted in writing water must not be used unless by means of a trigger hose
Wherever possible non-potable water should be used	Unless otherwise exempted in writing water must not be used unless by means of a trigger hose
Wherever possible non-potable water should be used