# Australian Capital Territory

Construction Occupations (Licensing) (Distributed Energy Resource) Declaration 2024

# Disallowable instrument DI2024-34

made under the

Construction Occupations (Licensing) Regulation 2004, s 31D (Endorsing electricians licences for work on distributed energy resources – Act, s 22)

1	Name of instrument

This instrument is the Construction Occupations (Licensing) (Distributed Energy Resource) Declaration 2024.

2	Commencement

This instrument commences on commencement of section 44 of the Building and Construction Legislation Amendment Act 2023.

3	Declared Distributed Energy Resources

(1)	I declare the following things to be a distributed energy resource:

- solar photovoltaic panels which are subject to AS/NZS 5033;

- grid-connected inverters, as part of a solar photovoltaic system, which are subject to AS/NZS 4777; and

- grid connected battery energy storage systems which are subject to AS/NZS 5139.

4	Disapplication of Legislation Act

(1)	The Legislation Act 2001, section 47 (5) does not apply to the following documents as in force on the day this instrument commences and applied by this instrument:

- AS/NZS 5003

- AS/NZS 4777

- AS/NZS 5139

Note	The documents applied by this instrument do not need to be notified under the Legislation Act because s 47 (5) does not apply (see Legislation Act, s 47 (7)).

Australian Standards are available for purchase at www.standards.org.au.

Rebecca Vassarotti MLA

Minister for Sustainable Building and Construction

8 March 2024