Australian Capital Territory

Utilities (Technical Regulation) (Water and Sewerage Code) Approval 2024

Disallowable instrument DI2024–125

made under the

Utilities (Technical Regulation) Act 2014, s 14 (Technical codes—approval)

EXPLANATORY STATEMENT

This explanatory statement relates to the Utilities (Technical Regulation) (Water and Sewerage Code) Approval 2024 as presented to the Legislative Assembly. It has been prepared to assist the reader of the disallowable instrument. It does not form part of the instrument and has not been endorsed by the Assembly.

Overview

This is a disallowable instrument under the Utilities (Technical Regulation) Act 2014 (the Act).  The Act provides a technical regulatory framework for regulated utilities in the Australian Capital Territory. Section 14 of the Act authorises the Minister to approve a technical code as recommended by the technical regulator.

This disallowable instrument is the Utilities (Technical Regulation) (Water and Sewerage Code) Approval 2024 (the instrument).  The purpose of the instrument is to approve the making of the Water and Sewerage Code 2024 and revoke the 2018 Water and Sewerage Network Boundary Code (DI2018-62) and the following Codes in the Utilities (Technical Codes) Determination 2000 (DI2000-369):

- Water Metering Code 2000

- Water and Sewerage Service and Installation Code 2000

- Water and Sewerage Network (Design and Maintenance) Code 2000

- Water Supply and Sewerage Service Standards Code 2000

The Code is provided in schedule 1 of the instrument.

Technical codes must be consistent with the objects of the Act as follows:

Ensuring safe, reliable and efficient delivery of regulated utility services

Promotion of long-term serviceability of regulated networks

Promotion of networks’ design integrity and functionality; and

Safe and reliable operation of regulated utility services.

The purpose of the Code is to set out the requirements to ensure the safe and reliable planning, design, construction, maintenance and operation of water and sewerage networks in delivering water and sewerage services to customers.  It replaces the existing codes (see list above of existing water and sewerage technical codes to be repealed) to modernise language, reduce regulatory complexity and ensure consistency with national standards and current practice within the water and sewerage industry.

The Code applies to a utility licensed to provide water and sewerage utility services within the ACT.

- The Code is consistent with the objects of the Act and with section 11 of the Act.

Consultation

In accordance with section 13 of the Act, the technical regulator consulted the Independent Competition and Regulatory Commission and the relevant regulated utilities to create the Code.

Regulatory Impact Statement

A regulatory impact statement for the instrument is not required in accordance with section 34 (1) of the Legislation Act 2001.  The new Code does not impose appreciable costs on the community, or part of the community.  Further, a regulatory impact statement is unnecessary in accordance with section 36 (1) (b) of the Legislation Act 2001.

Human rights and Scrutiny of Committee Terms of Reference

The instrument does not engage or limit any person’s human rights.

The instrument is consistent with the Legislative Assembly’s Scrutiny of Bills Committee Terms of Reference. In particular, the instrument:

is made under a ministerial power found in the Act;

is in accordance with the general objects of the Act under which the instrument is made;

does not unduly trespass on rights previously established by law; and

does not make rights, liberties and/or obligations unduly dependent upon non-reviewable decisions.