Australian Capital Territory
Corrections Management (Compressed Air Breathing Apparatus) Policy 2011
Notifiable instrument NI2011-122
made under the  
Corrections Management Act 2007, section 14(1) (Corrections policies and operating procedures) 

1	Name of instrument
This instrument is the Corrections Management (Compressed Air Breathing Apparatus) Policy 2011.
2	Commencement
This instrument commences on the day after it is notified.
3	Policy
I make the

Compressed Air Breathing Apparatus policy

attached to this instrument, to facilitate the effective and efficient management of correctional services.
4	Revocation
This instrument revokes notifiable instrument NI2009-122.

[Signed by]

Barry Folpp
A/g Executive Director 
ACT Corrective Services
21 February 2011

ACT Corrective Services
Alexander Maconochie Centre

Compressed Air Breathing 
Apparatus Policy

Purpose
Authority
Policy
Principles
Compressed Air Breathing Apparatus (CABA)
Smoke hoods
Inspections
Training
Forms/Templates
Related Policies and Procedures

Purpose
To outline the policy to ensure Compressed Air Breathing Apparatus (CABA) is used and maintained appropriately.

Authority
Legislation
Corrections Management Act 2007, section 14.
Territory Records Act 2002.

Policy
Principles
Corrections officers are trained in the safe and effective use of CABA equipment and may be required to use this equipment in the event of a fire, gas leak or the presence of another dangerous substance within a correctional centre. Corrections officers are first responding officers in the event of a fire or gas leak (including an unknown substance). The first responding officer is responsible for containment and must give due consideration to personal safety and security generally.

The CABA Controller, once all CABA operators have returned from the building(s), or the CO3, will provide assistance to the ACT Fire Brigade in responding to the incident.

Compressed Air Breathing Apparatus (CABA)
CABA equipment allows operators to breathe in an environment that may contain smoke and/or toxic substances.

CABA equipment is located in the following areas of the AMC:
•	Gatehouse;
•	Movement Control; and
•	Women’s community centre.

CABA equipment will be utilised, when necessary, by CABA teams comprised of four officers, plus a CABA controller.

Smoke hoods
Smoke hoods are located in all Officers’ Stations and are available for corrections officers to use when exiting a smoke filled or toxic environment. Smoke hoods are not to be used for response purposes. Smoke hoods provide filtered air for approximately 15 minutes from activation. 

Inspections
The CABA equipment will be inspected weekly by the Area CO2 stationed in each of the areas where the equipment is stored. A record of each inspection shall be completed in the Compressed Air Breathing Log Book by the CO2.

Training
Both the Superintendent and Deputies will ensure that corrections officers are made available to the Training and Development Unit to enable them to conduct mandatory training. Corrections officers have an obligation to attend mandatory training at the times arranged for them. 

The Training and Development Unit is responsible for co-ordinating onsite training in fire awareness and response (including the use of CABA) annually. All training records will be forwarded to the Training and Development Unit, which will be retained by in accordance with the Territory Records Act 2002.

Forms/Templates
Officers Report Form
Compressed Air Breathing Log Book

Related Policies and Procedures
Compressed Air Breathing Apparatus Procedure
Incident Reporting Policy
Incident Reporting Procedure
Incident Response Policy
Incident Response Procedure
Code <Restricted> - Fire
Code <Restricted> - Hazardous Material Spillage or Major Gas Leak