Australian Capital Territory

Corrections Management (Compressed Air Breathing Apparatus) Policy 2019

Notifiable instrument NI2019-155

made under the

Corrections Management Act 2007, s14 (Corrections policies and operating procedures)

1	Name of instrument

This instrument is the Corrections Management (Compressed Air Breathing Apparatus) Policy 2019.

2	Commencement

This instrument commences on the day after its notification day.

3	Policy

I make this policy to facilitate the effective and efficient management of correctional services.

4	Revocation

This policy revokes the Corrections Management (Compressed Air Breathing Apparatus) Policy 2011 [NI2011-122]

Jon Peach

Executive Director

ACT Corrective Services

21 March 2019

COMPRESSED AIR BREATHING APPARATUS

policy no. D10

ACT Corrective services

Contents

1	PURPOSE	3

2	SCOPE	3

3	PRINCIPLES	3

4	COMPRESSED AIR BREATHING APPARATUS (CABA)	3

5	SMOKE HOODS	4

6	INSPECTIONS	4

7	TRAINING	4

8	RELATED DOCUMENTS	5

# PURPOSE

ACT Corrective Services (ACTCS) is committed to ensuring that staff members have access to suitable protective equipment in the event of a fire or emergency incident in a correctional centre.

This policy provides instructions for the appropriate use and maintenance of Compressed Air Breathing Apparatus.

# SCOPE

This policy applies to all correctional centres in the ACT.

# PRINCIPLES

  - The use of Compressed Air Breathing Apparatus (CABA) equipment by staff must only be for preservation of life (self and others) and not fire response.

  - Staff must not use smoke hoods for any other purpose than to assist in self-evacuating a low oxygen or toxic environment, as to do so creates an unacceptable and high risk of potentially serious harm to the individual.

# COMPRESSED AIR BREATHING APPARATUS (CABA)

  - CABA equipment allows operators to breathe in an environment that may be low in oxygen, contain smoke and/or toxic substances, natural gas or as the result of a fire.

  - Staff will use CABA equipment to self-evacuate and evacuate other staff and detainees in the event of a fire.

  - CABA equipment must be located in all buildings that detainees cannot self-evacuate and according to any direction of the General Manager Custodial Operations.

  - CABA equipment will be utilised where necessary by CABA teams comprised of two officers.

  - In order to ensure safe use of CABA equipment, staff must satisfy themselves that any facial hair, including beards, does not compromise the seal of the apparatus and create a risk of exposure to smoke or gases.

# SMOKE HOODS

  - Smoke hoods are located in all Officers’ Stations and are available for staff to use when exiting a low oxygen or toxic environment.

  - Staff must not use smoke hoods for response purposes and instead deploy CABA equipment for this purpose.

  - Smoke hoods provide filtered air for approximately 15 minutes from activation.

# INSPECTIONS

  - The Fire Protection Manager must:

- inspect all CABA equipment each week and complete a record in the Compressed Air Breathing Log Book;

- ensure a stocktake of all CABA equipment is completed each week and provided to ACT Fire and Rescue (ACTF&R) using the AMC Breathing Apparatus Equipment Location form; and

- liaise with ACTF&R:

  - on the maintenance or replacement of CABA equipment;

  - when any CABA equipment requires cleaning or decontamination; and

  - when a minimum of four breathing apparatus cylinders require refilling.

  - Staff must inspect smoke hoods as part of the security checks under the Security Checks Operating Procedure.

# TRAINING

  - The General Manager Custodial Operations will ensure that all custodial officers maintain current training in the use of CABA equipment.

  - Mandatory training requirements for custodial officers are as follows:

- one (1) full day initial training; and

- one (1) half-day refresher course each year.

  - All training records will be retained by the Training and Development Unit in accordance with the Territory Records Act 2002.

# RELATED DOCUMENTS

A – Compressed Air Breathing Log Book

B – AMC Breathing Apparatus Equipment Location

C – Security Checks Operating Procedure.

Jon Peach 
Executive Director 
ACT Corrective Services 
21 March 2019

## Document details

| Criteria | Details |
| --- | --- |
| Document title: | Corrections Management (Compressed Air Breathing Apparatus) Policy 2019 |
| Document owner/approver: | Executive Director, ACT Corrective Services |
| Date effective: | The day after the notification date |
| Review date: | Three years after the notification date |
| Compliance with law: | This policy reflects the requirements of the Corrections Management (Policy Framework) Policy 2019 |
| Responsible officer: | General Manager Custodial Operations |

| ## Version Control |  |  |  |
| --- | --- | --- | --- |
| ## Version no. | ## Date | ## Description | ## Author |
| ## V1 | ## January-19 | ## First Issued | ## P Cubitt |

| ACT Corrective Services |  |
| --- | --- |