Australian Capital Territory

Environment Protection Regulation 2005

SL2005-38

made under the

Environment Protection Act 1997

Republication No 43

Effective:  15 May 2025

Republication date: 15 May 2025

Last amendment made by SL2024-17
(republication for amendments by A2024-11)

About this republication

The republished law

This is a republication of the Environment Protection Regulation 2005, made under the Environment Protection Act 1997 (including any amendment made under the Legislation Act 2001, part 11.3 (Editorial changes)) as in force on 15 May 2025.  It also includes any commencement, amendment, repeal or expiry affecting this republished law to 15 May 2025.

The legislation history and amendment history of the republished law are set out in endnotes 3 and 4.

Kinds of republications

The Parliamentary Counsel’s Office prepares 2 kinds of republications of ACT laws (see the ACT legislation register at www.legislation.act.gov.au):

authorised republications to which the Legislation Act 2001 applies

unauthorised republications.

The status of this republication appears on the bottom of each page.

Editorial changes

The Legislation Act 2001, part 11.3 authorises the Parliamentary Counsel to make editorial amendments and other changes of a formal nature when preparing a law for republication.  Editorial changes do not change the effect of the law, but have effect as if they had been made by an Act commencing on the republication date (see Legislation Act 2001, s 115 and s 117).  The changes are made if the Parliamentary Counsel considers they are desirable to bring the law into line, or more closely into line, with current legislative drafting practice.

This republication does not include amendments made under part 11.3 (see endnote 1).

Uncommenced provisions and amendments

If a provision of the republished law has not commenced, the symbol  U  appears immediately before the provision heading.  Any uncommenced amendments that affect this republished law are accessible on the ACT legislation register (www.legislation.act.gov.au). For more information, see the home page for this law on the register.

Modifications

If a provision of the republished law is affected by a current modification, the symbol  M  appears immediately before the provision heading.  The text of the modifying provision appears in the endnotes.  For the legal status of modifications, see the Legislation Act 2001, section 95.

Penalties

At the republication date, the value of a penalty unit for an offence against this law is $160 for an individual and $810 for a corporation (see Legislation Act 2001, s 133).

Australian Capital Territory

Environment Protection Regulation 2005

made under the

Environment Protection Act 1997

Contents

Page

Part 1	Preliminary	2

1	Name of regulation	2

3	Dictionary	2

4	Notes	2

5	Offences against regulation—application of Criminal Code etc	3

Part 2	Emissions into the air	4

Division 2.1	Application of pt 2	4

6	Application of pt 2 to tobacco products	4

Division 2.2	Chimney emissions causing environmental harm	4

7	Meaning of national emission guidelines for div 2.2	4

8	Chimney emissions—pollutants taken to cause environmental harm—Act, s 5 (a)	5

Division 2.3	Open-air fires	5

9	Open-air fires prohibited except in certain circumstances	5

Division 2.4	Burning, fires and firewood	6

10	Burning certain substances requires environmental authorisation	6

11	Fire bans in bad weather	8

12	Indoor fires prohibited unless harm minimised	9

13	Pollutants emitted from fires—exception for certain fires—Act, s 143 and s 166 (5)	9

14	Conditions for sale or supply of firewood	10

14A	Unapproved sale or supply of painted etc firewood—offence	12

Division 2.4A	Solid fuel-burning equipment	12

14B	Minimum overall average efficiency—Act, sch 2, s 2.4 (3) (a) (ii)	12

14C	Maximum appliance particulate emission factor—Act, sch 2, s 2.4 (3) (b) (ii)	12

Division 2.5	Air-filtration plants	13

15	Filters in air-filtration plants	13

Division 2.6	Balloons	14

16	Release of 20 or more balloons prohibited	14

17	Balloons—exception if balloons not outside	15

18	Balloons—exception for hot-air balloons	15

19	Balloons—exception for science	15

Division 2.7	Pollutants emitted from motor vehicles	16

20	Motor vehicle emissions not taken to cause environmental harm	16

Part 3	Noise	17

Division 3.1	Interpretation for pt 3	17

21	Definitions for pt 3	17

22	Meaning of affected place	18

23	Meaning of noise zone	19

24	Meaning of noise standard	19

Division 3.2	Noise causing environmental harm	21

25	Noise taken to cause environmental harm—Act, s 5 (a)	21

26	Noise—exception for protecting life or property	21

27	Noise—exception for reducing environmental harm	22

28	Noise—exception if allowed by approval	22

29	Noise—other exceptions	22

Division 3.3	Measuring noise	22

29A	Noise measurement manual	22

30	Measurements to be taken at compliance point	23

31	Taking measurements of noise	23

32	Compliance point—general rule for leased land	24

33	Compliance point—general rule for unleased land	24

34	Compliance point—exception for environmental protection agreement	25

35	Compliance point—exception for environmental authorisation	25

36	Compliance point—exception for public land with approval	25

37	Compliance point—exception for leased land with boundary with different noise zone	25

38	Compliance point—exception for units, common wall properties and subleases	26

Division 3.4	Noise offences	27

39	Offence to make noise louder than noise standard	27

40	Sale and hiring of things	28

Part 4	Water	29

Division 4.1	Environmental values	29

41	Environmental values of waterways for pt 4, sch 3 and sch 4	29

42	Certain pollutants taken to cause environmental harm—Act, s 5 (b)	29

43	Ambient environmental standards for waterways	30

Division 4.2	Protection of waterways	30

44	Pollution of waterways	30

45	Development waste not to enter stormwater system or waterways	31

46	Areas near development to be kept clear	31

47	Entries to and exits from land to be kept stable	31

48	Washing vehicles etc—commercial activity	32

49	Washing vehicles etc—non-commercial activity	32

50	Discharge of stormwater into receiving waters	33

Part 5	Polychlorinated biphenyls (PCBs)	34

51	Definitions for pt 5	34

52	PCBs taken to cause environmental harm—Act, s 5 (b)	34

Part 6	Agvet chemical products	35

Division 6.1	Interpretation	35

53	Definitions—pt 6	35

53A	Using registered agvet chemical product in accordance with instructions	36

53B	Agvet permits—eligible laws for agvet code	36

Division 6.2	Agvet chemical products causing environmental harm	37

54	Agvet chemical products taken to cause environmental harm—Act, s 5 (b)	37

Division 6.3	Using agvet chemical products	37

55	Use of agricultural chemical products	37

55A	Use of veterinary chemical products	38

55B	Recording use of agricultural chemical products	39

Division 6.4	Training requirements for use of certain agvet chemical products	41

55C	Definitions—div 6.4	41

55D	Declared agvet chemical products	41

55E	Approved VET course units of competency	42

55F	Training—use of declared liquid fumigants	42

55G	Training—use of declared vertebrate poisons	43

55H	Training—use of declared avicides	44

55I	Training—use of declared industrial timber treatments	45

55J	Training—use of declared termiticides	45

55K	Training—use of other agricultural chemical products containing schedule 7 poisons	46

55L	Training—use of registered veterinary chemical products containing schedule 7 poisons	47

Part 7	Controlled waste	49

Division 7.1	Interpretation	49

56	Definitions for pt 7	49

Division 7.2	Movement of controlled waste between states	51

57	Application of div 7.2	51

58	Consignment authorisation for controlled waste	52

59	Information to accompany controlled waste	52

60	Records of movement of controlled waste	53

61	Notification of receipt of controlled waste	54

Division 7.3	Controlled waste taken to cause environmental harm	54

62	Controlled waste taken to cause environmental harm—Act, s 5 (b)	54

Part 8	Sampling and analysis of pollutants	55

63	Application of pt 8	55

64	People who may conduct analysis	55

65	Procedures and protocols	56

66	What is a recognised entity?	56

Part 8A	Erosion and sediment control measures for development sites	59

66A	Meaning of erosion and sediment control measures—pt 8A	59

66B	Development sites 0.3ha or greater	59

66C	Development sites less than 0.3ha	59

Part 9	Miscellaneous	61

70	Entity to be consulted—Act, s 25 (5)	61

Schedule 1	Exceptions—chimney emissions and open-air fires	62

Part 1.1	Chimney emissions	62

Part 1.2	Open-air fires	64

Schedule 2	Noise zones, noise standards and conditions	66

Part 2.1	Noise zones	66

2.1	Definitions for pt 2.1	66

Part 2.2	Noise standards	71

Part 2.3	Noise conditions	73

2.2	Interpretation for pt 2.3	73

Schedule 3	Pollutants entering waterways taken to cause environmental harm	84

Part 3.1	Domestic water supply quality (DOM1/2/3)	84

Part 3.2	Water-based recreation—swimming (REC/1) or boating (REC/2)	93

Part 3.3	Waterscape (VIEW)	94

Part 3.4	Stock water supply (STOCK)	95

Part 3.5	Irrigation water supply—(IRRIG)	97

Part 3.6	Aquatic habitat—mountain streams (AQUA/1), lowland streams (AQUA/2), urban lakes and ponds (AQUA/3), urban drains and streams (AQUA/4), urban wetlands (AQUA/5), or mountain reservoirs (AQUA/6)	99

Schedule 4	Ambient environmental standards	104

Part 4.1	Domestic water supply—fully treated (TAP)	104

Part 4.2	Domestic water supply (DOM1/2/3)	114

4.1	Ambient environmental standards to which table 4.2 applies	114

Part 4.3	Water-based recreation—swimming (REC/1) or boating (REC/2)	115

Part 4.4	Waterscape (VIEW)	117

Part 4.5	Stock water supply (STOCK)	118

Part 4.6	Irrigation water supply (IRRIG)	121

4.2	Faecal coliforms—IRRIG	121

4.3	Sodium absorption ratio	121

Part 4.7	Aquatic habitat—mountain streams (AQUA/1), lowland streams (AQUA/2), urban lakes & ponds (AQUA/3), urban drains and streams (AQUA/4), urban wetland (AQUA/5), mountain reservoirs (AQUA/6)	124

4.4	Acidity	124

4.5	Colour and turbidity	124

4.6	Total dissolved solids	124

4.7	Ammonia levels	125

Part 4.8	Secondary ambient environmental standards	132

4.8	Temperature	132

4.9	Biological standards	132

Dictionary		135

Endnotes		144

1	About the endnotes	144

2	Abbreviation key	144

3	Legislation history	145

4	Amendment history	151

5	Earlier republications	160

6	Expired transitional or validating provisions	163

Australian Capital Territory

Environment Protection Regulation 2005

made under the

Environment Protection Act 1997

Part 1	Preliminary

1	Name of regulation

This regulation is the Environment Protection Regulation 2005.

3	Dictionary

The dictionary at the end of this regulation is part of this regulation.

Note 1	The dictionary at the end of this regulation defines certain terms used in this regulation, and includes references (signpost definitions) to other terms defined elsewhere.

For example, the signpost definition ‘built-up area—see the Emergencies Act 2004, section 6A.’ means that the term ‘built-up area’ is defined in that section and the definition applies to this regulation.

Note 2	A definition in the dictionary (including a signpost definition) applies to the entire regulation unless the definition, or another provision of the regulation, provides otherwise or the contrary intention otherwise appears (see Legislation Act, s 155 and s 156 (1)).

4	Notes

A note included in this regulation is explanatory and is not part of this regulation.

Note	See the Legislation Act, s 127 (1), (4) and (5) for the legal status of notes.

5	Offences against regulation—application of Criminal Code etc

Other legislation applies in relation to offences against this regulation.

Note 1	Criminal Code

The Criminal Code, ch 2 applies to all offences against this regulation (see Code, pt 2.1).

The chapter sets out the general principles of criminal responsibility (including burdens of proof and general defences), and defines terms used for offences to which the Code applies (eg conduct, intention, recklessness and strict liability).

Note 2	Penalty units

The Legislation Act, s 133 deals with the meaning of offence penalties that are expressed in penalty units.

Part 2	Emissions into the air

Division 2.1	Application of pt 2

Note 1	The Act does not apply to a pollutant emitted into the air by—

(a)	a light rail vehicle or other train; or

(b)	a Commonwealth jurisdiction aircraft; or

(c)	a person using only the person’s body; or

(d)	an animal; or

(e)	a motor vehicle being driven on a road, unless it—

(i)	is being driven on the road to conduct reliability trials or speed tests; and

(ii)	has been exempted under the road transport legislation from the provisions of that legislation about attaching silencers to the exhaust pipes of motor vehicles, rules of the road and speed limits during the trials or tests (see Act, s 8 (1)).

Note 2	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

6	Application of pt 2 to tobacco products

This part does not apply to the lighting or smoking of a cigar, cigarette or pipe.

Division 2.2	Chimney emissions causing environmental harm

7	Meaning of national emission guidelines for div 2.2

In this division:

national emission guidelines means the guidelines called the ‘National guidelines for control of emission of air pollutants from new stationary sources 1985’ published by the Australian Environment Council and the National Health and Medical Research Council, as in force immediately before it was rescinded.

8	Chimney emissions—pollutants taken to cause environmental harm—Act, s 5 (a)

(1)	This section applies to a pollutant mentioned in the national emission guidelines, table 1 or table 2 that is emitted into the air through a chimney.

(2)	The pollutant is taken to cause environmental harm if the amount of the pollutant emitted into the air from a source stated in the guidelines for the pollutant is more than the standard stated in the guidelines for the source.

(3)	Subsection (2) does not apply if the pollutant is emitted in the circumstances mentioned in schedule 1, part 1.1 (Chimney emissions), column 2 in accordance with the conditions (if any) mentioned in schedule 1, part 1.1, column 3 for the activity.

Division 2.3	Open-air fires

9	Open-air fires prohibited except in certain circumstances

(1)	A person commits an offence if the person lights, uses or maintains a fire in the open air.

Maximum penalty:  5 penalty units.

Note	The Emergencies Act 2004 contains an offence about lighting etc fire during total fire ban (see s 116).

(2)	Subsection (1) does not apply to the person if the person lights, uses or maintains the fire for an activity mentioned in schedule 1, part 1.2 (Open-air fires), column 2 in accordance with the conditions (if any) mentioned in schedule 1, part 1.2, column 3 for the activity.

Note	The defendant has the evidential burden of establishing the matters mentioned in s (2) (see Criminal Code, s 58).

(3)	Subsection (1) does not apply to a fire to which the Act, schedule 1, section 1.2, table, item 28 relates.

Note	Item 28 relates to burning plant matter to reduce a fire hazard, to clear land or to conserve biological diversity or ecological integrity. For offences in relation to these activities, see the Act, pt 8 (Environmental authorisations).

(4)	An offence against this section is a strict liability offence.

Division 2.4	Burning, fires and firewood

10	Burning certain substances requires environmental authorisation

(1)	A person commits an offence if the person—

(a)	burns 1 or more of the following substances:

(i)	a synthetic plastic or other synthetic polymer;

(ii)	wood that—

(A)	is painted, chemically treated or contaminated with a chemical; and

(B)	has not been approved for sale or supply by the authority and chief health officer;

(iii)	a chemical other than a chemical recommended by the manufacturer as fuel for a fire; and

(b)	either—

(i)	does not have an environmental authorisation for burning the substance; or

(ii)	has an environmental authorisation for burning the substance, but the burning is not in accordance with the authorisation.

Maximum penalty:  10 penalty units.

Note	Environmental authorisations are dealt with in the Act, pt 8.

(2)	Subsection (1) does not apply to anything required to be done under the Biosecurity Act 2023.

(3)	A person commits an offence if the person—

(a)	burns 1 or more of the following substances:

(i)	waste;

(ii)	unseasoned wood; and

(b)	either—

(i)	does not have an environmental authorisation for burning the substance; or

(ii)	has an environmental authorisation for burning the substance, but the burning is not in accordance with the authorisation.

Maximum penalty:  10 penalty units.

(4)	Subsection (3) does not apply—

(a)	to burning paper or cardboard for the purpose of starting a fire; or

(b)	to anything required to be done under the Biosecurity Act 2023; or

(c)	in relation to the burning of waste on land in an area that is not in the built-up area by a person who is ordinarily resident on the land if—

(i)	the waste is waste as a result of the person being the resident of the land; and

(ii)	the burning happens on that land.

(5)	An offence against this section is a strict liability offence.

11	Fire bans in bad weather

(1)	This section applies if the Minister is satisfied that the existing or forecasted weather conditions mean a fire would—

(a)	cause excessive environmental harm; or

(b)	unnecessarily increase pollutants in the air.

(2)	The Minister may, in writing, declare that the lighting, using or maintaining of a fire in the open air is prohibited for the period stated in the declaration.

(3)	A declaration may be expressed to apply to all or part of the ACT.

(4)	The declaration must be—

(a)	notified in a public notice; or

(b)	broadcast in the ACT by a national or commercial broadcasting service.

Note	Public notice means notice on an ACT government website or in a daily newspaper circulating in the ACT (see Legislation Act, dict, pt 1).

(5)	A person commits an offence if the person contravenes a declaration.

Maximum penalty:  10 penalty units.

(6)	Subsection (5) does not apply if the person had a reasonable excuse.

(7)	This section does not apply to a fire only for cooking or heating food or drink.

(8)	An offence against this section is a strict liability offence.

12	Indoor fires prohibited unless harm minimised

(1)	A person commits an offence if the person lights, uses or maintains a fire in a place other than in the open air.

Maximum penalty:  5 penalty units.

(2)	Subsection (1) does not apply if—

(a)	the person takes all steps that are practicable and reasonable to prevent any environmental harm caused, or likely to be caused, by the emission of pollutants into the air from the fire; or

(b)	if prevention is not reasonably practicable—the person takes all steps that are practicable and reasonable to minimise any environmental harm caused, or likely to be caused, by the emission of pollutants into the air from the fire.

(3)	An offence against this section is a strict liability offence.

13	Pollutants emitted from fires—exception for certain fires—Act, s 143 and s 166 (5)

A pollutant being emitted into the air from a fire is not taken to cause environmental harm unless burning the substance burned in the fire, or the lighting, using or maintaining of the fire, is an offence against any of the following sections:

(a)	section 9 (Open-air fires prohibited except in certain circumstances);

(b)	section 10 (Burning certain substances requires environmental authorisation);

(c)	section 11 (Fire bans in bad weather);

(d)	section 12 (Indoor fires prohibited unless harm minimised).

14	Conditions for sale or supply of firewood

(1)	This section applies to a person who—

(a)	 sells or supplies firewood in the ACT unless—

(i)	the quantity of firewood sold or supplied is less than 100kg; or

(ii)	the firewood is sold under a scheme in which an annual fee is paid for the right to collect waste softwood in pine plantations; or

(b)	prepares firewood for sale or supply in the ACT.

(2)	The following conditions apply to the preparation, sale or supply of firewood by the person:

(a)	if practicable, each buyer must be offered a choice of mixed wood loads;

(b)	wood must be offered and supplied by weight, not by volume;

(c)	each buyer must be given a written statement of the weight of the load supplied;

(d)	if the load is a mixed wood load—the buyer must be given a written statement of the approximate weight of hardwood and softwood in the load;

(e)	unseasoned wood must not be supplied;

(f)	each buyer must be given a pamphlet supplied by the environment protection authority that sets out recommended wood burning practices and encourages compliance with those practices;

(g)	each buyer must be given the following information:

(i)	the common name and species (if known) of the wood;

(ii)	the place from which the wood was originally taken;

(iii)	the kind of wood;

Examples—par (g) (i)

box, gum, pine

Examples—par (g) (ii)

ACT pine forests, Cowra

Example—par (g) (iii)

residue from forestry processing operations of native forest timber

(h)	an annual report for a reporting year must be given to the environment protection authority by 31 January in the year following the reporting year;

(i)	wooden sleepers must only be obtained from a wholesaler who supplies sleepers in the ACT with the agreement of the chief health officer and the environment protection authority;

(j)	the sale or supply of wooden sleepers must be accompanied by an information sheet, agreed with the environment protection authority, about the risks of burning sleepers, including that sleepers should not be burnt in open fires or for cooking.

(3)	A person commits an offence if the person—

(a)	prepares firewood for sale or supply; and

(b)	fails to comply with a condition mentioned in subsection (2).

Maximum penalty:  10 penalty units

(4)	A person commits an offence if the person—

(a)	sells or supplies firewood; and

(b)	fails to comply with a condition mentioned in subsection (2).

Maximum penalty:  10 penalty units

(5)	An offence against this section is a strict liability offence.

(6)	In this section:

prepare, firewood for sale or supply, means cut, store or season the firewood.

reporting year means 1 January to 31 December.

14A	Unapproved sale or supply of painted etc firewood—offence

(1)	A person commits an offence if the person—

(a)	sells or supplies firewood that is painted, chemically treated or contaminated with a chemical; and

(b)	does not have the written agreement of the environment protection authority and the chief health officer to sell or supply the firewood.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

Division 2.4A	Solid fuel-burning equipment

14B	Minimum overall average efficiency—Act, sch 2, s 2.4 (3) (a) (ii)

The prescribed minimum overall average efficiency is 60%.

14C	Maximum appliance particulate emission factor—Act, sch 2, s 2.4 (3) (b) (ii)

The prescribed maximum appliance particulate emission factor is—

(a)	for a heater without a catalytic combustor—1.5g/kg; and

(b)	for a heater with a catalytic combustor—0.8g/kg.

Division 2.5	Air-filtration plants

15	Filters in air-filtration plants

(1)	An occupier of premises commits an offence if—

(a)	the premises contains an air-filtration plant; and

(b)	the air-filtration plant vents into the air; and

(c)	the air-filtration plant is operating; and

(d)	the occupier removes a filter from the plant.

Maximum penalty:  10 penalty units.

(2)	An occupier of premises commits an offence if—

(a)	the premises contains an air-filtration plant; and

(b)	the air-filtration plant vents into the air; and

(c)	the occupier does not adequately maintain a filter in the plant.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

Division 2.6	Balloons

16	Release of 20 or more balloons prohibited

(1)	A person commits an offence if—

(a)	the person releases 20 or more balloons at or about the same time; and

(b)	20 or more of the balloons are inflated with a gas that causes them to rise.

Maximum penalty:  10 penalty units.

Note	A reference to an offence against a territory law includes a reference to a related ancillary offence, eg attempt (see Legislation Act, s 189). This means an offence under this section also covers the offence of inciting the offence or conspiring to commit the offence.

(2)	An offence against this section is a strict liability offence.

(3)	In a prosecution for an offence against this section—

(a)	it is not necessary for the prosecution to establish the exact number of balloons released; and

(b)	evidence that a balloon rose after being released is, in the absence of any evidence to the contrary, evidence that the balloon was inflated with a gas that caused it to rise.

(4)	This section is subject to the following sections:

(a)	section 17 (Balloons—exception if balloons not outside);

(b)	section 18 (Balloons—exception for hot-air balloons);

(c)	section 19 (Balloons—exception for science).

Note	A person charged with an offence against s (1) has the evidential burden of proving anything mentioned in s 17, s 18 or s 19 (see Criminal Code, s 58).

17	Balloons—exception if balloons not outside

Section 16 does not apply to the release of balloons if the balloons are released inside a building or structure and do not make their way into the open air.

18	Balloons—exception for hot-air balloons

Section 16 does not apply to the release of balloons if the balloons are hot-air balloons that are recovered after landing.

19	Balloons—exception for science

(1)	Section 16 does not apply to the release of balloons if the balloons are released for—

(a)	a meteorological purpose; or

(b)	another scientific purpose approved under subsection (2).

(2)	The environment protection authority may approve a scientific purpose for the release of balloons if the authority is satisfied that the purpose to be achieved by the release of the balloons is proportional to the damage likely to be caused to the environment by the release.

(3)	An approval is a notifiable instrument.

Note	A notifiable instrument must be notified under the Legislation Act.

Division 2.7	Pollutants emitted from motor vehicles

20	Motor vehicle emissions not taken to cause environmental harm

A pollutant being emitted into the air from a motor vehicle to which the Act applies is not taken to cause environmental harm if the motor vehicle complies with the Road Transport (Vehicle Registration) Act 1999.

Note 1	The Act applies to a pollutant emitted into the air by a motor vehicle being driven on a road only if the motor vehicle—

(a)	is being driven on the road for the purpose of conducting reliability trials or speed tests; and

(b)	has been exempted under the road transport legislation from the provisions of that legislation about attaching silencers to the exhaust pipes of motor vehicles, rules of the road and speed limits during the trials or tests (see Act, s 8 (1) (e)).

Note 2	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

Part 3	Noise

Note 1	The Act does not apply to noise made by—

(a)	a light rail vehicle or other train; or

(b)	a Commonwealth jurisdiction aircraft; or

(c)	a person using only the person’s body; or

(d)	an animal; or

(e)	a motor vehicle being driven on a road, unless it—

(i)	is being driven on the road to conduct reliability trials or speed tests; and

(ii)	has been exempted under the road transport legislation from the provisions of that legislation about attaching silencers to the exhaust pipes of motor vehicles, rules of the road and speed limits during the trials or tests (see Act, s 8 (1)).

Note 2	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

Division 3.1	Interpretation for pt 3

21	Definitions for pt 3

In this part:

adjoining, for noise zones, means noise zones that—

(a)	have a common boundary; or

(b)	would have a common boundary apart from a road separating them.

affected place—see section 22.

as near as practicable, to a boundary, for the measurement of noise level at a compliance point, means as near as practicable for taking the measurement.

compliance point—see section 32 to section 38.

noise standard—see section 24.

noise zone—see section 23.

unit—see the Unit Titles Act 2001, section 9.

units plan means a units plan under the Unit Titles Act 2001, section 7.

22	Meaning of affected place

(1)	In this regulation:

affected place, for noise being emitted from a place in the ACT, means a place (other than a road or road related area), whether inside or outside the ACT, where a person is affected by the noise.

(2)	However, a parcel of land held under a territory lease is an affected place for noise emitted from the parcel only if the noise is emitted from a unit and the affected place is another unit on the same units plan.

(3)	For subsection (1), a person at a place (the first place) is affected by noise being emitted from another place in the ACT (emitted noise) if—

(a)	the person is an occupier of the first place (an affected person); and

(b)	the affected person complains about the emitted noise to an authorised officer; and

(c)	the noise level at the first place, as a result of the emitted noise, exceeds the noise standard for the first place.

(4)	In this section:

occupier, of a place, includes a person who is lawfully at a place that is on—

(a)	unleased land; or

(b)	public land under the Crown Lands Act 1989 (NSW), section 153, as in force from time to time.

23	Meaning of noise zone

In this regulation:

noise zone means—

(a)	for a place in the ACT on land mentioned in schedule 2, table 2.1, column 3—the noise zone mentioned in column 2 for the land; or

(b)	for a place in New South Wales on land mentioned in schedule 2, table 2.1, column 4—the noise zone mentioned in column 2 for the land.

24	Meaning of noise standard

(1)	In this regulation:

noise standard, for a noise zone, means the noise standard mentioned in the following provisions for the particular zone at a particular time:

(a)	for a zone other than zones B1, B3, B4 and C1—schedule 2, table 2.2, column 3 or column 4 (whichever applies);

(b)	for zone B1—schedule 2, table 2.2A, column 3 or column 4 (whichever applies);

(c)	for zones B3 and B4—

(i)	if the noise emitted is entertainment noise from a place other than a dwelling in the city centre entertainment precinct—schedule 2, table 2.2AA, columns 3 to 6 (whichever applies); or

Examples—place other than a dwelling

1	a place on unleased land

2	licensed premises

3	Territory premises

(ii)	in any other case in which noise is emitted from a place in the city centre entertainment precinct—

(A)	if the place is on land in the Central National Area (City Hill Precinct) within zone B4—schedule 2, table 2.2, column 3 or column 4 (whichever applies) as if the place was on land within zone B2; or

(B)	if the place is anywhere else in zones B3 or B4—schedule 2, table 2.2A, column 3 or column 4 (whichever applies) as if the place was on land within zone B1;

(d)	for zone C1—schedule 2, table 2.2B, column 3 or column 4 (whichever applies).

(2)	However—

(a)	if the compliance point for noise emitted from a unit is a point in any of the other units in the units plan, the noise standard for the unit is 5dB below the noise standard that would otherwise apply; and

(b)	if the compliance point for noise emitted from premises (the 1st premises) on a territory lease with a common wall with premises on another territory lease (the 2nd premises) is a point in the 2nd premises, the noise standard for the 1st premises is 5dB below the noise standard that would otherwise apply; and

(c)	the noise standard on the boundary between 2 or more noise zones is the average of the noise standards for the noise zones for the time when the noise is emitted, rounded up to the nearest dB.

(3)	In this section:

Central National Area (City Hill Precinct)—see schedule 2, section 2.1.

dwelling—see the Planning (General) Regulation 2023, section 6.

entertainment noise means noise generated for entertainment purposes.

Examples

1	amplified music

2	live acoustic music

Note	The Act does not apply to noise made by a person using only the person’s body (see Act, s 8 (1) (c)).

Division 3.2	Noise causing environmental harm

25	Noise taken to cause environmental harm—Act, s 5 (a)

(1)	For the Act, noise emitted from a place in the ACT is taken to cause environmental harm in an affected place if the noise level at the compliance point for the place from which the noise is emitted is louder than the noise standard for that place.

(2)	This section is subject to this division.

Note	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

26	Noise—exception for protecting life or property

Under section 25 (1), noise is not taken to cause environmental harm in an affected place if the noise is emitted in the course of protecting life or property.

Example

a fire or other emergency

27	Noise—exception for reducing environmental harm

Under section 25 (1), noise is not taken to cause environmental harm in an affected place if the noise is emitted in the course of preventing, minimising or remedying another environmental harm.

Example

noise from pumps cleaning a spill

28	Noise—exception if allowed by approval

Under section 25 (1), noise is not taken to cause environmental harm in an affected place if the noise is emitted in the course of conducting an activity for which an approval is in force.

Example

using an amplifier in accordance with an approval

Note	Approval is defined in the dictionary.

29	Noise—other exceptions

Under section 25 (1), noise is not taken to cause environmental harm in an affected place if it is noise mentioned in schedule 2, table 2.3, column 2 and the conditions (if any) mentioned in column 3 for the noise are met.

Division 3.3	Measuring noise

29A	Noise measurement manual

(1)	The Minister may approve a manual (the noise measurement manual) for the measurement of noise for this regulation.

Note	Power given under an Act or statutory instrument to make a statutory instrument (including a manual) includes power to amend or repeal the instrument (see Legislation Act, s 46 (1)).

(2)	Without limiting subsection (1), the noise measurement manual may make provision in relation to the following:

(a)	the procedures for measuring noise;

(b)	the instruments to be used to measure noise;

(c)	modifying factors used to correct noise measurements.

(3)	The noise measurement manual is a disallowable instrument.

Note 1	A disallowable instrument must be notified, and presented to the Legislative Assembly, under the Legislation Act.

Note 2	An amendment or repeal of the manual is also a disallowable instrument (see Legislation Act, s 46 (2)).

30	Measurements to be taken at compliance point

For the Act, for measuring noise being emitted from a place, the noise level must be measured at the compliance point for the place.

Note	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

31	Taking measurements of noise

For the Act, for measuring emission of noise—

(a)	the noise level measured must be L10,T; and

(b)	all measurements must be taken in accordance with the procedures set out in the noise measurement manual.

Note 1	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

Note 2	Noise measurement manual—see s 29A.

32	Compliance point—general rule for leased land

(1)	The compliance point for a parcel of land held under a territory lease is any point as near as practicable to the boundary of the parcel of land.

(2)	This section is subject to the following sections:

(a)	section 34 (Compliance point—exception for environmental protection agreement);

(b)	section 35 (Compliance point—exception for environmental authorisation);

(c)	section 36 (Compliance point—exception for public land with approval);

(d)	section 37 (Compliance point—exception for leased land with boundary with different noise zone);

(e)	section 38 (Compliance point—exception for units, common wall properties and subleases).

33	Compliance point—general rule for unleased land

(1)	The compliance point for unleased land is any point as near as practicable to 5m from the source of the noise.

(2)	This section is subject to the following sections:

(a)	section 34 (Compliance point—exception for environmental protection agreement);

(b)	section 35 (Compliance point—exception for environmental authorisation);

(c)	section 36 (Compliance point—exception for public land with approval).

34	Compliance point—exception for environmental protection agreement

If noise is emitted in the course of conducting an activity for which an environmental protection agreement is in force and the agreement states 1 or more compliance points, each stated point is a compliance point.

Note	Environmental protection agreements are dealt with in the Act, pt 7.

35	Compliance point—exception for environmental authorisation

If noise is emitted in the course of conducting an activity for which an environmental authorisation is in force and the authorisation states 1 or more compliance points, each stated point is a compliance point.

Note	Environmental authorisations are dealt with in the Act, pt 8.

36	Compliance point—exception for public land with approval

If noise is emitted from public land in the course of conducting an activity for which an approval is in force and the approval states 1 or more compliance points, each stated point is a compliance point.

Note	Approval is defined in the dictionary.

37	Compliance point—exception for leased land with boundary with different noise zone

If the noise is emitted from leased land with a boundary that is also a noise zone boundary, and the adjoining noise zone has a different noise standard, the compliance point is any point as near as practicable to the boundary with the noise zone with the lowest noise standard for the time when the noise is emitted.

Note	Noise standard is defined in s 24 and detailed in sch 2.
Noise zone is defined in s 23 and detailed in sch 2.

38	Compliance point—exception for units, common wall properties and subleases

(1)	If noise is emitted from a unit, the compliance point is—

(a)	any point in any of the other units in the units plan; or

(b)	any point as near as practicable to the boundary of the land to which the units plan applies.

(2)	If noise is emitted from premises (the 1st premises) on a territory lease with a common wall with premises (the 2nd premises) on another territory lease, the compliance point is—

(a)	any point in the 2nd premises; or

(b)	any point as near as practicable to the boundary of the 1st premises.

(3)	If noise is emitted from part of a parcel of land held under a territory lease consisting of a sublease of the territory lease, the compliance point is—

(a)	any point in any other part of the parcel of land consisting of another sublease of the territory lease; or

(b)	any point as near as practicable to the boundary of the parcel of land.

Division 3.4	Noise offences

39	Offence to make noise louder than noise standard

(1)	A person commits an offence if—

(a)	the person makes noise in the ACT; and

(b)	the noise causes environmental harm in an affected place.

Maximum penalty:  10 penalty units.

Examples of making noise

1	playing a musical instrument

2	using portable loudspeakers

3	using a leaf blower or vacuum

4	using a power tool

Note	Making noise will only cause environmental harm in an affected place if the noise level is louder than the noise standard for the compliance point for the place from which it is emitted (see s 25). Also, the noise standard for the point may be different at different times of day (see sch 2, part 2.2).

(2)	A person commits an offence if—

(a)	the person is an occupier of a place in the ACT; and

(b)	noise is emitted from a thing in the place; and

(c)	the noise causes environmental harm in an affected place.

Maximum penalty:  10 penalty units.

Examples of things that emit noise

1	a swimming pool or spa pump

2	an air conditioner

3	a building intruder alarm

4	a motor vehicle intruder alarm

40	Sale and hiring of things

(1)	A person commits an offence if—

(a)	the person sells a thing; and

(b)	the sale is the first retail sale of the thing; and

(c)	the sale would, if it took place in NSW, be prohibited under the Protection of the Environment Operations Act 1997 (NSW) as in force from time to time.

Maximum penalty:  10 penalty units.

Example

A person sells, as a first retail sale, an air conditioner without a noise compliance plate. If the NSW Act prohibits its sale without a noise compliance plate, the person commits an offence under this regulation.

Note 1	The Protection of the Environment Operations Act 1997 (NSW), s 136 creates an offence of selling an article of a class prescribed under the regulations if, when in use or operation, the article emits noise in excess of a prescribed level.

Note 2	The Protection of the Environment Operations Act 1997 (NSW) does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B).

(2)	A person commits an offence if—

(a)	the person hires out a thing; and

(b)	a sale of the thing would, if it took place in NSW, be prohibited by the Protection of the Environment Operations Act 1997 (NSW) as in force from time to time.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

Part 4	Water

Division 4.1	Environmental values

41	Environmental values of waterways for pt 4, sch 3 and sch 4

For this part, schedule 3 and schedule 4, the environmental values of a waterway are the environmental values mentioned in an instrument made under the Water Resources Act 2007, section 15A (Environmental values for waterways), for the waterway.

Examples

1	water-based recreation—swimming (REC/1)

2	waterscape (VIEW)

3	stock water supply (STOCK)

42	Certain pollutants taken to cause environmental harm—Act, s 5 (b)

A pollutant mentioned in a part in schedule 3 is taken to cause environmental harm if it enters a waterway with the environmental value for the part.

Example

Schedule 3, part 3.2 prescribes pollutants that are taken to cause environmental harm if they enter a waterway with the environmental value that is used for water-based recreation, for example, Lake Tuggeranong. So under that part, any nitrogen that enters Lake Tuggeranong is taken to cause environmental harm.

43	Ambient environmental standards for waterways

(1)	The ambient environmental standards for a waterway with an environmental value mentioned in a part in schedule 4 are the standards stated for the indicators in the part.

Example

Schedule 4, part 4.5 prescribes the standards for waterways used as stock water supply, for example, the Molonglo River.  Under the part, the Molonglo River should have an acidity between pH 6.5 and 9.2.  If it does not, the river does not meet the ambient environmental standards.

(2)	Subsection (1) does not apply when the waterway’s flow conditions exceed the 10-year 5 percentile high-flow value.

Example

The Cotter River generally meets the ambient environmental standards. Hypothetically, there was excessive rain last spring, which caused the river to flood. The Cotter River rose to the highest level it had been at for 25 years. Under s (2), the ambient environmental standards would not apply during the flood.

Division 4.2	Protection of waterways

44	Pollution of waterways

(1)	A person commits an offence if the person pollutes a waterway.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	In this section:

pollutes a waterway—a person pollutes a waterway if the person—

(a)	allows, causes, or fails to prevent the discharge, emission, depositing, disturbance or escape of a pollutant into or on a waterway; or

(b)	places a pollutant in a position where it is likely to pollute a waterway by entering a stormwater system or other entry into a waterway.

45	Development waste not to enter stormwater system or waterways

(1)	A person commits an offence if the person places soil, sand, building material or waste from development—

(a)	in the stormwater system or a waterway; or

(b)	where it may enter the stormwater system or a waterway.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

46	Areas near development to be kept clear

(1)	A person who is in charge of development commits an offence if the person does not ensure that each footpath, gutter and road adjacent to the development is clear of soil, sand, building materials and waste.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

47	Entries to and exits from land to be kept stable

(1)	The owner of land commits an offence if the owner does not keep the surface of each vehicle entrance to, or exit from, the land stable by applying concrete, gravel or other solid material to the surface.

Maximum penalty:  10 penalty units.

(2)	A person who is in charge of development commits an offence if the person does not keep the surface of each vehicle entrance to, or exit from, the land where the development is being carried out stable by applying concrete, gravel or other solid material to the surface.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

48	Washing vehicles etc—commercial activity

(1)	This section applies to a person who washes a vehicle or other thing in the course of, or incidental to, carrying on a commercial activity.

(2)	The person commits an offence if the person allows run-off from the washing to enter a waterway.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

49	Washing vehicles etc—non-commercial activity

(1)	This section applies to a person who washes a vehicle or other thing on premises where it is ordinarily kept and otherwise than in the course of, or incidental to, carrying on a commercial activity.

(2)	The person commits an offence if—

(a)	there is on the premises—

(i)	a grassed or gravelled area where the vehicle or other thing can be washed and run-off from the area does not flow directly into a waterway; or

(ii)	an area identified as a place where a vehicle or other thing may be washed; and

(b)	the person allows run-off from the washing to enter a waterway.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

50	Discharge of stormwater into receiving waters

(1)	A person commits an offence if—

(a)	the person discharges stormwater from—

(i)	a sediment retention dam; or

(ii)	footings; or

(iii)	another stormwater retention area; and

(b)	the stormwater flows into receiving waters; and

(c)	the suspended solids concentration in the stormwater is higher than 60mg/L.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	In this section:

receiving waters means ground water or a waterway.

Part 5	Polychlorinated biphenyls (PCBs)

51	Definitions for pt 5

In this part:

PCB means a polychlorinated biphenyl with the chemical formula C12H10-nCln, where n is a whole number in the range from 1 to 10 (including 1 and 10).

PCB material means a material that contains more than 2mg PCB/kg.

52	PCBs taken to cause environmental harm—Act, s 5 (b)

(1)	A PCB material is taken to cause environmental harm if it enters the environment.

(2)	A thing containing PCB material is taken to cause environmental harm if it enters the environment.

Part 6	Agvet chemical products

Division 6.1	Interpretation

53	Definitions—pt 6

In this part:

agricultural chemical product—see the agvet code, section 4.

agvet chemical product means—

(a)	an agricultural chemical product; or

(b)	a veterinary chemical product.

agvet code means the Agvet Code of the ACT, under the Agricultural and Veterinary Chemicals Code Act 1994 (Cwlth) as in force from time to time.

Note 1	The Agvet Code of the ACT is set out in the Agricultural and Veterinary Chemicals Code Act 1994 (Cwlth), sch (see that Act, s 5 (1)).

Note 2	The Agricultural and Veterinary Chemicals Code Act 1994 (Cwlth) does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B).

agvet permit means a permit issued under the agvet code, part 7.

approved label, for a registered agvet chemical product—see the agvet code, section 3.

instruction on the approved label for a registered agvet chemical product—see the agvet code, section 3.

registered, for an agvet chemical product, means registered under the agvet code, part 2.

veterinary chemical product—see the agvet code, section 5.

53A	Using registered agvet chemical product in accordance with instructions

(1)	In this part, a registered agvet chemical product is taken to be used in accordance with the instructions on the approved label for the product if—

(a)	the person uses the product—

(i)	at a concentration less than the concentration stated in the instructions; or

(ii)	at a rate of application lower than the rate stated in the instructions; or

(iii)	less frequently than is stated in the instructions; or

(iv)	to control a pest not stated in the instructions; or

(v)	by mixing the product with another substance; and

(b)	the use is not prohibited by the instructions.

(2)	In this section:

pest—see the agvet code, section 3.

53B	Agvet permits—eligible laws for agvet code

For the agvet code, section 3, definition of eligible law, each of the following sections is declared to be an eligible law for the agvet code, section 109, definition of permit, paragraph (b):

(a)	section 55 (Use of agricultural chemical products);

(b)	section 55A (Use of veterinary chemical products).

Note	Under the agvet code, the APVMA may issue a permit allowing a person to do something with an agvet chemical product that would otherwise be an offence under an ACT law declared to be an eligible law (see the agvet code, s 3, definition of eligible law and s 109, definition of permit, par (b)).

Division 6.2	Agvet chemical products causing environmental harm

54	Agvet chemical products taken to cause environmental harm—Act, s 5 (b)

(1)	An agvet chemical product is taken to cause environmental harm if it enters the environment.

(2)	Subsection (1) does not apply if the agvet chemical product enters the environment while being used in accordance with—

(a)	an agvet permit; or

(b)	for a registered agvet chemical product—the instructions on the approved label for the product.

Note	It is an offence for a person to pollute the environment causing environmental harm (see Act, s 137, s 138 and s 139).

Division 6.3	Using agvet chemical products

55	Use of agricultural chemical products

(1)	A person commits an offence if—

(a)	the person stores, uses or disposes of a registered agricultural chemical product; and

(b)	the storage, use or disposal is not in accordance with the instructions on the approved label for the product.

Maximum penalty:  10 penalty units.

(2)	A person commits an offence if—

(a)	the person stores, uses or disposes of an agricultural chemical product; and

(b)	the product is not a registered agricultural chemical product.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

(4)	Subsections (1) and (2) do not apply if—

(a)	the person holds an agvet permit for the product; and

(b)	the storage, use or disposal is in accordance with the permit.

Note	The defendant has an evidential burden in relation to the matters mentioned in s (4) (see Criminal Code, s 58).

55A	Use of veterinary chemical products

(1)	A person commits an offence if—

(a)	the person stores, uses or disposes of a registered veterinary chemical product; and

(b)	the storage, use or disposal is not in accordance with the instructions on the approved label for the product.

Maximum penalty:  10 penalty units.

(2)	A person commits an offence if—

(a)	the person stores, uses or disposes of a veterinary chemical product; and

(b)	the product is not a registered veterinary chemical product.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

(4)	Subsections (1) and (2) do not apply if—

(a)	the person holds an agvet permit for the product; and

(b)	the storage, use or disposal is in accordance with the permit.

(5)	Subsection (1) does not apply if the person—

(a)	is a veterinary practitioner storing, using or disposing of the product in the course of treating an animal in their care; or

(b)	stores, uses or disposes of the product in accordance with instructions provided by a veterinary practitioner in the course of treating an animal in their care.

Note	The defendant has an evidential burden in relation to the matters mentioned in s (4) and s (5) (see Criminal Code, s 58).

55B	Recording use of agricultural chemical products

(1)	A person commits an offence if the person—

(a)	uses an agricultural chemical product; and

(b)	fails to do any of the following:

(i)	record the required information about the use;

(ii)	make the record within 48 hours after the use;

(iii)	keep the record for 2 years after the date of the use.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	The record of use of an agricultural chemical product must include the following information (the required information):

(a)	the trade name of the product;

(b)	the date and time the product was used;

(c)	the rate at which the product was applied or information that would allow the rate to be worked out;

(d)	the crop or commodity to which, or the circumstance in which, the product was applied;

(e)	the address of the parcel of land, and a description of the location within the parcel, where the product was used;

(f)	the name and contact details of the person who used the product;

(g)	for a product used in providing a service—the name and contact details of the recipient of the service;

(h)	for a registered agricultural chemical product—any other information required to be kept by an instruction on the approved label for the product;

(i)	for an agricultural chemical product used under an agvet permit—any other information required to be kept under the permit.

(4)	This section does not apply to the use of an agricultural chemical product if the product is—

(a)	a household product or a home garden product that is—

(i)	ordinarily used for household use; and

(ii)	ordinarily available in a retail store; and

(iii)	applied by hand or by using a hand-held device; or

(b)	used to sanitise pool or spa water.

Note	Under the Agricultural and Veterinary Chemicals Code Regulations 1995 (Cwlth), sch 3, certain pool and spa products are declared to be, or not to be, agricultural chemical products.

(5)	In this section:

hand-held device, for applying an agricultural chemical product, means a device—

(a)	operated manually by a person to apply the product; and

(b)	in which the product is stored before it is applied; and

(c)	that the person is reasonably able to carry while the device is being used to store or apply the product.

Example

a manually operated backpack spray unit

pool or spa means a structure ordinarily holding or using water that is ordinarily used for recreation or mainly for recreation, whether intended for public or private use.

Division 6.4	Training requirements for use of certain agvet chemical products

55C	Definitions—div 6.4

In this division:

approved VET course unit of competency—see section 55E (1)

registered training organisation—see the National Vocational Education and Training Regulator Act 2011 (Cwlth), section 3, as in force from time to time.

Note	The National Vocational Education and Training Regulator Act 2011 (Cwlth) does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B).

restricted agvet chemical product—see the agvet code, section 3, definition of restricted chemical product.

schedule 7 poison means a chemical mentioned in the Poisons Standard, schedule 7.

statement of attainment means a VET statement of attainment under the National Vocational Education and Training Regulator Act 2011 (Cwlth), section 3, as in force from time to time.

VET course—see the National Vocational Education and Training Regulator Act 2011 (Cwlth), section 3, as in force from time to time.

55D	Declared agvet chemical products

(1)	The authority may declare a restricted agvet chemical product, or an agvet chemical product containing a schedule 7 poison, that is—

(a)	a liquid fumigant to be a declared liquid fumigant for section 55F (1); and

(b)	a vertebrate poison to be a declared vertebrate poison for section 55G (1); and

(c)	an avicide to be a declared avicide for section 55H (1); and

(d)	an industrial timber treatment to be a declared industrial timber treatment for section 55I (1); and

(e)	a termiticide to be a declared termiticide for section 55J (1).

(2)	A declaration is a notifiable instrument.

55E	Approved VET course units of competency

(1)	The authority may approve a VET course unit of competency (an approved VET course unit of competency) for the following provisions:

(a)	section 55F (3) (a);

(b)	section 55G (3) (a);

(c)	section 55H (3) (a);

(d)	section 55I (3) (a);

(e)	section 55J (3) (a);

(f)	section 55K (3) (a);

(g)	section 55L (3) (a).

(2)	An approval is a notifiable instrument.

55F	Training—use of declared liquid fumigants

(1)	A person commits an offence if the person uses a declared liquid fumigant.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person holds—

(a)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(b)	a qualification that is substantially equivalent to the statement of attainment mentioned in paragraph (a).

Note	The defendant has an evidential burden in relation to the matters mentioned in s (3) (see Criminal Code, s 58).

55G	Training—use of declared vertebrate poisons

(1)	A person commits an offence if the person uses a declared vertebrate poison.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person holds—

(a)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(b)	a qualification that is substantially equivalent to the statement of attainment mentioned in paragraph (a).

(4)	Subsection (1) does not apply if—

(a)	the declared vertebrate poison is in the form of a prepared bait; and

(b)	the use is in accordance with an environmental authorisation.

Note 1	Environmental authorisation—see the Act, dictionary.

Note 2	It is an offence to conduct a class A activity without an environmental authorisation—see the Act, s 42. The commercial use of a registered agvet chemical product for pest control or turf management is a class A activity—see the Act, sch 1, table 1.2, item 29.

Note 3	The defendant has an evidential burden in relation to the matters mentioned in s (3) and s (4) (see Criminal Code, s 58).

55H	Training—use of declared avicides

(1)	A person commits an offence if the person uses a declared avicide.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person—

(a)	holds—

(i)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(ii)	a qualification that is substantially equivalent to the statement of attainment mentioned in subparagraph (i); and

(b)	has successfully completed an approved avicide training course.

Note	The defendant has an evidential burden in relation to the matters mentioned in s (3) (see Criminal Code, s 58).

(4)	The authority may approve a VET course unit of competency or other training course for this section (an approved avicide training course) if satisfied that it includes appropriate training in—

(a)	identifying pest birds and understanding their behaviour; and

(b)	assessing how to manage pest birds and control them using agvet chemical products.

(5)	An approval is a notifiable instrument.

55I	Training—use of declared industrial timber treatments

(1)	A person commits an offence if the person uses a declared industrial timber treatment.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person holds—

(a)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(b)	a qualification that is substantially equivalent to the statement of attainment mentioned in paragraph (a).

Note	The defendant has an evidential burden in relation to the matters mentioned in s (3) (see Criminal Code, s 58).

55J	Training—use of declared termiticides

(1)	A person commits an offence if the person uses a declared termiticide as a pre-construction termiticide product.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person holds—

(a)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(b)	a qualification that is substantially equivalent to the statement of attainment mentioned in paragraph (a).

Note	The defendant has an evidential burden in relation to the matters mentioned in s (3) (see Criminal Code, s 58).

(4)	For subsection (1), a person uses a declared termiticide as a pre-construction termiticide product if the person uses the declared termiticide to install a chemical soil barrier to impede and discourage the concealed entry of termites into a structure before construction of the structure is completed.

55K	Training—use of other agricultural chemical products containing schedule 7 poisons

(1)	A person commits an offence if—

(a)	the person uses an agricultural chemical product; and

(b)	the product contains a schedule 7 poison; and

(c)	the product is not any of the following:

(i)	a declared liquid fumigant;

(ii)	a declared vertebrate poison;

(iii)	a declared avicide;

(iv)	a declared industrial timber treatment;

(v)	a declared termiticide.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person holds—

(a)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(b)	a qualification that is substantially equivalent to the statement of attainment mentioned in paragraph (a).

(4)	Subsection (1) does not apply if—

(a)	the person uses the product—

(i)	as part of a farming or grazing activity; and

(ii)	under the supervision of another person (the supervisor) who holds a qualification mentioned in subsection (3); and

(b)	before the use, the supervisor—

(i)	chooses the product and prepares it for the use; and

(ii)	checks that any equipment that is to be used to apply the product is in good working order; and

(iii)	instructs the user how to use the product; and

(c)	the person has used the product on not more than—

(i)	4 days in the last month; and

(ii)	12 days in the last year.

Note	The defendant has an evidential burden in relation to the matters mentioned in s (3) and s (4) (see Criminal Code, s 58).

55L	Training—use of registered veterinary chemical products containing schedule 7 poisons

(1)	A person commits an offence if—

(a)	the person uses a registered veterinary chemical product; and

(b)	the product contains a schedule 7 poison; and

(c)	the person is not a veterinary practitioner.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	Subsection (1) does not apply if the person holds—

(a)	a VET statement of attainment issued by a registered training organisation stating that the person has successfully completed each approved VET course unit of competency required for this section; or

(b)	a qualification that is substantially equivalent to the statement of attainment mentioned in paragraph (a).

(4)	Subsection (1) does not apply if the person—

(a)	holds a FeedSafe accreditation for manufacturing animal feed; and

(b)	uses the product in manufacturing animal feed at a place where an accredited animal feed manufacturer holds a FeedSafe accreditation for manufacturing animal feed.

Note	The defendant has an evidential burden in relation to the matters mentioned in s (3) and s (4) (see Criminal Code, s 58).

(5)	In this section:

FeedSafe accreditation means the accreditation given by SFMCA under the quality assurance accreditation program known as FeedSafe operated by SFMCA.

SFMCA means the Stock Feed Manufacturers’ Council of Australia Incorporated ABN 84 816 063 155.

Part 7	Controlled waste

Division 7.1	Interpretation

56	Definitions for pt 7

In this part:

agency means the entity nominated by a jurisdiction for the NEPM.

consignment authorisation means an approval allowing the movement of controlled waste into a jurisdiction of destination given by an agency or a facility delegated by the agency in the jurisdiction.

controlled waste means a thing mentioned in the NEPM, schedule A, list 1 (Waste categories) if it has 1 or more of the characteristics mentioned in the NEPM, schedule A, list 2 (Characteristics of controlled wastes).

facility means a place where controlled waste is received.

jurisdiction of destination, for movement of controlled waste, means the jurisdiction where the facility is located that the waste is being moved to.

jurisdiction of origin, for movement of controlled waste, means the jurisdiction where the waste is being moved from.

jurisdiction of transit, for movement of controlled waste, means a jurisdiction through which the waste is moved that is not the jurisdiction of origin or the jurisdiction of destination.

NEPM means the National Environment Protection (Movement of Controlled Waste between States and Territories) Measure, as in force from time to time, made under the national scheme laws.

Note 1	The national scheme laws are the National Environment Protection Council Act 1994 and the National Environment Protection Council Act 1994 (Cwlth).

Note 2	The NEPM does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B). The NEPM is accessible at www.legislation.gov.au.

producer means a person who produces controlled waste.

transporter means a person who moves controlled waste—

(a)	from a jurisdiction of origin to a jurisdiction of destination; or

(b)	through a jurisdiction of transit.

waste means a thing, whether valuable or not, that is—

(a)	discarded; or

(b)	rejected; or

(c)	unwanted; or

(d)	surplus; or

(e)	abandoned; or

(f)	intended for recycling, reprocessing, recovery, reuse, or purification.

Division 7.2	Movement of controlled waste between states

57	Application of div 7.2

This division does not apply to the following:

(a)	the movement of controlled waste only between places within the ACT;

Note	For the movement of regulated waste (including controlled waste) only between places within the ACT, see the Act, sch 1, table 1.2, item 9.

(b)	the movement of controlled waste in accordance with the Hazardous Waste (Regulation of Exports and Imports) Act 1989 (Cwlth), as in force from time to time;

Note	The Hazardous Waste (Regulation of Exports and Imports) Act 1989 (Cwlth) does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B).

(c)	the movement of controlled waste in an emergency to protect life, the environment or property;

(d)	the movement of controlled waste to be used in analysis for waste categorisation;

(e)	the movement of controlled waste to be used in research if the movement is approved by the agency in the jurisdiction of destination;

(f)	the movement of controlled waste by pipeline;

(g)	the movement of containers in which there remains a small amount of residual controlled waste for refilling with the same substance.

58	Consignment authorisation for controlled waste

(1)	A producer commits an offence if the producer—

(a)	moves controlled waste into a jurisdiction of destination; and

(b)	does not have a consignment authorisation for the movement of the waste.

Maximum penalty:  10 penalty units.

(2)	A producer commits an offence if—

(a)	the producer consigns controlled waste to a transporter; and

(b)	the transporter does not hold an environmental authorisation for the consignment.

Maximum penalty:  10 penalty units.

(3)	A person in charge of a facility commits an offence if the person—

(a)	accepts a consignment of controlled waste; and

(b)	does not have a consignment authorisation for the movement of the waste.

Maximum penalty:  10 penalty units.

(4)	An offence against this section is a strict liability offence.

59	Information to accompany controlled waste

(1)	A producer commits an offence if—

(a)	the producer consigns controlled waste to a transporter; and

(b)	the producer does not give the transporter the information mentioned in the NEPM, schedule B, part 1 for the controlled waste in written or electronic form.

Maximum penalty:  10 penalty units.

(2)	A transporter commits an offence if—

(a)	the transporter moves controlled waste; and

(b)	the transporter does not keep the following information, in written or electronic form, with the controlled waste during the movement:

(i)	information, provided by the producer, mentioned in the NEPM, schedule B, part 1 for the controlled waste;

(ii)	information mentioned in the NEPM, schedule B, part 2 for the controlled waste.

Maximum penalty:  10 penalty units.

(3)	An offence against this section is a strict liability offence.

60	Records of movement of controlled waste

(1)	A producer commits an offence if the producer does not keep a copy of the information mentioned in section 59 (1) (b) for each consignment of controlled waste for at least 1 year after the date of the movement of the controlled waste.

Maximum penalty:  5 penalty units.

(2)	A transporter commits an offence if the transporter does not keep a copy of the information mentioned in section 59 (2) (b) (i) and (ii) for each consignment of controlled waste for at least 1 year after the date of the movement of the controlled waste.

Maximum penalty:  5 penalty units.

(3)	An offence against this section is a strict liability offence.

61	Notification of receipt of controlled waste

(1)	A producer commits an offence if the producer—

(a)	moves controlled waste into a jurisdiction of destination; and

(b)	does not receive, within 14 days after the day when the controlled waste was due to arrive at the facility, the information mentioned in the NEPM, schedule B, part 1 for the controlled waste from the agency or facility that gave the consignment authorisation for the controlled waste; and

(c)	does not tell the environment protection authority in writing that the producer has not received the information.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

Division 7.3	Controlled waste taken to cause environmental harm

62	Controlled waste taken to cause environmental harm—Act, s 5 (b)

Controlled waste is taken to cause environmental harm if it enters the environment.

Part 8	Sampling and analysis of pollutants

63	Application of pt 8

This part does not apply to the sampling and analysis of noise.

64	People who may conduct analysis

(1)	The analysis of a pollutant must be conducted by a person employed as an analyst in any of the following organisations:

(a)	an Australian university;

(b)	a laboratory operated by or on behalf of the Territory, the Commonwealth or a State;

(c)	a laboratory accredited by the National Association of Testing Authorities if the laboratory’s scope of accreditation includes analysis of the pollutant;

Note	For information about the National Association of Testing Authorities—see www.nata.com.au.

(d)	a laboratory approved under subsection (2).

(2)	The Minister may approve a laboratory for this section.

(3)	An approval is a disallowable instrument.

Note	A disallowable instrument must be notified, and presented to the Legislative Assembly, under the Legislation Act.

65	Procedures and protocols

Sampling and analysis of a pollutant must be conducted in accordance with—

(a)	a national environment protection protocol for the purpose in a national environment protection measure, as in force from time to time, made under the national scheme laws; or

Note	The national scheme laws are the National Environment Protection Council Act 1994 and the National Environment Protection Council Act 1994 (Cwlth).

(b)	a procedure for that purpose provided under a law of the Territory, the Commonwealth or a State; or

(c)	a protocol for the purpose in a standard published by or on behalf of Standards Australia; or

(d)	a protocol for the purpose in a standard published by or on behalf of the International Standards Organisation; or

(e)	a protocol for the purpose published by a recognised entity.

Note	A law or instrument applied by this section does not need to be notified under the Legislation Act because s 47 (5) and (6) do not apply (see Act, s 164B). A law or instrument applied by this section is available:

	for a law of another jurisdiction—on the jurisdiction’s legislation website

	for a standard published by or on behalf of Standards Australia—at www.standards.org.au

	for another law or instrument—in accordance with the Act, s 164B (3).

66	What is a recognised entity?

(1)	A recognised entity is—

(a)	the Territory, the Commonwealth or a State; or

(b)	the environment protection authority; or

(c)	an entity established under a law of the Commonwealth or a State that has functions corresponding, or substantially corresponding, to the functions of the environment protection authority; or

(d)	the National Environment Protection Council (NEPC) established by the national scheme laws; or

Note	The national scheme laws are the National Environment Protection Council Act 1994 and the National Environment Protection Council Act 1994 (Cwlth).

(e)	the Commonwealth Scientific and Industrial Research Organisation (CSIRO) established by the Science and Industry Research Act 1949 (Cwlth), as in force from time to time; or

(f)	the Environment Protection and Heritage Council (EPHC); or

(g)	a co-operative research centre established under the Commonwealth Co-operative Research Centre Program; or

(h)	an Australian university; or

(i)	the United States Environmental Protection Agency; or

(j)	the American Public Health Association; or

(k)	an entity approved by the Minister under subsection (2).

Note	For information about—

	the NEPC—see www.nepc.gov.au

	the CSIRO—see www.csiro.au

	the Environment Protection and Heritage Council—see www.ephc.gov.au

	the Commonwealth Co-operative Research Centre Program—see www.crc.gov.au

	the United States Environmental Protection Agency—see www.epa.gov

	the American Public Health Association—see www.apha.org.

(2)	The Minister may approve an entity as a recognised entity.

(3)	An approval is a disallowable instrument.

Note	A disallowable instrument must be notified, and presented to the Legislative Assembly, under the Legislation Act.

Part 8A	Erosion and sediment control measures for development sites

66A	Meaning of erosion and sediment control measures—pt 8A

In this part:

erosion and sediment control measures means measures to prevent or limit pollution on a development site.

Examples—erosion and sediment control measures

	diversion structures

	dust suppression

	geotextile sediment and control barriers

	sediment control ponds

	stabilised access or egress points

66B	Development sites 0.3ha or greater

A person who is in charge of development on a development site commits an offence if—

(a)	the site is 0.3ha or greater; and

(b)	the person does not install and maintain on the site erosion and sediment control measures required under the environmental protection agreement that is in effect in relation to the development.

Maximum penalty:  10 penalty units.

66C	Development sites less than 0.3ha

(1)	A person who is in charge of development on a development site commits an offence if—

(a)	the site is less than 0.3ha; and

(b)	the person does not install and maintain on site erosion and sediment control measures—

(i)	if it is a condition of a development approval that measures be installed and maintained—in accordance with the condition; or

(ii)	otherwise as approved by a certifier for building work.

Maximum penalty:  10 penalty units.

(2)	An offence against this section is a strict liability offence.

(3)	In this section:

certifier, for building work—see the Building Act 2004, dictionary.

Part 9	Miscellaneous

70	Entity to be consulted—Act, s 25 (5)

The following entities are prescribed:

(a)	the Conservation Council ACT Region Incorporated (ABN 68 248 339 828);

(b)	the Canberra Business Chamber Ltd (ACN 600 390 538).

Schedule 1	Exceptions—chimney emissions and open-air fires

Part 1.1	Chimney emissions

(see s 8 and s 9)

Table 1.1

| column 1 item | column 2 source | column 3 conditions |
| --- | --- | --- |
| 1 | smoke from a source stated in the national emission guidelines, table 1 that is emitted into the air through a chimney | (a) the concentration of smoke is higher than the standard stated in the table for the source for 20 minutes or less in a 24-hour period; and (b) the emission is only because of lighting a boiler or incinerator from cold; and (c) all steps that are practicable and reasonable are taken to— (i) prevent the emission; or (ii) if prevention is not reasonably practicable—minimise the emission |
| 2 | smoke from a source stated in the national emission guidelines, table 1 that is emitted into the air through a chimney | (a) the emission is only because of blowing the tubes of a boiler; and (b) all steps that are practicable and reasonable are taken to— (i) prevent the emission; or (ii) if prevention is not reasonably practicable—minimise the emission |
| 3 | soot from a source stated in the national emission guidelines, table 1 that is emitted into the air through a chimney | (a) the concentration of soot is higher than the standard stated in the table for the source for 20 minutes or less in a 24-hour period; and (b) the emission is only because of lighting a boiler or incinerator from cold; and (c) all steps that are practicable and reasonable are taken to— (i) prevent the emission; or (ii) if prevention is not reasonably practicable—minimise the emission |
| 4 | soot from a source stated in the national emission guidelines, table 1 that is emitted into the air through a chimney | (a) the emission is only because of blowing the tubes of a boiler; and (b) all steps that are practicable and reasonable are taken to— (i) prevent the emission; or (ii) if prevention is not reasonably practicable—minimise the emission |

Part 1.2	Open-air fires

(see s 8 and s 9)

Table 1.2

| column 1 item | column 2 activity | column 3 conditions |
| --- | --- | --- |
| 1 | cooking or heating food or drink |  |
| 2 | heating | (a) the fire is outside a built-up area; or (b) for a fire in a built-up area—the fire is in a fireplace or container that will contain the fire |
| 3 | teaching firefighting methods | the teaching is authorised by the chief officer (fire and rescue service) or chief officer (rural fire service) |
| 4 | burning plant matter in course of primary production | the fire is outside a built-up area |
| 5 | destroying a thing | the destruction is required under the Biosecurity Act 2023 |
| 6 | celebration or similar activity | the celebration or activity is held— (a) on residential land; and (b) during the period starting on the Saturday 9 days before the Queen’s birthday public holiday and ending on the Sunday 6 days after the public holiday Note The Queen’s birthday public holiday is the 2nd Monday in June (see Holidays Act 1958, s 3 (1) (a) (viii)) |
| 7 | display, ceremony, celebration or similar activity | the display, ceremony, celebration or activity— (a) is authorised by the emergency services commissioner; and (b) is conducted in accordance with an approval; and (c) is either— (i) held on unleased land; or (ii) held with the consent of the lessee on leased land that is not residential land Note Approval is defined in the dictionary. |

Schedule 2	Noise zones, noise standards and conditions

(see s 23, s 24 and s 29)

Note	Noise emitted from land in the ACT may affect NSW land. Accordingly, this regulation prescribes the noise standard for certain NSW land.

Part 2.1	Noise zones

2.1	Definitions for pt 2.1

In this part:

broadacre zone means an area designated as a broadacre zone in the territory plan.

CCEP core means the area identified as the core area within the city centre entertainment precinct in the territory plan.

CCEP frame means the area identified as the frame area within the city centre entertainment precinct in the territory plan.

Central National Area (City Hill Precinct) means the area identified as City Hill Precinct in the national capital plan.

Note	The national capital plan does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B). The national capital plan is accessible at www.legislation.gov.au.

Central National Area (Fairbairn) means the area identified as Central National Area (Fairbairn) in the national capital plan.

Central National Area (Parliamentary Zone and Other Areas) means the following areas identified in the national capital plan:

(a)	Central National Area (The Parliamentary Zone);

(b)	Central National Area (Barton);

(c)	sections 39, 40 and 41 of Central National Area (Yarralumla);

(d)	Central National Area (Acton);

(e)	Central National Area (Constitution Avenue and Anzac Parade);

(f)	Central National Area (Duntroon, ADFA and Campbell Park);

(g)	Central National Area (Lake Burley Griffin and Foreshores).

city centre means the area identified as the city in the territory plan.

commercial CZ3 zone means an area designated as a commercial CZ3 (Services Zone) zone in the territory plan.

commercial CZ4 zone means an area designated as a commercial CZ4 (Local Centre Zone) zone in the territory plan.

commercial CZ5 zone means an area designated as a commercial CZ5 (Mixed Use Zone) zone in the territory plan.

community facility zone means an area designated as a community facility zone in the territory plan.

corridor site means an area identified as a corridor site in the territory plan.

group centre means an area identified as a group centre in the territory plan.

industrial zone means an area designated as an industrial zone in the territory plan.

leisure and accommodation zone means an area designated as a leisure and accommodation zone in the territory plan.

national capital plan means the national capital plan as in force from time to time.

Note	National capital plan is defined in the Legislation Act, dict, pt 1.

office site means an area identified as an office site in the territory plan.

Queanbeyan city business zone means a business zone under the Queanbeyan Local Environmental Plan 1998, as in force from time to time, made under the Environmental Planning and Assessment Act 1979 (NSW).

Queanbeyan city industrial zone means an industrial zone under the Queanbeyan Local Environmental Plan 1998, as in force from time to time, made under the Environmental Planning and Assessment Act 1979 (NSW).

Queanbeyan city special uses zone means a special uses zone under the Queanbeyan Local Environmental Plan 1998, as in force from time to time, made under the Environmental Planning and Assessment Act 1979 (NSW).

restricted access recreation zone means an area designated as a restricted access recreation zone in the territory plan.

town centre means an area identified as a town centre in the territory plan.

TSZ2 services zone means an area identified as a TSZ2 (Services Zone) zone in the territory plan.

Table 2.1

| column 1 item | column 2 noise zone | column 3 ACT land | column 4 NSW land |
| --- | --- | --- | --- |
| - 1 | zone A | land in an industrial zone | land in the Queanbeyan city industrial zone |
| - 2 | zone B1 | land in the city centre or a town centre, other than land in the CCEP core and CCEP frame |  |
| - 3 | zone B2 | land in the Central National Area (City Hill Precinct), other than land in the CCEP frame | land in the Queanbeyan city business zone |
| - 4 | zone B3 | land in the CCEP core |  |
| - 5 | zone B4 | land in the CCEP frame |  |
| - 6 | zone C1 | land in a group centre |  |
| - 7 | zone C2 | land in a corridor site or an office site |  |
|  |  | land in the Central National Area (Parliamentary Zone and Other Areas) |  |
| - 8 | zone D | land (other than land in the city centre, town centres and group centres) in a commercial CZ4 zone |  |
| - 9 | zone E | land (other than land in the city centre, town centres and group centres) in—  a restricted access recreation zone  a broadacre zone |  |
| - 10 | zone F | land (other than land in the city centre, town centres and group centres) in— -  a commercial CZ3 zone -  a commercial CZ5 zone (other than land in zone FA) -  a TSZ2 services zone -  a community facility zone -  a leisure and accommodation zone | land in the Queanbeyan city special uses zone |
| - 11 | zone FA | land (other than land in the city centre, town centres and group centres) in a commercial CZ5 zone adjoining— -  the CCEP frame and -  zone G |  |
| - 12 | zone G | all other land, other than land in the Central National Area (Fairbairn) | all other NSW land |

Note	The territory plan is available at www.legislation.act.gov.au.

Part 2.2	Noise standards

Table 2.2	Noise zones other than zones B1, B3, B4 and C1

| column 1 item | column 2 noise zone | column 3 noise standard (dB(A)) Monday-Saturday 7 am–10 pm Sunday and public holiday 8 am–10 pm | column 4 noise standard (dB(A)) any other time not mentioned in column 3 |
| --- | --- | --- | --- |
| 1 | zone A | 65 | 55 |
| 2 | zone B2 | 60 | 50 |
| 3 | zone C2 | 55 | 45 |
| 4 | zone D | 50 | 35 |
| 5 | zone E | 50 | 40 |
| 6 | zone F | same as the noise standard for the adjoining noise zone with the loudest noise standard for the time period |  |
| - 7 | zone FA | 60 | 50 |
| 8 | zone G | 45 | 35 |

Table 2.2A	Noise zone B1

| column 1 item | column 2 noise zone | column 3 noise standard (dB(A)) Monday-Thursday 7 am–10 pm Friday and Saturday 7 am–12 am Sunday and public holiday 8 am–10 pm | column 4 noise standard (dB(A)) any other time not mentioned in column 3 |
| --- | --- | --- | --- |
| 1 | zone B1 | 60 | 50 |

Table 2.2AA	Noise zones B3 and B4—entertainment noise from place other than dwelling

| column 1 item | column 2 noise zone | column 3 noise standard (dB(A)) Sunday-Wednesday and public holiday 10 am–11 pm Thursday-Saturday 10 am–1 am | column 4 noise standard (dB(A)) any other time not mentioned in column 3 | column 5 noise standard (dB(C)) Sunday-Wednesday and public holiday 10 am–11 pm Thursday-Saturday 10 am–1 am | column 6 noise standard (dB(C)) any other time not mentioned in column 5 |
| --- | --- | --- | --- | --- | --- |
| 1 | zone B3 | 75 | 60 | 90 | 75 |
| 2 | zone B4 | 65 | 55 | 80 | 70 |

Table 2.2B	Noise zone C1

| column 1 item | column 2 noise zone | column 3 noise standard (dB(A)) Monday-Thursday 7 am–10 pm Friday and Saturday 7 am–11 pm Sunday and public holiday 8 am–10 pm | column 4 noise standard (dB(A)) any other time not mentioned in column 3 |
| --- | --- | --- | --- |
| 1 | zone C1 | 55 | 45 |

Part 2.3	Noise conditions

2.2	Interpretation for pt 2.3

(1)	In this part:

building intruder alarm means a device that—

(a)	incorporates or connects to a sounding device; and

(b)	on being triggered, causes the sounding device to emit sound.

habitable room means a room other than a garage, storage area, bathroom, laundry, toilet or pantry.

light rail—see the Road Transport (General) Act 1999, dictionary.

major road means an area identified in the territory plan as being in the transport zone.

Note	The territory plan is available at www.legislation.act.gov.au.

motor vehicle intruder alarm means a device that—

(a)	incorporates or connects to a sounding device; and

(b)	on being triggered, causes the sounding device to emit sound; and

(c)	is attached to, or forms part of, a motor vehicle for use as an intruder alarm (whether or not the device is also designed to deny access to the motor vehicle or to the motor vehicle’s steering, fuel or other systems).

network facility—see the Utilities Act 2000, dictionary.

reserve—see the Nature Conservation Act 2014, section 169.

Note	Reserves include wilderness areas, national parks, nature reserves, catchment areas and other areas of public land.

territory network facility—see the Utilities Act 2000, dictionary.

(2)	For this part, an intruder alarm that sounds intermittently is taken to sound continuously for the purpose of measuring the period of time for which it sounds.

Table 2.3

| column 1 item | column 2 noise | column 3 conditions |
| --- | --- | --- |
| 1 | noise emitted in the course of primary production | (a) the noise is emitted— (i) between 7 am and 10 pm on Monday to Saturday; or (ii) between 8 am and 10 pm on Sunday or a public holiday; and (b) the equipment used is maintained and operated in accordance with the manufacturer’s instructions |
| 2 | noise emitted in the course of managing a reserve | (a) the noise is emitted— (i) between 7 am and 10 pm on Monday to Saturday; or (ii) between 8 am and 10 pm on Sunday or a public holiday; and (b) the equipment used is maintained and operated in accordance with the manufacturer’s instructions |
| 3 | noise emitted in the course of maintaining a garden or grounds on residential land | (a) the noise is emitted— (i) between 7 am and 8 pm on Monday to Saturday; or (ii) between 8 am and 8 pm on Sunday or a public holiday; and (b) the equipment used is maintained and operated in accordance with the manufacturer’s instructions |
| 4 | noise emitted in the course of maintaining a garden or grounds on land other than residential land | (a) the noise is emitted— (i) between 7 am and 10 pm on Monday to Saturday; or (ii) between 8 am and 10 pm on Sunday or a public holiday; and (b) the equipment used is maintained and operated in accordance with the manufacturer’s instructions |
| 5 | noise emitted in the course of maintaining or repairing something | (a) the noise is emitted— (i) between 7 am and 8 pm on Monday to Saturday; or (ii) between 8 am and 8 pm on Sunday or a public holiday; and (b) any noise exceeding a zone noise standard is emitted for periods totalling not more than 40 hours in any 8-week period; and (c) the equipment used is maintained and operated in accordance with the manufacturer’s instructions |
| 6 | noise emitted in the course of building work for which a building approval under the Building Act 2004, division 3.3 is required | (a) all of the following: (i) the noise is emitted from a place in noise zone A or B; and (ii) all relevant noise reduction measures mentioned in AS 2436, as in force from time to time, are implemented; and (iii) the noise is emitted between 6 am and 8 pm; or (b) all of the following: (i) the noise is emitted from a place other than a place in noise zone A or B; and (ii) the building work will be finished within 2 weeks after the day it started; and (iii) all relevant noise reduction measures mentioned in AS 2436, as in force from time to time, are implemented; and (iv) the noise is emitted— (A) between 7 am and 8 pm on Monday to Saturday; or (B) between 8 am and 8 pm on Sunday or a public holiday; or (c) all of the following: (i) the noise is emitted from a place other than a place in noise zone A or B; and (ii) the building work will not be finished within 2 weeks after the day it started; and (iii) all relevant noise reduction measures mentioned in AS 2436, as in force from time to time, are implemented; and (iv) the noise is emitted between 7 am and 6 pm on Monday to Saturday, excluding public holidays |
| 7 | noise emitted in the course of— (a) building work for which a building approval under the Building Act 2004, division 3.3 is not required; or (b) internal building work; or (c) maintenance and repair work on a building. | (a) the noise is emitted— (i) between 7 am and 8 pm on Monday to Saturday; or (ii) between 8 am and 8 pm on Sunday or a public holiday; and (b) the noise level at the affected place is only louder than the noise standard for the affected place at the time when the noise is emitted for less than 40 hours in an 8-week period; and (c) the equipment used is maintained and operated in accordance with the manufacturer’s instructions |
| 8 | noise emitted by a motor vehicle intruder alarm in a motor vehicle | (a) the alarm is sounded, whether continuously or intermittently— (i) for a motor vehicle manufactured before 1 September 1997—for less than 90 seconds after the alarm first sounds; or (ii) for a motor vehicle manufactured on or after 1 September 1997—for less than 45 seconds after the alarm first sounds; or (b) a window or windscreen in the motor vehicle is broken or removed; or (c) the motor vehicle is involved in an accident; or (d) the motor vehicle is illegally broken into; or (e) there is an illegal attempt to break into the motor vehicle |
| 9 | noise emitted by a building intruder alarm in premises | (a) for an alarm installed before 1 December 1997— (i) it automatically ceases to sound, whether continuously or intermittently, within 10 minutes after being activated by a detection device; and (ii) it cannot be reactivated (except by a different detection device) until it has been manually or automatically reset; or (b) for an alarm installed on or after 1 December 1997— (i) it automatically ceases to sound, whether continuously or intermittently, within 5 minutes after being activated by a detection device; and (ii) it cannot be reactivated (except by a different detection device) until it has been manually reset; or (c) it cannot be heard in a habitable room in any residential premises (whether or not a door or window to the room is open) |
| 10 | noise emitted in the course of mobile selling from a vehicle— (a) using a loudspeaker, loud hailer, chime, horn, siren, bell or whistle; and (b) for the purpose of informing people that articles are on sale from the vehicle | the noise is emitted— (a) only while the vehicle is moving; and (b) between 8 am and 8 pm; and (c) for 30 seconds or less in a 3-minute period; and (d) no more than once in any 1-hour period in the same road between the closest crossroads in either direction |
| 11 | noise emitted because of a party from a parcel of land held under a territory lease | (a) the noise is music; and (b) the music is only emitted between 6 pm on 31 December in a year and 12.30 am on 1 January the next year; and (c) the music is not louder than 60 dB(A) at any point as near as practicable to the boundary of the parcel of land |
| 12 | noise emitted because of a party from a road or road related area | (a) the noise is music; and (b) the music is only emitted between 6 pm on 31 December in a year and 12.30 am on 1 January the next year; and (c) the music is not louder than 60 dB(A) at any point as near as practicable to the boundary of any parcel of land held under a territory lease |
| 13 | noise emitted in the course of warming up a motor vehicle engine | (a) the noise is emitted for— (i) 5 minutes or less; or (ii) if a longer period is stated in the vehicle’s operating manual—the longer period or less; and (b) the vehicle complies with the Road Transport (Vehicle Registration) Act 1999 |
| 14 | noise emitted in the course of a religious service | (a) the noise is not amplified; and (b) the noise is only emitted— (i) between 7 am and 10 pm on Monday to Saturday; or (ii) between 8 am and 10 pm on Sunday or a public holiday |
| 15 | noise emitted by portable loudspeakers | the noise— (a) is emitted from public land; and (b) is in accordance with an approval; and (c) is emitted— (i) between 7 am and 8 pm on Monday to Saturday; or (ii) between 8 am and 8 pm on Sunday or a public holiday Note Approval is defined in the dictionary |
| 16 | noise emitted in the course of constructing or maintaining a major road, a dedicated bus way, a railway, or a light rail |  |
| 17 | noise emitted in the course of constructing or maintaining a road, other than a major road | the noise is emitted— (a) between 7 am and 8 pm on Monday to Saturday; or (b) between 8 am and 8 pm on Sunday or a public holiday |
| 18 | noise emitted in the course of commercial collection of waste from commercial premises | the collection is in accordance with an accredited code of practice under the Act, part 5 |
| 19 | noise emitted in the course of carrying out maintenance or repair of a network facility or territory network facility | the noise is emitted— (a) between 7 am and 10 pm on Monday to Saturday; or (b) between 8 am and 10 pm on Sunday or a public holiday |
| 20 | noise emitted in the course of conducting a test to decide a noise level for the Act | (a) all of the following: (i) the noise is emitted— (A) between 7 am and 8 pm on Monday to Saturday; or (B) between 8 am and 8 pm on Sunday or a public holiday; and (ii) the noise is not emitted for longer than 2 hours in a 1-week period; and (iii) the noise is emitted for the minimum time necessary to complete the tests; or (b) all of the following: (i) the noise is emitted at a time other than a time mentioned in subsection (1) (a); and (ii) the environment protection authority is satisfied that it is not reasonably practicable to conduct the test during the times mentioned in subsection (1) (a) because the level of ambient noise during those times is likely to prevent effective testing; and (iii) the noise is not emitted for longer than 2 hours in a 1-week period; and (iv) the noise is emitted for the minimum time necessary to complete the tests |
| 21 | noise emitted in the course of— (a) building work that requires a building approval under the Building Act 2004, division 3.3; or (b) development | (a) all of the following: (i) the noise is emitted from a place in noise zone A or B; (ii) all relevant noise reduction measures mentioned in AS 2436, as in force from time to time, are implemented; (iii) the noise is emitted between 6 am and 8 pm; or (b) all of the following: (i) the noise is emitted from a place other than a place in noise zone A or B; (ii) the building work or development will be finished within 2 weeks after the day it started; (iii) all relevant noise reduction measures mentioned in AS 2436, as in force from time to time, are implemented; (iv) the noise is emitted— (A) between 7 am and 8 pm on Monday to Saturday; or (B) between 8 am and 8 pm on Sunday or a public holiday; or (c) all of the following: (i) the noise is emitted from a place other than a place in noise zone A or B; (ii) the building work or development will not be finished within 2 weeks after the day it started; (iii) all relevant noise reduction measures mentioned in AS 2436, as in force from time to time, are implemented; (iv) the noise is emitted between 7 am and 6 pm on Monday to Saturday, excluding public holidays |

Example for item 10

selling ice-cream from a van and using music to attract buyers as the van moves around

Note 1	The Act does not apply to noise made by a motor vehicle being driven on a road, unless it—

(a)	is being driven on the road to conduct reliability trials or speed tests; and

(b)	has been exempted under the road transport legislation from the provisions of that legislation about attaching silencers to the exhaust pipes of motor vehicles, rules of the road and speed limits during the trials or tests (see Act, s 8 (1)).

Note 2	A reference to an Act includes a reference to the statutory instruments made or in force under the Act, including any regulation (see Legislation Act, s 104).

Note 3	AS 2436 may be purchased at www.standards.org.au.

Schedule 3	Pollutants entering waterways taken to cause environmental harm

(see s 42)

Part 3.1	Domestic water supply quality (DOM1/2/3)

Table 3.1.1	Group A—inorganic chemicals

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | aluminium |
| 2 | ammonia |
| 3 | antimony |
| 4 | arsenic |
| 5 | barium |
| 6 | boron |
| 7 | cadmium |
| 8 | chloride |
| 9 | chromium |
| 10 | copper |
| 11 | cyanide |
| 12 | fluoride |
| 13 | hydrogen sulfide |
| 14 | iodide |
| 15 | iron |
| 16 | lead |
| 17 | manganese |
| 18 | mercury |
| 19 | molybdenum |
| 20 | nickel |
| 21 | nitrate |
| 22 | nitrite |
| 23 | selenium |
| 24 | silver |
| 25 | sodium |
| 26 | sulfate |
| 27 | zinc |

Table 3.1.2	Group B—organic compounds

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | acrylamide |
| 2 | benzene |
| 3 | carbon tetrachloride |
| 4 | chlorobenzene |
| 5 | dichlorobenzenes— |
| 5.1 | 1,2-dichlorobenzene |
| 5.2 | 1,3-dichlorobenzene |
| 5.3 | 1,4-dichlorobenzene |
| 6 | dichloroethanes— |
| 6.1 | 1,2-dichloroethane |
| 7 | dichloroethenes— |
| 7.1 | 1,1-dichloroethene |
| 7.2 | 1,2-dichloroethene |
| 8 | dichloromethane (methylene chloride) |
| 9 | ethylbenzene |
| 10 | ethylenediamine tetracetic acid (EDTA) |
| 11 | hexachlorobutadiene |
| 12 | nitrilotriacetic acid |
| 13 | organotins— |
| 13.1 | tributyltin oxide |
| 14 | plasticisers— |
| 14.1 | di (2-ethylhexyl) phthalate |
| 14.2 | polycyclic aromatic hydrocarbons (PAHs) |
| 14.3 | styrene (vinylbenzene) |
| 14.4 | tetrachloroethene |
| 14.5 | toluene |
| 14.6 | trichlorobenzenes (total) |
| 14.7 | vinyl chloride |
| 14.8 | xylene |

Table 3.1.3	Group C—disinfection by-products

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | chloramine (see mono-chloramine) |
| 2 | chlorine (free) |
| 3 | chlorine dioxide |
| 4 | chlorite |
| 5 | chloroacetic acids— |
| 5.1 | chloroacetic acid |
| 5.2 | dichloroacetic acid |
| 5.3 | trichloroacetic acid |
| 6 | chlorophenols— |
| 6.1 | 2-chlorophenol |
| 6.2 | 2,4-dichlorophenol |
| 6.3 | 2,4,6-dichlorophenol |
| 7 | cyanogen chloride (as cyanide) |
| 8 | formaldehyde |
| 9 | mono-chloramine |
| 10 | trichloroacetaldehyde (chloral hydrate) |
| 11 | trihalomethanes (THMs) (total) |

Table 3.1.4	Group D—pesticides

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | acephate |
| 2 | aldicarb |
| 3 | aldrin |
| 4 | ametryn |
| 5 | amitrole |
| 6 | asulam |
| 7 | atrazine |
| 8 | azinphos-methyl |
| 9 | benomyl |
| 10 | bentazone |
| 11 | bioresmethrin |
| 12 | bromacil |
| 13 | bromophos-ethyl |
| 14 | bromoxynil |
| 15 | carbaryl |
| 16 | carbendazim |
| 17 | carbofuran |
| 18 | carbophenthion |
| 19 | carboxin |
| 20 | chlordane |
| 21 | chlorothalonil |
| 22 | chloroxuron |
| 23 | chlorphenvinphos |
| 24 | chlorpyrifos |
| 25 | chlorsulfuron |
| 26 | cichlorvos |
| 27 | clopyralid |
| 28 | 2,4-D |
| 29 | DDT |
| 30 | diazinon |
| 31 | dicamba |
| 32 | dichlobenil |
| 33 | diclofop-methyl |
| 34 | dicofol |
| 35 | dieldrin |
| 36 | difenzoquat |
| 37 | dimethoate |
| 38 | diphenamid |
| 39 | diquat |
| 40 | disulfoton |
| 41 | diuron |
| 42 | DPA (2,2-DPA) |
| 43 | EDB |
| 44 | endosulfan |
| 45 | endothal |
| 46 | EPTC |
| 47 | ethion |
| 48 | ethoprophos |
| 49 | etridiazole |
| 50 | fenamiphos |
| 51 | fenarimol |
| 52 | fenchlorphos |
| 53 | fenitrothion |
| 54 | fenoprop |
| 55 | fensulfothion |
| 56 | fenvalerate |
| 57 | flamprop-methyl |
| 58 | fluometuron |
| 59 | formothion |
| 60 | fosamine ammonium |
| 61 | glyphosphate |
| 62 | heptachlor (including its epoxide) |
| 63 | hexaflurate |
| 64 | hexazinone |
| 65 | lindane |
| 66 | maldison |
| 67 | methidathion |
| 68 | methiocarb |
| 69 | methomyl |
| 70 | methoxychlor |
| 71 | metolachlor |
| 72 | metribuzin |
| 73 | metsulfuron-methyl |
| 74 | mevinphos |
| 75 | molinate |
| 76 | monocrotophos |
| 77 | napropamide |
| 78 | nitralin |
| 79 | norflurazon |
| 80 | oryzalin |
| 81 | oxamyl |
| 82 | paraquat |
| 83 | parathion |
| 84 | parathion methyl |
| 85 | pebulate |
| 86 | pendimethalin |
| 87 | pentachlorophenol |
| 88 | permethrin |
| 89 | picloram |
| 90 | piperonyl butoxide |
| 91 | pirimcarb |
| 92 | pirimiphos-ethyl |
| 93 | pirimiphos-methyl |
| 94 | profenofos |
| 95 | promecarb |
| 96 | propachlor |
| 97 | propanil |
| 98 | propargite |
| 99 | propiconazole |
| 100 | propozine |
| 101 | propyzamide |
| 102 | pyrazophos |
| 103 | quintozene |
| 104 | silvex (see fenoprop) |
| 105 | simazine |
| 106 | sulprofos |
| 107 | 2,4,5-T |
| 108 | temephos |
| 109 | terbacil |
| 110 | terbufos |
| 111 | terbutryn |
| 112 | tetrachlorvinphos |
| 113 | thiobencarb |
| 114 | thiometon |
| 115 | thiophenate |
| 116 | thiram |
| 117 | triadimefon |
| 118 | trichlorfon |
| 119 | trichlorpyr |
| 120 | trifluralin |
| 121 | vernolate |

Part 3.2	Water-based recreation—swimming (REC/1) or boating (REC/2)

Table 3.2

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | faecal coliforms |
| 2 | nitrogen |
| 3 | oil and grease |
| 4 | phosphorus |

Part 3.3	Waterscape (VIEW)

Table 3.3

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | nitrogen |
| 2 | oil and grease |
| 3 | phosphorus |

Part 3.4	Stock water supply (STOCK)

Table 3.4.1	Group A—inorganic chemicals

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | aluminium |
| 2 | arsenic |
| 3 | barium |
| 4 | beryllium |
| 5 | boron |
| 6 | cadmium |
| 7 | calcium |
| 8 | chloride |
| 9 | chromium |
| 10 | cobalt |
| 11 | copper |
| 12 | cyanide |
| 13 | fluoride |
| 14 | iron |
| 15 | lead |
| 16 | mercury |
| 17 | molybdenum |
| 18 | nickel |
| 19 | nitrate-N |
| 20 | nitrite-N |
| 21 | selenium |
| 22 | sulfate |
| 23 | vanadium |
| 24 | zinc |

Table 3.4.2	Group B—organic chemicals

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | atrazine |
| 2 | glyphosate |
| 3 | metolachlor |
| 4 | simazine |

Part 3.5	Irrigation water supply—(IRRIG)

Table 3.5.1	Group A—inorganic chemicals

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | aluminium |
| 2 | arsenic |
| 3 | beryllium |
| 4 | boron |
| 5 | cadmium |
| 6 | chloride |
| 7 | chromium |
| 8 | copper |
| 9 | fluoride |
| 10 | iron |
| 11 | lead |
| 12 | lithium |
| 13 | manganese |
| 14 | mercury |
| 15 | molybdenum |
| 16 | nickel |
| 17 | selenium |
| 18 | sodium |
| 19 | uranium |
| 20 | vanadium |
| 21 | zinc |

Table 3.5.2	Group B—organic chemicals

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | atrazine |
| 2 | chlordane |
| 3 | dieldrin |
| 4 | heptachlor |
| 5 | metolachlor |
| 6 | simazine |

Part 3.6	Aquatic habitat—mountain streams (AQUA/1), lowland streams (AQUA/2), urban lakes and ponds (AQUA/3), urban drains and streams (AQUA/4), urban wetlands (AQUA/5), or mountain reservoirs (AQUA/6)

Table 3.6.1	Group A—inorganic chemicals

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | aluminium |
| 2 | ammonia |
| 3 | antimony |
| 4 | arsenic |
| 5 | beryllium |
| 6 | cadmium |
| 7 | chlorine |
| 8 | chromium |
| 9 | copper |
| 10 | cyanide |
| 11 | iron |
| 12 | lead |
| 13 | mercury |
| 14 | nickel |
| 15 | nitrite |
| 16 | phosphorus |
| 17 | selenium |
| 18 | silver |
| 19 | zinc |

Table 3.6.2	Group B—organic chemicals—pesticides

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | aldrin |
| 2 | atrazine |
| 3 | captan |
| 4 | chlordane |
| 5 | chlorpyrifos |
| 6 | cyanazine |
| 7 | 2,4-D |
| 8 | DDE |
| 9 | DDT |
| 10 | demeton |
| 11 | dieldrin |
| 12 | dinoseb |
| 13 | endosulfan |
| 14 | endrin |
| 15 | glyphosate |
| 16 | guthion |
| 17 | heptachlor |
| 18 | lindane |
| 19 | malathion |
| 20 | methoxychlor |
| 21 | metolachlor |
| 22 | metribuzin |
| 23 | mirex |
| 24 | parathion |
| 25 | picrolam |
| 26 | simazine |
| 27 | toxaphene |

Table 3.6.3	Group C—organic chemicals—non-pesticide
anthropogenic organics

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | acrolein |
| 2 | chlorinated benzenes— |
| 2.1 | monochlorobenzene |
| 2.2 | 1,2-dichlorobenzene |
| 2.3 | 1,3-dichlorobenzene |
| 2.4 | 1,4-dichlorobenzene |
| 2.5 | 1,2,3-trichlorobenzene |
| 2.6 | 1,2,4-trichlorobenzene |
| 2.7 | 1,3,5-trichlorobenzene |
| 2.8 | 1,2,3,4-tetrachlorobenzene |
| 2.9 | 1,2,3,5-tetrachlorobenzene |
| 2.10 | 1,2,4,5-tetrachlorobenzene |
| 2.11 | pentachlorobenzene |
| 2.12 | hexachlorobenzene |
| 3 | chlorinated ethylenes— |
| 3.1 | trichlorethylene |
| 3.2 | tetrachloroethylene |
| 4 | chlorinated phenols— |
| 4.1 | monochlorophenol |
| 4.2 | dichlorophenol |
| 4.3 | trichlorophenol |
| 4.4 | tetrachlorophenol |
| 4.5 | pentachlorophenol |
| 5 | halogenated aliphatic compounds— |
| 5.1 | hexachlorobutadiene |
| 6 | halogenated methanes— |
| 6.1 | carbon tetrachloride |
| 6.2 | chloroform |
| 6.3 | dichloromethane (methylene chloride) |
| 6.4 | trihalomethanes |
| 7 | monocyclic aromatic hydrocarbons— |
| 7.1 | benzene |
| 7.2 | ethylbenzene |
| 7.3 | phenol |
| 7.4 | toluene |
| 8 | oil and grease |
| 9 | phthallate esters |
| 10 | polychlorinated biphenyls |
| 11 | polycyclic aromatic hydrocarbons |

Table 3.6.4	Group D—organic chemicals—organometallics

| column 1 item | column 2 pollutant |
| --- | --- |
| 1 | tributyltin |
| 2 | triphenyltin |

Schedule 4	Ambient environmental standards

(see s 43)

Part 4.1	Domestic water supply—fully treated (TAP)

Table 4.1.1	Group A—microbiological quality

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | E. coli | 0 cfu per 100 mL for 98% of samples |

Table 4.1.2	Group B—physical quality

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | acidity (pH) | 6.5-8.5 |
| 2 | colour (HU) | 15 |
| 3 | dissolved oxygen | >85% |
| 4 | hardness | 200 mg/L |
| 5 | taste and odour | acceptable to most people |
| 6 | total dissolved solids | 500 mg/L |
| 7 | turbidity (NTU) | 5 |

Table 4.1.3	Group C—inorganic chemicals

| column 1 item | column 2 indicator | column 3 standard (mg/L) |
| --- | --- | --- |
| 1 | aluminium (acid soluble) | 0.2 |
| 2 | ammonia (as NH4) | 0.5 |
| 3 | antimony | 0.003 |
| 4 | arsenic | 0.007 |
| 5 | barium | 0.7 |
| 6 | boron | 0.3 |
| 7 | cadmium | 0.002 |
| 8 | chloride | 250 |
| 9 | chromium (as Cr(6)) | 0.05 |
| 10 | copper | 1 |
| 11 | cyanide | 0.07 |
| 12 | fluoride | 1.5 |
| 13 | hydrogen sulfide | 0.05 |
| 14 | iodide | 0.1 |
| 15 | iron | 0.3 |
| 16 | lead | 0.01 |
| 17 | manganese | 0.1 |
| 18 | mercury | 0.001 |
| 19 | molybdenum | 0.05 |
| 20 | nickel | 0.02 |
| 21 | nitrate (as nitrate) | 50 |
| 22 | nitrite (as nitrite) | 3 |
| 23 | selenium | 0.01 |
| 24 | silver | 0.02 |
| 25 | sodium | 180 |
| 26 | sulfate | 250 |
| 27 | zinc | 3 |

Table 4.1.4	Group D—organic compounds

| column 1 item | column 2 indicator | column 3 standard (mg/L) |
| --- | --- | --- |
| 1 | acrylamide | 0.0002 |
| 2 | benzene | 0.001 |
| 3 | carbon tetrachloride | 0.003 |
| 4 | chlorobenzene | 0.01 |
| 5 | dichlorobenzenes— |  |
| 5.1 | 1,2-dichlorobenzene | 0.001 |
| 5.2 | 1,3-dichlorobenzene | 0.02 |
| 5.3 | 1,4-dichlorobenzene | 0.0003 |
| 6 | dichloroethanes— |  |
| 6.1 | 1,2-dichloroethane | 0.003 |
| 7 | dichloroethenes— |  |
| 7.1 | 1,1-dichloroethene | 0.03 |
| 7.2 | 1,2-dichloroethene | 0.06 |
| 8 | dichloromethane (methylene chloride) | 0.02 |
| 9 | ethylbenzene | 0.003 |
| 10 | ethylenediamine tetracetic acid (EDTA) | 0.25 |
| 11 | hexachlorobutadiene | 0.0007 |
| 12 | nitrilotriacetic acid | 0.2 |
| 13 | organotins— |  |
| 13.1 | tributyltin oxide | 0.001 |
| 14 | plasticisers— |  |
| 14.1 | di (2-ethylhexyl) phthalate | 0.01 |
| 14.2 | polycyclic aromatic hydrocarbons (PAHs) | 0.00001 |
| 14.3 | styrene (vinylbenzene) | 0.004 |
| 14.4 | tetrachloroethene | 0.05 |
| 14.5 | toluene | 0.025 |
| 14.6 | trichlorobenzenes (total) | 0.005 |
| 14.7 | vinyl chloride | 0.0003 |
| 14.8 | xylene | 0.02 |

Table 4.1.5	Group E—disinfection by-products

| column 1 item | column 2 indicator | column 3 standard (mg/L) |
| --- | --- | --- |
| 1 | chloramine (see mono-chloramine) |  |
| 2 | chlorine (free) | 0.6 |
| 3 | chlorine dioxide | 0.4 |
| 4 | chlorite | 0.3 |
| 5 | chloroacetic acids— |  |
| 5.1 | chloroacetic acid | 1 |
| 5.2 | dichloroacetic acid | 0.05 |
| 5.3 | trichloroacetic acid | 0.1 |
| 6 | chlorophenols— |  |
| 6.1 | 2-chlorophenol | 0.0001 |
| 6.2 | 2,4-dichlorophenol | 0.0003 |
| 6.3 | 2,4,6-dichlorophenol | 0.002 |
| 7 | cyanogen chloride (as cyanide) | 0.07 |
| 8 | formaldehyde | 0.5 |
| 9 | mono-chloramine | 0.5 |
| 10 | trichloroacetaldehyde (chloral hydrate) | 0.02 |
| 11 | trihalomethanes (THMs) (total) | 0.25 |

Table 4.1.6	Group F—pesticides

| column 1 item | column 2 indicator | column 3 standard (mg/L) |
| --- | --- | --- |
| 1 | acephate | 0.01 |
| 2 | aldicarb | 0.001 |
| 3 | aldrin | 0.0003 |
| 4 | ametryn | 0.05 |
| 5 | amitrole | 0.01 |
| 6 | asulam | 0.05 |
| 7 | atrazine | 0.02 |
| 8 | azinphos-methyl | 0.003 |
| 9 | benomyl | 0.1 |
| 10 | bentazone | 0.03 |
| 11 | bioresmethrin | 0.1 |
| 12 | bromacil | 0.3 |
| 13 | bromophos-ethyl | 0.01 |
| 14 | bromoxynil | 0.03 |
| 15 | carbaryl | 0.03 |
| 16 | carbendazim | 0.1 |
| 17 | carbofuran | 0.01 |
| 18 | carbophenthion | 0.0005 |
| 19 | carboxin | 0.3 |
| 20 | chlordane | 0.001 |
| 21 | chlorothalonil | 0.03 |
| 22 | chloroxuron | 0.01 |
| 23 | chlorphenvinphos | 0.005 |
| 24 | chlorpyrifos | 0.01 |
| 25 | chlorsulfuron | 0.1 |
| 26 | cichlorvos | 0.001 |
| 27 | clopyralid | 1 |
| 28 | 2,4-D | 0.03 |
| 29 | DDT | 0.02 |
| 30 | diazinon | 0.003 |
| 31 | dicamba | 0.1 |
| 32 | dichlobenil | 0.01 |
| 33 | diclofop-methyl | 0.005 |
| 34 | dicofol | 0.003 |
| 35 | dieldrin | 0.0003 |
| 36 | difenzoquat | 0.1 |
| 37 | dimethoate | 0.05 |
| 38 | diphenamid | 0.3 |
| 39 | diquat | 0.005 |
| 40 | disulfoton | 0.003 |
| 41 | diuron | 0.03 |
| 42 | DPA (2,2-DPA) | 0.5 |
| 43 | EDB | 0.001 |
| 44 | endosulfan | 0.03 |
| 45 | endothal | 0.1 |
| 46 | EPTC | 0.03 |
| 47 | ethion | 0.003 |
| 48 | ethoprophos | 0.001 |
| 49 | etridiazole | 0.1 |
| 50 | fenamiphos | 0.0003 |
| 51 | fenarimol | 0.03 |
| 52 | fenchlorphos | 0.03 |
| 53 | fenitrothion | 0.01 |
| 54 | fenoprop | 0.01 |
| 55 | fensulfothion | 0.01 |
| 56 | fenvalerate | 0.05 |
| 57 | flamprop-methyl | 0.003 |
| 58 | fluometuron | 0.05 |
| 59 | formothion | 0.05 |
| 60 | fosamine ammonium | 0.03 |
| 61 | glyphosphate | 1 |
| 62 | heptachlor (including its epoxide) | 0.0003 |
| 63 | hexaflurate | 0.03 |
| 64 | hexazinone | 0.3 |
| 65 | lindane | 0.02 |
| 66 | maldison | 0.05 |
| 67 | methidathion | 0.03 |
| 68 | methiocarb | 0.005 |
| 69 | methomyl | 0.03 |
| 70 | methoxychlor | 0.3 |
| 71 | metolachlor | 0.3 |
| 72 | metribuzin | 0.05 |
| 73 | metsulfuron-methyl | 0.03 |
| 74 | mevinphos | 0.005 |
| 75 | molinate | 0.005 |
| 76 | monocrotophos | 0.001 |
| 77 | napropamide | 1 |
| 78 | nitralin | 0.5 |
| 79 | norflurazon | 0.05 |
| 80 | oryzalin | 0.3 |
| 81 | oxamyl | 0.1 |
| 82 | paraquat | 0.03 |
| 83 | parathion | 0.01 |
| 84 | parathion methyl | 0.1 |
| 85 | pebulate | 0.03 |
| 86 | pendimethalin | 0.3 |
| 87 | pentachlorophenol | 0.01 |
| 88 | permethrin | 0.1 |
| 89 | picloram | 0.3 |
| 90 | piperonyl butoxide | 0.1 |
| 91 | pirimcarb | 0.005 |
| 92 | pirimiphos-ethyl | 0.0005 |
| 93 | pirimiphos-methyl | 0.05 |
| 94 | profenofos | 0.0003 |
| 95 | promecarb | 0.03 |
| 96 | propachlor | 0.05 |
| 97 | propanil | 0.5 |
| 98 | propargite | 0.05 |
| 99 | propiconazole | 0.1 |
| 100 | propozine | 0.05 |
| 101 | propyzamide | 0.3 |
| 102 | pyrazophos | 0.03 |
| 103 | quintozene | 0.03 |
| 104 | silvex (see fenoprop) |  |
| 105 | simazine | 0.02 |
| 106 | sulprofos | 0.01 |
| 107 | 2,4,5-T | 0.1 |
| 108 | temephos | 0.3 |
| 109 | terbacil | 0.03 |
| 110 | terbufos | 0.0005 |
| 111 | terbutryn | 0.3 |
| 112 | tetrachlorvinphos | 0.1 |
| 113 | thiobencarb | 0.03 |
| 114 | thiometon | 0.003 |
| 115 | thiophenate | 0.005 |
| 116 | thiram | 0.003 |
| 117 | triadimefon | 0.1 |
| 118 | trichlorfon | 0.005 |
| 119 | trichlorpyr | 0.01 |
| 120 | trifluralin | 0.05 |
| 121 | vernolate | 0.03 |

Part 4.2	Domestic water supply (DOM1/2/3)

4.1	Ambient environmental standards to which table 4.2 applies

Unless otherwise provided by table 4.2, the ambient environmental standards in relation to water quality for a waterway to which the table applies are the same as the standards stated in the tables in part 4.1.

Table 4.2	Domestic water supply

| column 1 item | column 2 indicator | column 3 standard DOM1 | column 4 standard DOM2 | column 5 standard DOM3 |
| --- | --- | --- | --- | --- |
| 1 | dissolved oxygen | 6 mg/L or 75% saturation, whichever is highest | 6 mg/L or 75% saturation, whichever is highest | 5 mg/L or 60% saturation, whichever is highest |
| 2 | E. coli | 10 cfu per 100 mL for 98% of samples | 100 cfu per 100 mL for 98% of samples | 100 cfu per 100 mL for 98% of samples |
| 3 | turbidity (NTU) | 5 | 250 | 10,000 |

Part 4.3	Water-based recreation—swimming (REC/1) or boating (REC/2)

Table 4.3.1	Microbiology

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | cyanobacteria | ≤5 000 cells/mL (absence of scums) |
| 2 | pathogenic free-living protozoans | 0 organisms/100mL |

Table 4.3.2	Chemistry

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | acidity | pH 6.5-8.5 |
| 2 | chlorophyll a | ≤10g/L |
| 3 | nitrogen to phosphorus ratio | ≥12:1 |
| 4 | phosphorus (total) | ≤100g/L |

Table 4.3.3	Aesthetics

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | clarity | ≥Secchi depth 1.2 m |
| 2 | colour | not objectionable |
| 3 | odour | not objectionable |
| 4 | oil and grease | not visible |

Table 4.3.4	Nuisance

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | aquatic macrophytes (floating) | not objectionable |
| 2 | aquatic macrophytes (rooted) | not objectionable |
| 3 | flow rates | <1.5m/s |

Part 4.4	Waterscape (VIEW)

Table 4.4.1	Microbiology

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | cyanobacteria | ≤5 000 cells/mL (absence of scums) |

Table 4.4.2	Chemistry

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | chlorophyll a | ≤10g/L |
| 2 | nitrogen to phosphorus ratio | ≥12:1 |
| 3 | phosphorus (total) | ≤100g/L |

Table 4.4.3	Aesthetics

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | colour | not objectionable |
| 2 | oil and grease | not visible |

Table 4.4.4	Nuisance

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | algal growth | not objectionable |
| 2 | aquatic macrophytes (floating) | not objectionable |
| 3 | aquatic macrophytes (rooted) | not objectionable |

Part 4.5	Stock water supply (STOCK)

Table 4.5.1	Microbiology

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | algae | <10 000 cells/mL |

Table 4.5.2	Chemistry—general

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | acidity | pH 6.5-9.2 |
| 2 | chlorophyll a | ≤0.01mg/L |
| 3 | dissolved oxygen | ≥5mg/L or 60 % saturation |
| 4 | total dissolved solids | ≤3 000mg/L |

Table 4.5.3	Chemistry—inorganic chemicals

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | aluminium | ≤5mg/L |
| 2 | arsenic | ≤0.2mg/L |
| 3 | barium | ≤5mg/L |
| 4 | beryllium | ≤0.1mg/L |
| 5 | boron | ≤5mg/L |
| 6 | cadmium | ≤0.01mg/L |
| 7 | calcium | ≤1 000mg/L |
| 8 | chloride | ≤2 400mg/L |
| 9 | chromium | ≤1mg/L |
| 10 | cobalt | ≤1mg/L |
| 11 | copper | ≤0.5mg/L |
| 12 | fluoride | ≤2mg/L |
| 13 | iron | ≤50mg/L |
| 14 | lead | ≤0.1mg/L |
| 15 | mercury | ≤0.002mg/L |
| 16 | molybdenum | ≤0.01mg/L |
| 17 | nickel | ≤1mg/L |
| 18 | nitrate-N | ≤30mg/L |
| 19 | nitrite-N | ≤10mg/L |
| 20 | selenium | ≤0.02mg/L |
| 21 | sulfate | ≤1 000mg/L |
| 22 | vanadium | ≤0.1mg/L |
| 23 | zinc | ≤20mg/L |

Table 4.5.4	Chemistry—organic chemicals

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | atrazine | ≤0.02mg/L |
| 2 | glyphosate | ≤2mg/L |
| 3 | metolachlor | ≤0.5mg/L |
| 4 | simazine | ≤0.02mg/L |

Part 4.6	Irrigation water supply (IRRIG)

4.2	Faecal coliforms—IRRIG

(1)	For the indicator faecal coliforms in the table—

(a)	the median must be 1 000cfu/100mL or less for at least 5 samples taken at regular intervals within 1 month; and

(b)	no more than 20% of the samples may contain more than 4 000cfu/100mL.

(2)	In this section:

cfu, for faecal coliforms, means colony forming units.

4.3	Sodium absorption ratio

(1)	The sodium absorption rate (SAR) is calculated using the following formula:

(2)	In this formula, concentrations of Na+, Ca2+ and Mg2+ are expressed in milli equivalents/L.

Table 4.6.1	Microbiology

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | faecal coliforms | ≤1 000/100mL |

Table 4.6.2	Chemistry—general

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | acidity | pH 4.5-9.0 |
| 2 | sodium absorption ratio | ≤10mg/L |
| 3 | total dissolved solids | ≤500mg/L |

Table 4.6.3	Chemistry—inorganic chemicals

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | aluminium | ≤5mg/L |
| 2 | arsenic | ≤0.1mg/L |
| 3 | beryllium | ≤0.1mg/L |
| 4 | boron | ≤6.0mg/L |
| 5 | cadmium | ≤0.01mg/L |
| 6 | chloride | ≤700mg/L |
| 7 | chromium | ≤0.1mg/L |
| 8 | copper | ≤1.0mg/L |
| 9 | fluoride | ≤1.0mg/L |
| 10 | iron | ≤1.0mg/L |
| 11 | lead | ≤0.2mg/L |
| 12 | lithium | ≤2.5mg/L |
| 13 | manganese | ≤0.2mg/L |
| 14 | mercury | ≤0.002mg/L |
| 15 | molybdenum | ≤0.01mg/L |
| 16 | nickel | ≤0.2mg/L |
| 17 | selenium | ≤0.02mg/L |
| 18 | sodium | 115-460mg/L |
| 19 | uranium | ≤0.01mg/L |
| 20 | vanadium | ≤0.1mg/L |
| 21 | zinc— |  |
| 21.1 | soil pH6.5 | ≤1mg/L |
| 21.2 | soil pH>6.5 | ≤5mg/L |

Table 4.6.4	Chemistry—organic chemicals

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | atrazine | ≤0.02g/L |
| 2 | chlordane | ≤2g/L |
| 3 | dieldrin | ≤0.5g/L |
| 4 | heptachlor | ≤2g/L |
| 5 | metolachlor | ≤0.5g/L |
| 6 | simazine | ≤0.02g/L |

Part 4.7	Aquatic habitat—mountain streams (AQUA/1), lowland streams (AQUA/2), urban lakes & ponds (AQUA/3), urban drains and streams (AQUA/4), urban wetland (AQUA/5), mountain reservoirs (AQUA/6)

4.4	Acidity

For the indicator acidity (see table 4.7.2, item 1)—

(a)	the acidity must not be more than 2 standard deviations from the long-term mean for the relevant month; and

(b)	total alkalinity must not be less than 25% of the long-term mean for the relevant month.

4.5	Colour and turbidity

The combined effects of the indicators colour and turbidity must not reduce the depth of the compensation point for photosynthesis by more than 10% of the long-term mean for the relevant month.

4.6	Total dissolved solids

The value for the indicator total dissolved solids must not be more than 2 standard deviations from the long-term mean for the relevant month.

4.7	Ammonia levels

The ammonia level for discharge of wastewater must be based on the highest pH and highest ambient temperature likely to happen during the year.

Note	The indicator ammonia is dealt with in table 4.7.8.

Table 4.7.1	Indicators other than ammonia
microbiology

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | cyanobacteria | ≤5 000 cells/mL (absence of scums) |

Table 4.7.2	Indicators other than ammonia
chemistry—general

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | acidity— |  |
| 1.1 | AQUA/1, 2 and 6 | pH 6.5-9 |
| 1.2 | AQUA/3, 4 and 5 | pH 6-9 |
| 2 | chlorophyll a— |  |
| 2.1 | AQUA/1, 3 and 5 | ≤10g/L |
| 2.2 | AQUA/6 | ≤2g/L |
| 3 | dissolved oxygen— |  |
| 3.1 | AQUA/1, 4 and 6 | ≥6mg/L |
| 3.2 | AQUA/2, 3 and 5 | ≥4mg/L |
| 4 | nitrogen to phosphorus ratio | ≥12:1 |
| 5 | phosphorus (total)— |  |
| 5.1 | AQUA/1 and 6 | ≤40g/L |
| 5.2 | AQUA/2, 3, 4 and 5 | ≤100g/L |
| 6 | suspended solids— |  |
| 6.1 | AQUA/1 and 6 | ≤12.5mg/L |
| 6.2 | AQUA/2, 3, 4 and 5 | ≤25mg/L |
| 7 | turbidity— |  |
| 7.1 | AQUA/1, 2, 4 and 6 | <10 nephelometric turbidity units |
| 7.2 | AQUA/3 and 5 | <30 nephelometric turbidity units |

Table 4.7.3	Indicators other than ammonia
chemistry—inorganic chemicals

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | aluminium— |  |
| 1.1 | pH<6.5 | ≤5g/L |
| 1.2 | pH≥6.5 | ≤100g/L |
| 2 | ammonia | see table 4.7.8 |
| 3 | antimony | ≤30g/L |
| 4 | arsenic | ≤50g/L |
| 5 | beryllium | ≤4g/L |
| 6 | cadmium | ≤0.2g/L |
| 7 | chlorine | ≤2g/L |
| 8 | chromium | ≤2g/L |
| 9 | copper | ≤2g/L |
| 10 | cyanide | ≤5g/L |
| 11 | iron | ≤300g/L |
| 12 | lead | ≤1g/L |
| 13 | mercury | ≤0.1g/L |
| 14 | nickel | ≤25g/L |
| 15 | nitrite | ≤60g/L |
| 16 | selenium | ≤1g/L |
| 17 | silver | ≤0.1g/L |
| 18 | zinc | ≤5g/L |

Table 4.7.4	Indicators other than ammonia
chemistry—organic chemicals—pesticides

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | aldrin | ≤10ng/L |
| 2 | atrazine | ≤2 000ng/L |
| 3 | captan | ≤2 800ng/L |
| 4 | chlordane | ≤4ng/L |
| 5 | chlorpyrifos | ≤1ng/L |
| 6 | cyanazine | ≤2 000ng/L |
| 7 | 2,4-D | ≤4 000ng/L |
| 8 | DDE | ≤14ng/L |
| 9 | DDT | ≤1ng/L |
| 10 | demeton | ≤100ng/L |
| 11 | dieldrin | ≤2ng/L |
| 12 | dinoseb | ≤50ng/L |
| 13 | endosulfan | ≤10ng/L |
| 14 | endrin | ≤2.3ng/L |
| 15 | glyphosate | ≤65 000ng/L |
| 16 | guthion | ≤10ng/L |
| 17 | heptachlor | ≤3ng/L |
| 18 | lindane | ≤3ng/L |
| 19 | malathion | ≤70ng/L |
| 20 | methoxychlor | ≤40ng/L |
| 21 | metolachlor | ≤8 000ng/L |
| 22 | metribuzin | ≤1 000ng/L |
| 23 | mirex | ≤1ng/L |
| 24 | parathion | ≤4ng/L |
| 25 | picrolam | ≤29 000ng/L |
| 26 | simazine | ≤10 000ng/L |
| 27 | toxaphene | ≤8ng/L |

Table 4.7.5	Indicators other than ammonia
chemistry—organic chemicals—non-pesticide anthropogenic organics

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | acrolein | ≤200ng/L |
| 2 | chlorinated benzenes— |  |
| 2.1 | monochlorobenzene | ≤15 000ng/L |
| 2.2 | 1,2-dichlorobenzene | ≤2 500ng/L |
| 2.3 | 1,3-dichlorobenzene | ≤2 500ng/L |
| 2.4 | 1,4-dichlorobenzene | ≤4 000ng/L |
| 2.5 | 1,2,3-trichlorobenzene | ≤900ng/L |
| 2.6 | 1,2,4-trichlorobenzene | ≤500ng/L |
| 2.7 | 1,3,5-trichlorobenzene | ≤700ng/L |
| 2.8 | 1,2,3,4-tetrachlorobenzene | ≤100ng/L |
| 2.9 | 1,2,3,5-tetrachlorobenzene | ≤100ng/L |
| 2.10 | 1,2,4,5-tetrachlorobenzene | ≤150ng/L |
| 2.11 | pentachlorobenzene | ≤30ng/L |
| 2.12 | hexachlorobenzene | ≤7ng/L |
| 3 | chlorinated ethylenes— |  |
| 3.1 | trichlorethylene | ≤20ng/L |
| 3.2 | tetrachloroethylene | ≤260 000ng/L |
| 4 | chlorinated phenols— |  |
| 4.1 | monochlorophenol | ≤7 000ng/L |
| 4.2 | dichlorophenol | ≤200ng/L |
| 4.3 | trichlorophenol | ≤18 000ng/L |
| 4.4 | tetrachlorophenol | ≤1 000ng/L |
| 4.5 | pentachlorophenol | ≤50ng/L |
| 5 | halogenated aliphatic compounds— |  |
| 5.1 | hexachlorobutadiene | ≤100ng/L |
| 6 | halogenated methanes— |  |
| 6.1 | carbon tetrachloride | ≤13 000ng/L |
| 6.2 | chloroform | ≤2 000ng/L |
| 6.3 | dichloromethane (methylene chloride) | ≤98 000ng/L |
| 6.4 | trihalomethanes | ≤50 000ng/L |
| 7 | monocyclic aromatic hydrocarbons— |  |
| 7.1 | benzene | ≤300 000ng/L |
| 7.2 | ethylbenzene | ≤140 000ng/L |
| 7.3 | phenol | ≤1 000ng/L |
| 7.4 | toluene | ≤300 000ng/L |
| 8 | phthallate esters— |  |
| 8.1 | di-n-butylphthallate (DBP) | ≤4 000ng/L |
| 8.2 | di-(2-ethylhexyl) phthallate (DEHP) | ≤600ng/L |
| 8.3 | other phthallate esters | ≤200ng/L |
| 9 | polychlorinated biphenyls | ≤1ng/L |
| 10 | polycyclic aromatic hydrocarbons | ≤3 000ng/L |

Table 4.7.6	Indicators other than ammonia
chemistry—organic chemicals—organometallics

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | tributyltin | ≤8ng/L |
| 2 | triphenyltin | ≤20ng/L |

Table 4.7.7	Indicators other than ammonia
aesthetics

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | oil and grease | not visible |

Table 4.7.8	Indicator ammonia

| column 1 item | column 2 acidity | column 3 ammonia concentration (mg/L) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| temperature |  | 0C | 5C | 10C | 15C | 20C | 25C | 30C |
| 1 | pH 6.50 | <2.5 | <2.4 | <2.2 | <2.2 | <1.49 | <1.04 | <0.73 |
| 2 | pH 6.75 | <2.5 | <2.4 | <2.2 | <2.2 | <1.49 | <1.04 | <0.73 |
| 3 | pH 7.00 | <2.5 | <2.4 | <2.2 | <2.2 | <1.49 | <1.04 | <0.74 |
| 4 | pH 7.25 | <2.5 | <2.4 | <2.2 | <2.2 | <1.5 | <1.04 | <0.74 |
| 5 | pH 7.50 | <2.5 | <2.4 | <2.2 | <2.2 | <1.5 | <1.05 | <0.74 |
| 6 | pH 7.75 | <2.3 | <2.2 | <2.1 | <2.0 | <1.4 | <0.99 | <0.71 |
| 7 | pH 8.00 | <1.53 | <1.44 | <1.37 | <1.33 | <0.93 | <0.66 | <0.47 |
| 8 | pH 8.25 | <0.87 | <0.82 | <0.78 | <0.76 | <0.54 | <0.39 | <0.28 |
| 9 | pH 8.50 | <0.49 | <0.47 | <0.45 | <0.44 | <0.32 | <0.23 | <0.17 |
| 10 | pH 8.75 | <0.28 | <0.27 | <0.26 | <0.27 | <0.19 | <0.16 | <0.11 |
| 11 | pH 9.00 | <0.16 | <0.16 | <0.16 | <0.16 | <0.13 | <0.10 | <0.08 |

Note	Available un-ionised or uncomplexed ammonia present is toxic to a wide range of aquatic organisms and varies with acidity (pH) and water temperature.

Part 4.8	Secondary ambient environmental standards

4.8	Temperature

Temperature changes must not be more than 2 standard deviations from the long-term mean temperature for the relevant month.

4.9	Biological standards

(1)	Water quality at a site will be considered to be impaired if species richness is more than 20% lower than at an appropriate reference site.

(2)	Water quality at a site will be considered to be impaired if there is a significant difference in ecosystem community structure from that at an appropriate reference site, as judged by Hocutt’s procedure or another appropriate statistical technique.

Table 4.8.1	Indicator—biochemical oxygen demand

| column 1 item | column 2 area | column 3 standard |
| --- | --- | --- |
| 1 | Lake Burley Griffin | <51 200kg/y |
| 2 | Lake Ginninderra | <8 400kg/y |
| 3 | Lake Tuggeranong | <5 600kg/y |
| 4 | Murrumbidgee River at ACT border | <110 600kg/y |

Table 4.8.2	Indicator—phosphorus (total)

| column 1 item | column 2 area | column 3 standard |
| --- | --- | --- |
| 1 | Lake Burley Griffin | <8 600kg/y |
| 2 | Lake Ginninderra | <300kg/y |
| 3 | Lake Tuggeranong | <600kg/y |
| 4 | Murrumbidgee River at ACT border | <83 200kg/y |

Table 4.8.3	Indicator—sediment load

| column 1 item | column 2 area | column 3 standard |
| --- | --- | --- |
| 1 | Murrumbidgee River— |  |
| 1.1 |  from Angle Crossing to Gudgenby River junction | <88 000kg/y/river reach |
| 1.2 |  from Gudgenby junction to Point Hut Creek junction | <166 000kg/y/reach |
| 1.3 |  from Point Hut junction to Kambah Pool | <133 000kg/y/reach |
| 1.4 |  from Kambah Pool to Casuarina Sands | <57 000kg/y/reach |
| 1.5 |  from Casuarina Sands to Uriarra Crossing | <101 000kg/y/reach |
| 1.6 |  from Uriarra Crossing to Cusacks Crossing | <66 000kg/y/reach |
| 1.7 |  from Cusacks Crossing to Halls Crossing | <124 000kg/y/reach |
| 1.8 |  from Halls Crossing to Taemas Bridge | <228 000kg/y/reach |
| 2 | Molonglo River— |  |
| 2.1 |  from Burbong to Oaks Estate Bridge | <39 000kg/y/reach |
| 2.2 |  from Oaks Estate Bridge to Dairy Flat Bridge | <19 000kg/y/reach |
| 2.3 |  from Scrivener Dam to Coppins Crossing | <20 000kg/y/reach |
| 2.4 |  from Coppins Crossing to Sturt Island | <25 000kg/y/reach |
| 3 | Paddy’s River— |  |
| 3.1 |  from Flints Crossing to confluence with Cotter River | <4 800kg/y/reach |
| 4 | Ginninderra Creek— |  |
| 4.1 |  from Ginninderra Dam to Murrumbidgee River | <9 800kg/y/reach |

Table 4.8.4	Sediment contaminants

| column 1 item | column 2 indicator | column 3 standard |
| --- | --- | --- |
| 1 | pesticides | sediment total pesticide concentrations must not be more than 2 standard deviations higher than the long-term mean |
| 2 | heavy metals (arsenic, cadmium, copper, lead, mercury, nickel, selenium and zinc) | sediment heavy metal concentrations must not be more than 2 standard deviations higher than the long-term mean |
| 3 | polycyclic aromatic hydrocarbons (PAHs) | sediment PAH concentrations must not be more than 2 standard deviations higher than the long-term mean |

Dictionary

(see s 3)

Note 1	The Legislation Act contains definitions and other provisions relevant to this regulation.

Note 2	For example, the Legislation Act, dict, pt 1, defines the following terms:

	AS (see s 164 (1))

	chief health officer

	chief officer (fire and rescue service)

	chief officer (rural fire service)

	contravene

	director-general (see s 163)

	emergency services commissioner

	environment protection authority

	function

	law (of the Territory)

	may (see s 146)

	must (see s 146)

	national capital plan

	public holiday

	State

	territory lease

	territory plan

	veterinary practitioner.

Note 3	Terms used in this regulation have the same meaning that they have in the Environment Protection Act 1997 (see Legislation Act, s 148).  For example, the following terms are defined in the Environment Protection Act 1997, dictionary:

	authorised officer

	development

	environment

	environmental authorisation

	environmental harm

	environmental protection agreement

	land sublease

	pollutant.

adjoining, for noise zones, for part 3 (Noise)—see section 21.

affected place, for part 3 (Noise)—see section 22.

agency, for part 7 (Controlled waste)—see section 56.

agricultural chemical product, for part 6 (Agvet chemical products)—see section 53.

agvet chemical product, for part 6 (Agvet chemical products)—see section 53.

agvet code, for part 6 (Agvet chemical products)—see section 53.

agvet permit, for part 6 (Agvet chemical products)—see section 53.

approval, for an activity, means a licence, lease, permit or other authority (however described) under a territory law if the authority authorises or allows the conduct of the activity on stated public land.

approved label, for part 6 (Agvet chemical products)—see section 53.

approved VET course unit of competency, for division 6.4 (Training requirements for use of certain agvet chemical products)—see section 55E (1).

AS 2436 means AS 2436 (Guide to noise and vibration control on construction, demolition and maintenance sites), as in force from time to time.

Note	AS 2436 may be purchased at www.standards.org.au.

as near as practicable, for part 3 (Noise)—see section 21.

Australian university means an entity established, recognised or approved as a university under a territory law or the law of the Commonwealth or a State.

broadacre zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

building intruder alarm, for schedule 2, part 2.3 (Noise conditions)—see schedule 2, section 2.2.

building work—see the Building Act 2004, section 6 (Meaning of building work).

built-up area—see the Emergencies Act 2004, section 6A.

CCEP core, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

CCEP frame, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

Central National Area (City Hill Precinct), for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

Central National Area (Fairbairn), for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

Central National Area (Parliamentary Zone and Other Areas), for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

chimney means a structure or opening designed to allow the emission of pollutants into the air from premises, whether or not the chimney is structurally part of the premises.

city centre, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

city centre entertainment precinct means the area identified as the city centre entertainment precinct in the territory plan.

commercial CZ3 zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

commercial CZ4 zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

commercial CZ5 zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

community facility zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

compliance point, for part 3 (Noise)—see section 32 to section 38.

consignment authorisation, for part 7 (Controlled waste)—see section 56.

controlled waste, for part 7 (Controlled waste)—see section 56.

corridor site, for schedule 2 (Noise zones, noise standards and conditions)—see schedule 2, section 2.1.

environmental values, for part 4, schedule 3 and schedule 4—see section 41.

erosion and sediment control measures, for part 8A (Erosion and sediment control measures for development sites)—see section 66A.

facility, for part 7 (Controlled waste)—see section 56.

group centre, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

habitable room, for schedule 2, part 2.3 (Noise conditions)—see schedule 2, section 2.2.

industrial zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

instruction on the approved label for a registered agvet chemical product, for part 6 (Agvet chemical products)—see section 53.

jurisdiction of destination, for the movement of waste, for part 7 (Controlled waste)—see section 56.

jurisdiction of origin, for the movement of waste, for part 7 (Controlled waste)—see section 56.

jurisdiction of transit, for the movement of waste, for part 7 (Controlled waste)—see section 56.

leisure and accommodation zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

light rail, for schedule 2, part 2.3 (Noise conditions)—see the Road Transport (General) Act 1999, dictionary.

major road, for schedule 2, part 2.3 (Noise conditions)—see schedule 2, section 2.2.

motor vehicle intruder alarm, for schedule 2, part 2.3 (Noise conditions)—see schedule 2, section 2.2.

national capital plan, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

national emission guidelines, for division 2.2 (Chimney emissions causing environmental harm)—see section 7.

national scheme laws––see the Act, section 2 (3).

NEPM, for part 7 (Controlled waste)—see section 56.

network facility, for schedule 2, part 2.3 (Noise conditions)—see the Utilities Act 2000, dictionary.

noise measurement manual––see section 29A.

noise standard, for part 3 (Noise)—see section 24.

noise zone, for part 3 (Noise)—see section 23.

office site, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

owner, of land, includes—

(a)	a lessee; and

(b)	for land under a land sublease—the sublessee.

parcel, of land under a territory lease, includes land under a land sublease.

PCB, for part 5—see section 51.

PCB material, for part 5—see section 51.

Poisons Standard means the current Poisons Standard under the Therapeutic Goods Act 1989 (Cwlth) as in force from time to time.

Note	The Poisons Standard does not need to be notified under the Legislation Act because s 47 (6) does not apply (see Act, s 164B). The Poisons Standard is accessible at www.legislation.gov.au.

premises includes vacant land, a vehicle, a vessel or an aircraft.

primary production means—

(a)	production resulting directly from—

(i)	cultivation of land; or

(ii)	maintaining animals or poultry for their sale, their bodily produce or natural increase; or

(iii)	fishing operations; or

(iv)	forest operations; or

(v)	horticulture; and

(b)	the manufacture of dairy produce by the person who produced the raw material used in the manufacture.

producer, for part 7 (Controlled waste)—see section 56.

public land—see the Planning Act 2023, dictionary.

Queanbeyan city business zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

Queanbeyan city industrial zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

Queanbeyan city special uses zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

registered, for an agvet chemical product, means registered under the agvet code, part 2.

reserve—for schedule 2, part 2.3 (Noise conditions)—see the Nature Conservation Act 2014, section 169.

Note	Reserves include wilderness areas, national parks, nature reserves, catchment areas and other areas of public land.

residential land means an area identified in the territory plan as being in a residential zone.

Note	The territory plan is available at www.legislation.act.gov.au.

restricted access recreation zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

restricted agvet chemical product, for division 6.4 (Training requirements for use of certain agvet chemical products)—see section 55C.

road—see the Road Transport (General) Act 1999, dictionary.

road related area—see the Road Transport (General) Act 1999, dictionary.

sell—see the Act, schedule 2, section 2.1.

Note	Under the Act, sch 2, s 2.1, sell includes exhibit or offer for sale (whether by wholesale or retail) and supply by way of exchange, lease, hire or credit sale.

schedule 7 poison, for division 6.4 (Training requirements for use of certain agvet chemical products)—see section 55C.

statement of attainment, for division 6.4 (Training requirements for use of certain agvet chemical products)—see section 55C.

stormwater—see the Act, schedule 1, section 1.1.

Note	Under the Act, sch 1, s 1.1, stormwater means water run-off from an urban area that is normally collected by the stormwater system.

stormwater system—see the Act, schedule 1, section 1.1.

Note	Under the Act, sch 1, s 1.1, stormwater system means a system of pipes, gutters, drains, floodways and channels, being public works constructed to collect or transport stormwater in or through an urban area.

territory network facility, for schedule 2, part 2.3 (Noise conditions)—see the Utilities Act 2000, dictionary.

town centre, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

transporter, for part 7 (Controlled waste)—see section 56.

TSZ2 services zone, for schedule 2, part 2.1 (Noise zones)—see schedule 2, section 2.1.

unit, for part 3 (Noise)—see the Unit Titles Act 2001, section 9.

units plan, for part 3 (Noise), means a units plan under the Unit Titles Act 2001, section 7.

unseasoned wood means wood containing more than 20% moisture.

VET course, for division 6.4 (Training requirements for use of certain agvet chemical products)—see section 55C.

veterinary chemical product, for part 6 (Agvet chemical products)—see section 53.

waste—

(a)	see the Act, schedule 1, section 1.1; but

(b)	for part 7 (Controlled waste)—see section 56.

Note	Under the Act, sch 1, s 1.1, waste means a solid, liquid or gas, or a combination of them, that is a surplus product or unwanted by-product of an activity, whether the product or by-product is of value or not.

waterway—see the Act, schedule 1, section 1.1.

Note	Under the Act, sch 1, s 1.1, waterway means—

(a)	a river, creek, stream or other natural channel in which water flows (whether permanently or intermittently); or

(b)	a channel formed (whether in whole or part) by altering or relocating a waterway described in paragraph (a), and includes the stormwater system; or

(c)	a lake, pond, lagoon or marsh (whether formed by geomorphic processes or by works) in which water collects (whether continuously or intermittently);

and includes the bed that the water in the waterway normally flows over or is covered by and the banks that the water in the waterway normally flows between or is contained by, but does not include land normally not part of the waterway that may be covered from time to time by floodwaters from the waterway.

Endnotes

1	About the endnotes

Amending and modifying laws are annotated in the legislation history and the amendment history.  Current modifications are not included in the republished law but are set out in the endnotes.

Not all editorial amendments made under the Legislation Act 2001, part 11.3 are annotated in the amendment history.  Full details of any amendments can be obtained from the Parliamentary Counsel’s Office.

Uncommenced amending laws are not included in the republished law.  The details of these laws are underlined in the legislation history.  Uncommenced expiries are underlined in the legislation history and amendment history.

If all the provisions of the law have been renumbered, a table of renumbered provisions gives details of previous and current numbering.

The endnotes also include a table of earlier republications.

2	Abbreviation key

| A = Act | NI = Notifiable instrument |
| --- | --- |
| AF = Approved form | o = order |
| am = amended | om = omitted/repealed |
| amdt = amendment | ord = ordinance |
| AR = Assembly resolution | orig = original |
| ch = chapter | par = paragraph/subparagraph |
| CN = Commencement notice | pres = present |
| def = definition | prev = previous |
| DI = Disallowable instrument | (prev...) = previously |
| dict = dictionary | pt = part |
| disallowed = disallowed by the Legislative | r = rule/subrule |
| Assembly | reloc = relocated |
| div = division | renum = renumbered |
| exp = expires/expired | R[X] = Republication No |
| Gaz = gazette | RI = reissue |
| hdg = heading | s = section/subsection |
| IA = Interpretation Act 1967 | sch = schedule |
| ins = inserted/added | sdiv = subdivision |
| LA = Legislation Act 2001 | SL = Subordinate law |
| LR = legislation register | sub = substituted |
| LRA = Legislation (Republication) Act 1996 | underlining = whole or part not commenced |
| mod = modified/modification | or to be expired |

3	Legislation history

Environment Protection Regulation 2005 SL2005-38

notified LR 17 November 2005

s 1, s 2 commenced 17 November 2005 (LA s 75 (1))

remainder commenced 18 November 2005 (LA s 73 (3))

as amended by

Environment Protection Amendment Regulation 2006 (No 1) SL2006-27

notified LR 2 June 2006

s 1, s 2 commenced 2 June 2006 (LA s 75 (1))

remainder commenced 3 June 2006 (s 2)

Statute Law Amendment Act 2007 A2007-3 sch 3 pt 3.38

notified LR 22 March 2007

s 1, s 2 taken to have commenced 1 July 2006 (LA s 75 (2))

sch 3 pt 3.38 commenced 12 April 2007 (s 2 (1))

Environment Protection Amendment Regulation 2007 (No 1) SL2007-24

notified LR 10 September 2007

s 1, s 2 commenced 10 September 2007 (LA s 75 (1))

remainder commenced 11 September 2007 (s 2)

Planning and Development (Consequential Amendments) Act 2007 A2007-25 sch 1 pt 1.13

notified LR 13 September 2007
s 1, s 2 commenced 13 September 2007 (LA s 75 (1))

sch 1 pt 1.13 commenced 31 March 2008 (s 2 and see Planning and Development Act 2007 A2007-24, s 2 and CN2008-1)

Statute Law Amendment Act 2007 (No 3) A2007-39 sch 1 pt 1.2, sch 3 pt 3.14

notified LR 6 December 2007

s 1, s 2 commenced 6 December 2007 (LA s 75 (1))

sch 1 pt 1.2, sch 3 pt 3.14 commenced 27 December 2007 (s 2)

Planning and Development Legislation Amendment Act 2008 A2008-4 pt 3

notified LR 18 March 2008

s 1, s 2 commenced 18 March 2008 (LA s 75 (1))

pt 3 commenced 31 March 2008 (s 2 and see Planning and Development Act 2007 A2007-24, s 2 and CN2008-1)

Environment Protection Amendment Regulation 2008 (No 2) SL2008-35

notified LR 14 August 2008

s 1, s 2 commenced 14 August 2008 (LA s 75 (1))

remainder commenced 15 August 2008 (s 2)

Environment Protection Amendment Regulation 2009 (No 1) SL2009-29

notified LR 22 June 2009

s 1, s 2 commenced 22 June 2009 (LA s 75 (1))

remainder commenced 23 June 2009 (s 2)

Statute Law Amendment Act 2009 A2009-20 sch 3 pt 3.29

notified LR 1 September 2009

s 1, s 2 commenced 1 September 2009 (LA s 75 (1))

sch 3 pt 3.29 commenced 22 September 2009 (s 2)

Environment Protection Amendment Regulation 2009 (No 2) SL2009-54

notified LR 11 December 2009

s 1, s 2 commenced 11 December 2009 (LA s 75 (1))

remainder commenced 12 December 2009 (s 2)

Environment Protection Amendment Regulation 2011 (No 1) SL2011-1

notified LR 20 January 2011

s 1, s 2 commenced 20 January 2011 (LA s 75 (1))

remainder commenced 21 January 2011 (s 2)

Environment Protection Amendment Regulation 2011 (No 2) SL2011-9

notified LR 10 March 2011

s 1, s 2 commenced 10 March 2011 (LA s 75 (1))

remainder commenced 11 March 2011 (s 2)

Administrative (One ACT Public Service Miscellaneous Amendments) Act 2011 A2011-22 sch 1 pt 1.63

notified LR 30 June 2011

s 1, s 2 commenced 30 June 2011 (LA s 75 (1))

sch 1 pt 1.63 commenced 1 July 2011 (s 2 (1))

Statute Law Amendment Act 2011 (No 2) A2011-28 sch 3 pt 3.14

notified LR 31 August 2011

s 1, s 2 commenced 31 August 2011 (LA s 75 (1))

sch 3 pt 3.14 commenced 21 September 2011 (s 2 (1))

Statute Law Amendment Act 2011 (No 3) A2011-52 sch 3 pt 3.25

notified LR 28 November 2011

s 1, s 2 commenced 28 November 2011 (LA s 75 (1))

sch 3 pt 3.25 commenced 12 December 2011 (s 2)

Statute Law Amendment Act 2012 A2012-21 sch 3 pt 3.18

notified LR 22 May 2012

s 1, s 2 commenced 22 May 2012 (LA s 75 (1))

sch 3 pt 3.18 commenced 5 June 2012 (s 2 (2))

Environment Protection Amendment Regulation 2013 (No 1) SL2013-2

notified LR 7 February 2013

s 1, s 2 commenced 7 February 2013 (LA s 75 (1))

remainder commenced 8 February 2013 (s 2)

Statute Law Amendment Act 2013 A2013-19 sch 3 pt 3.17

notified LR 24 May 2013

s 1, s 2 commenced 24 May 2013 (LA s 75 (1))

sch 3 pt 3.17 commenced 14 June 2013 (s 2)

Planning, Building and Environment Legislation Amendment Act 2013 (No 2) A2013-40 pt 3

notified LR 6 November 2013

s 1, s 2 commenced 6 November 2013 (LA s 75 (1))

pt 3 commenced 27 January 2014 (s 2 and CN2014-1)

Environment Protection Amendment Act 2014 A2014-52 pt 3

notified LR 11 November 2014

s 1, s 2 commenced 11 November 2014 (LA s 75 (1))

pt 3 commenced 12 November 2014 (s 2 (1))

Nature Conservation Act 2014 A2014-59 sch 2 pt 2.4

notified LR 11 December 2014

s 1, s 2 commenced 11 December 2014 (LA s 75 (1))

sch 2 pt 2.4 commenced 11 June 2015 (s 2 (1) and LA s 79)

Planning and Development (University of Canberra and Other Leases) Legislation Amendment Act 2015 A2015-19 pt 8

notified LR 11 June 2015

s 1, s 2 commenced 11 June 2015 (LA s 75 (1))

pt 8 commenced 1 July 2015 (s 2 and CN2015-9)

Environment Protection Amendment Regulation 2015 (No 1) SL2015-28

notified LR 31 August 2015

s 1, s 2 commenced 31 August 2015 (LA s 75 (1))

remainder commenced 1 September 2015 (s 2)

Red Tape Reduction Legislation Amendment Act 2015 A2015-33 sch 1 pt 1.24

notified LR 30 September 2015

s 1, s 2 commenced 30 September 2015 (LA s 75 (1))

sch 1 pt 1.24 commenced 14 October 2015 (s 2)

Planning, Building and Environment Legislation Amendment Act 2016 A2016-2 pt 5

notified LR 23 February 2016

s 1, s 2 commenced 23 February 2016 (LA s 75 (1))

pt 5 commenced 24 February 2016 (s 2)

Planning, Building and Environment Legislation Amendment Act 2016 (No 2) A2016-24 pt 6

notified LR 11 May 2016

s 1, s 2 commenced 11 May 2016 (LA s 75 (1))

s 20, s 21 commenced 1 September 2019 (s 2 (2))

pt 6 remainder commenced 12 May 2016 (s 2 (1))

Emergencies Amendment Act 2016 A2016-33 sch 1 pt 1.10

notified LR 20 June 2016

s 1, s 2 commenced 20 June 2016 (LA s 75 (1))

sch 1 pt 1.10 commenced 21 June 2016 (s 2)

Red Tape Reduction Legislation Amendment Act 2017 A2017-17 pt 7

notified LR 14 June 2017

s 1, s 2 commenced 14 June 2017 (LA s 75 (1))

pt 7 commenced 31 August 2017 (s 2 (2))

Road Transport Reform (Light Rail) Legislation Amendment Act 2017 A2017-21 sch 1 pt 1.8

notified LR 8 August 2017

s 1, s 2 commenced 8 August 2017 (LA s 75 (1))

sch 1 pt 1.8 commenced 15 August 2017 (s 2)

Veterinary Practice Act 2018 A2018-32 sch 3 pt 3.5

notified LR 30 August 2018

s 1, s 2 commenced 30 August 2018 (LA s 75 (1))

sch 3 pt 3.5 commenced 21 December 2018 (s 2 and CN2018-12)

Planning and Environment Legislation Amendment Act 2019 A2019-20 pt 4

notified LR 8 August 2019

s 1, s 2 commenced 8 August 2019 (LA s 75 (1))

pt 4 commenced 9 August 2019 (s 2)

Environment Protection Amendment Regulation 2019 (No 1) SL2019-32

notified LR 23 December 2019

s 1, s 2 commenced 23 December 2019 (LA s 75 (1))

remainder commenced 24 December 2019 (s 2)

Statute Law Amendment Act 2021 A2021-12 sch 3 pt 3.16

notified LR 9 June 2021

s 1, s 2 commenced 9 June 2021 (LA s 75 (1))

sch 3 pt 3.16 commenced 23 June 2021 (s 2 (1))

Environment Protection Amendment Regulation 2021 (No 1) SL2021-26

notified LR 28 October 2021

s 1, s 2 commenced 28 October 2021 (LA s 75 (1))

remainder commenced 28 April 2022 (s 2)

Emergencies Amendment Act 2021 A2021-30 sch 1 pt 1.3

notified LR 10 December 2021

s 1, s 2 commenced 10 December 2021 (LA s 75 (1))

sch 1 pt 1.3 commenced 11 December 2021 (s 2)

Statute Law Amendment Act 2022 A2022-14 sch 3 pt 3.14

notified LR 10 August 2022

s 1, s 2 commenced 10 August 2022 (LA s 75 (1))

sch 3 pt 3.14 commenced 24 August 2022 (s 2)

Planning (Consequential Amendments) Act 2023 A2023-36 sch 1 pt 1.25

notified LR 29 September 2023

s 1, s 2 commenced 29 September 2023 (LA s 75 (1))

sch 1 pt 1.25 commenced 27 November 2023 (s 2 (1) and see Planning Act 2023 A2023-18, s 2 (2) and CN2023-10)

Biosecurity Legislation Amendment Act 2024 A2024-11 sch 2 pt 2.4

notified LR 19 April 2024

s 1, s 2 commenced 19 April 2024 (LA s 75 (1))

sch 2 pt 2.4 commenced 15 May 2025 (s 2 and see Biosecurity Act 2023 A2023-50, s 2 (2))

Environment Protection Legislation Amendment Act 2024 A2024-35 pt 3

notified LR 10 July 2024

s 1, s 2 commenced 10 July 2024 (LA s 75 (1))

ss 42-44 commenced 10 January 2025 (s 2 (2))

pt 3 remainder commenced 11 July 2024 (s 2 (1))

Environment Protection Amendment Regulation 2024 (No 1) SL2024-17

notified LR 15 August 2024

s 1, s 2 commenced 15 August 2024 (LA s 75 (1))

remainder commenced 16 August 2024 (s 2)

4	Amendment history

Commencement

s 2	om LA s 89 (4)

Dictionary

s 3	am A2021-30 amdt 1.3

Application of pt 2

div 2.1 hdg note	am A2017-21 amdt 1.21; A2022-14 amdt 3.88

Burning certain substances requires environmental authorisation

s 10	am SL2011-1 s 4; A2024-11 amdt 2.8, amdt 2.9

Fire bans in bad weather

s 11	am A2009-20 amdt 3.71; A2015-33 amdt 1.79

Conditions for sale or supply of firewood

s 14	sub A2017-17 s 24

am A2021-12 amdt 3.36

Unapproved sale or supply of painted etc firewood—offence

s 14A	ins SL2011-1 s 5

am A2017-17 s 25

Solid fuel-burning equipment

div 2.4A	ins A2016-24 s 19

Minimum overall average efficiency—Act, sch 2, s 2.4 (3) (a) (ii)

s 14B hdg	sub A2024-35 s 42

s 14B	ins A2016-24 s 19

am A2016-24 s 20; A2024-35 s 43

Maximum appliance particulate emission factor—Act, sch 2, s 2.4 (3) (b) (ii)

s 14C hdg	sub A2024-35 s 44

s 14C	ins A2016-24 s 19

am A2016-24 s 21

Balloons—exception for science

s 19	am A2011-52 amdt 3.91

Noise

pt 3 hdg note	am A2017-21 amdt 1.22; A2022-14 amdt 3.89

Definitions for pt 3

s 21	def affected person am A2024-35 s 45

om SL2024-17 s 4

def territory lease om A2007-25 amdt 1.55

Meaning of affected place

s 22	am SL2007-24 s 4; SL2024-17 s 5

Meaning of noise standard

s 24	am SL2007-24 s 5; SL2019-32 s 4; SL2024-17 ss 6-9

Noise taken to cause environmental harm—Act, s 5 (a)

s 25	am SL2007-24 s 6

Noise measurement manual

s 29A	ins SL2009-29 s 4

Taking measurements of noise

s 31	am SL2009-29 s 5, s 6

Compliance point—exception for environmental protection agreement

s 34	am A2013-40 s 6

Compliance point—exception for environmental authorisation

s 35	am A2013-40 s 6

Compliance point—exception for public land with approval

s 36	am A2013-40 s 6

Offence to make noise louder than noise standard

s 39	am SL2019-32 s 5

Sale and hiring of things

s 40	am SL2007-24 s 7, s 8; A2024-35 s 46, s 47

Environmental values of waterways for pt 4, sch 3 and sch 4

s 41	am A2007-25 amdt 1.56; A2023-36 amdt 1.147, amdt 1.148

Pollution of waterways

s 44	sub A2014-52 s 50

Development waste not to enter stormwater system or waterways

s 45 hdg	am SL2009-54 s 4

s 45	am SL2009-54 s 4, s 5; A2014-52 s 51

Areas near development to be kept clear

s 46 hdg	am SL2009-54 s 6

s 46	am SL2009-54 s 6, s 7; A2014-52 s 52

Entries to and exits from land to be kept stable

s 47	am SL2009-54 s 8, s 9; A2014-52 s 53

Agvet chemical products

pt 6 hdg	sub SL2021-26 s 4

Interpretation

div 6.1 hdg	ins SL2021-26 s 4

Definitions—pt 6

s 53	sub SL2021-26 s 4

def agricultural chemical product ins SL2021-26 s 4

def agvet chemical product ins SL2021-26 s 4

def agvet code ins SL2021-26 s 4

am A2024-35 s 48

def agvet permit ins SL2021-26 s 4

def approved label ins SL2021-26 s 4

def instruction ins SL2021-26 s 4

def registered ins SL2021-26 s 4

def veterinary chemical product ins SL2021-26 s 4

Using registered agvet chemical product in accordance with instructions

s 53A	ins SL2021-26 s 4

Agvet permits—eligible laws for agvet code

s 53B	ins SL2021-26 s 4

Agvet chemical products causing environmental harm

div 6.2 hdg	ins SL2021-26 s 4

Agvet chemical products taken to cause environmental harm—Act, s 5 (b)

s 54	sub SL2021-26 s 4

Using agvet chemical products

div 6.3 hdg	ins SL2021-26 s 4

Use of agricultural chemical products

s 55	am A2016-24 s 22; ss renum R27 LA; A2018-32 amdt 3.8

sub SL2021-26 s 4

Use of veterinary chemical products

s 55A	ins SL2021-26 s 4

Recording use of agricultural chemical products

s 55B	ins SL2021-26 s 4

Training requirements for use of certain agvet chemical products

div 6.4 hdg	ins SL2021-26 s 4

Definitions—div 6.4

s 55C	ins SL2021-26 s 4

def approved VET course unit of competency ins SL2021-26 s 4

def registered training organisation ins SL2021-26 s 4

am A2024-35 s 49

def restricted agvet chemical product ins SL2021-26 s 4

def schedule 7 poison ins SL2021-26 s 4

def statement of attainment ins SL2021-26 s 4

def VET course ins SL2021-26 s 4

Declared agvet chemical products

s 55D	ins SL2021-26 s 4

Approved VET course units of competency

s 55E	ins SL2021-26 s 4

Training—use of declared liquid fumigants

s 55F	ins SL2021-26 s 4

Training—use of declared vertebrate poisons

s 55G	ins SL2021-26 s 4

Training—use of declared avicides

s 55H	ins SL2021-26 s 4

Training—use of declared industrial timber treatments

s 55I	ins SL2021-26 s 4

Training—use of declared termiticides

s 55J	ins SL2021-26 s 4

Training—use of other agricultural chemical products containing schedule 7 poisons

s 55K	ins SL2021-26 s 4

Training—use of registered veterinary chemical products containing schedule 7 poisons

s 55L	ins SL2021-26 s 4

Definitions for pt 7

s 56	def NEPM am A2022-14 amdt 3.90; A2024-35 s 50

Application of div 7.2

s 57	am A2024-35 s 51

Consignment authorisation for controlled waste

s 58	am A2014-52 s 54, s 55; ss renum R21 LA

People who may conduct analysis

s 64	am SL2007-24 s 9; A2011-52 amdt 3.91

Procedures and protocols

s 65	am A2022-14 amdt 3.91; A2024-35 ss 52-54

What is a recognised entity?

s 66	am A2011-52 amdt 3.91; A2022-14 amdt 3.92

Erosion and sediment control measures for development sites

pt 8A hdg	ins A2014-52 s 56

Meaning of erosion and sediment control measures—pt 8A

s 66A	ins A2014-52 s 56

Development sites 0.3ha or greater

s 66B	ins A2014-52 s 56

Development sites less than 0.3ha

s 66C	ins A2014-52 s 56

sub A2019-20 s 10

Displacement of Legislation Act, s 47 (5) and (6)

s 67	am SL2007-24 s 10; pars renum R4 LA; A2007-39 amdt 1.6, amdt 3.50; SL2009-29 s 7; A2013-19 amdt 3.137, amdt 3.138; SL2021-26 s 5, s 6; pars renum R37 LA;
A2023-36 amdt 1.149

om A2024-35 s 55

Inspection of incorporated document

s 68	am A2011-22 amdt 1.198; A2013-19 amdt 3.139

om A2024-35 s 55

Notification of incorporated document

s 69	am A2011-22 amdt 1.199; A2011-52 amdt 3.92; A2013-19 amdt 3.140

om A2024-35 s 55

Entity to be consulted—Act, s 25 (5)

s 70	om LA s 89 (3)

ins A2016-2 s 7

Transitional—Environment Protection Amendment Regulation 2009 (No 1)

pt 12 hdg	ins SL2009-29 s 8

exp 1 January 2010 (s 102)

Noise control manual

s 100	ins SL2009-29 s 8

exp 1 January 2010 (s 102)

Inspection of noise control manual––Act, s 19 (1) (r)

s 101	ins SL2009-29 s 8

exp 1 January 2010 (s 102)

Expiry—pt 12

s 102	ins SL2009-29 s 8

exp 1 January 2010 (s 102)

Exceptions—chimney emissions and open-air fires

sch 1	am A2012-21 amdt 3.71, amdt 3.72; A2016-33 amdt 1.24, amdt 1.25; A2024-11 amdt 2.10

Noise zones, noise standards and conditions

sch 2	am SL2006-27 s 4; SL2007-24 s 11, s 12

Definitions for pt 2.1

sch 2 s 2.1	table 2.1 sub A2007-25 amdt 1.58

table 2.1 am A2008-4 s 75; SL2008-35 s 5; SL2011-9 s 4

table 2.1, except note sub SL2013-2 s 14

table 2.1 am SL2019-32 s 6; items renum R34 LA; SL2024-17 s 13, s 14; items renum R41 LA

def broadacre zone ins A2007-25 amdt 1.57

def CCEP core ins SL2024-17 s 10

def CCEP frame ins SL2024-17 s 10

def Central National Area (City) om SL2013-2 s 4

def Central National Area (City Hill Precinct) ins SL2013-2 s 5

am A2024-35 s 56

def Central National Area (Fairbairn) am SL2013-2 s 6

def Central National Area (Parliamentary Zone and Other Areas) ins SL2013-2 s 8

def Central National Area (The Parliamentary Zone; Barton; sections 39, 40 and 41 of Yarralumla; Acton; Anzac Parade and Constitution Avenue; Russell; Duntroon, ADFA and Campbell Park; Development Nodes and Clubs of Lake Burley Griffin and Foreshores) om SL2013-2 s 7

def Central National Area (Parliamentary Zone and Other Areas) ins SL2013-2 s 8

def city centre ins A2007-25 amdt 1.57

sub A2008-4 s 71; SL2013-2 s 9; A2023-36 amdt 1.150; SL2024-17 s 11

def commercial C4 zone ins A2007-25 amdt 1.57

om A2008-4 s 71

def commercial C5 zone ins A2007-25 amdt 1.57

om A2008-4 s 71

def commercial CZ3 zone ins SL2024-17 s 12

def commercial CZ4 zone ins A2008-4 s 71

sub A2023-36 amdt 1.150

def commercial CZ5 zone ins A2008-4 s 71

def community facility zone ins A2007-25 amdt 1.57

def corridor site ins SL2013-2 s 10

sub A2023-36 amdt 1.150

def group centre ins A2007-25 amdt 1.57

sub A2008-4 s 72; SL2013-2 s 11; A2023-36 amdt 1.150

def industrial zone ins A2007-25 amdt 1.57

def leisure and accommodation zone ins SL2008-35 s 4

def office site ins A2007-25 amdt 1.57

sub A2008-4 s 72; SL2013-2 s 12; A2023-36 amdt 1.150

def Queanbeyan city business zone am A2024-35 s 57

def restricted access recreation zone ins A2007-25 amdt 1.57

def town centre ins A2007-25 amdt 1.57

sub A2008-4 s 74; SL2013-2 s 13; A2023-36 amdt 1.150

def TS2 services zone ins A2007-25 amdt 1.57

om A2008-4 s 74

def TSZ2 services zone ins A2008-4 s 74

Noise zones other than zones B1, B3, B4 and C1

sch 2 table 2.2 hdg	sub SL2024-17 s 15

sch 2 table 2.2	sub SL2019-32 s 7

am SL2024-17 s 16; items renum R41 LA

Noise zone B1

sch 2 table 2.2A	ins SL2019-32 s 7

Noise zones B3 and B4—entertainment noise from place other than dwelling

sch 2 table 2.2AA	ins SL2024-17 s 17

Noise zone C1

sch 2 table 2.2B	ins SL2019-32 s 7

Interpretation for pt 2.3

sch 2 s 2.2	table 2.3 am SL2009-29 s 9; SL2011-9 s 7; A2013-19 amdt 3.141; A2014-52 s 57; A2014-59 amdt 2.12; SL2015-28 s 5

def light rail ins SL2015-28 s 4

sub A2017-21 amdt 1.23

def major road sub A2007-25 amdt 1.59

am A2023-36 amdt 1.151

def network facility ins SL2011-9 s 5

def reserve ins A2014-59 amdt 2.10

def reserved area om A2014-59 amdt 2.11

def territory network facility ins SL2011-9 s 5

def territory service om SL2011-9 s 6

def utility service om SL2011-9 s 6

Dictionary

dict	am A2007-3 amdt 3.202; A2007-25 amdt 1.60; A2009-20 amdt 3.72; SL2011-1 s 6; A2011-22 amdt 1.200; A2011-28 amdt 3.113; A2011-52 amdt 3.93; A2012-21 amdt 3.73; A2013-19 amdt 3.142, amdt 3.143; A2014-52 s 58; A2015-19 s 47; A2015-33 amdt 1.80; A2016-24 s 23; A2016-33 amdt 1.26, amdt 1.27; A2018-32 amdt 3.9

def affected person om SL2024-17 s 18

def agricultural chemical product ins SL2021-26 s 7

def agvet chemical product sub SL2021-26 s 8

def agvet code sub SL2021-26 s 8

def agvet permit ins SL2021-26 s 9

def approved label ins SL2021-26 s 9

def approved VET course unit of competency ins SL2021-26 s 9

def AS 2436 ins A2013-19 amdt 3.144

def broadacre zone ins A2007-25 amdt 1.61

am A2013-19 amdt 3.150

def building intruder alarm ins A2011-28 amdt 3.114

def built-up area sub A2021-30 amdt 1.4

def CCEP core ins SL2024-17 s 19

def CCEP frame ins SL2024-17 s 19

def Central National Area (City) om SL2013-2 s 15

def Central National Area (City Hill Precinct) ins SL2013-2 s 16

am A2013-19 amdt 3.150

def Central National Area (Fairbairn) am A2013-19 amdt 3.150

def Central National Area (Parliamentary Zone and Other Areas) ins SL2013-2 s 18

am A2013-19 amdt 3.150

def Central National Area (The Parliamentary Zone; Barton; sections 39, 40 and 41 of Yarralumla; Acton; Anzac Parade and Constitution Avenue; Russell; Duntroon, ADFA and Campbell Park; Development Nodes and Clubs of Lake Burley Griffin and Foreshores) om SL2013-2 s 17

def CFC om A2007-39 amdt 3.51

def city centre ins A2007-25 amdt 1.61

am A2013-19 amdt 3.150

def city centre entertainment precinct ins SL2024-17 s 19

def commercial C4 zone ins A2007-25 amdt 1.61

om A2008-4 s 76

def commercial C5 zone ins A2007-25 amdt 1.61

om A2008-4 s 76

def commercial CZ3 zone ins SL2024-17 s 19

def commercial CZ4 zone ins A2008-4 s 76

am A2013-19 amdt 3.150

def commercial CZ5 zone ins A2008-4 s 76

am A2013-19 amdt 3.150

def community facility zone ins A2011-28 amdt 3.114

def corridor site ins SL2013-2 s 19

def domestic article om A2011-28 amdt 3.115

def erosion and sediment control measures ins A2014-52 s 59

def group centre ins A2007-25 amdt 1.61

am A2013-19 amdt 3.150

def habitable room ins A2011-28 amdt 3.116

def halon om A2007-39 amdt 3.51

def HCFC om A2007-39 amdt 3.51

def industrial zone ins A2007-25 amdt 1.61

am A2013-19 amdt 3.150

def instruction ins SL2021-26 s 9

def leisure and accommodation zone ins SL2008-35 s 6

am A2013-19 amdt 3.150

def light rail ins SL2015-28 s 6

sub A2017-21 amdt 1.24

def major road ins A2007-25 amdt 1.61

am A2013-19 amdt 3.145

def motor vehicle intruder alarm ins A2011-28 amdt 3.116

def national capital plan ins A2011-28 amdt 3.116

def national scheme laws ins A2013-19 amdt 3.146

def network facility ins A2013-19 amdt 3.147

def noise control manual om SL2009-29 s 10

def noise measurement manual ins SL2009-29 s 10

def office site ins A2007-25 amdt 1.61

am A2013-19 amdt 3.150

def owner sub A2015-19 s 48

def parcel ins A2015-19 s 49

def Poisons Standard ins SL2021-26 s 9

am A2024-35 s 58

def primary production sub SL2007-24 s 13

def public holiday om A2011-28 amdt 3.117

def public land sub A2023-36 amdt 1.152

def Queanbeyan city business zone am A2013-19 amdt 3.150

def Queanbeyan city industrial zone am A2013-19 amdt 3.150

def Queanbeyan city special uses zone am A2013-19 amdt 3.150

def registered ins SL2021-26 s 9

def reserve ins A2014-59 amdt 2.13

def reserved area ins A2011-28 amdt 3.118

om A2014-59 amdt 2.14

def residential land sub A2007-25 amdt 1.62

am A2023-36 amdt 1.153

def restricted access recreation zone ins A2007-25 amdt 1.63

am A2013-19 amdt 3.150

def restricted agvet chemical product ins SL2021-26 s 9

def schedule 7 poison ins SL2021-26 s 9

def statement of attainment ins SL2021-26 s 9

def territory lease om A2011-28 amdt 3.119

def territory network facility ins A2013-19 amdt 3.147

def territory service ins A2011-28 amdt 3.120

om A2013-19 amdt 3.148

def town centre ins A2007-25 amdt 1.63

am A2013-19 amdt 3.150

def TS2 services zone ins A2007-25 amdt 1.63

om A2008-4 s 75

TSZ2 services zone ins A2008-4 s 76

am A2013-19 amdt 3.150

def utility service ins A2011-28 amdt 3.120

om A2013-19 amdt 3.149

def VET course ins SL2021-26 s 9

def veterinary chemical product ins SL2021-26 s 9

5	Earlier republications

Some earlier republications were not numbered. The number in column 1 refers to the publication order.

Since 12 September 2001 every authorised republication has been published in electronic pdf format on the ACT legislation register.  A selection of authorised republications have also been published in printed format. These republications are marked with an asterisk (*) in column 1.  Electronic and printed versions of an authorised republication are identical.

| Republication No and date | Effective | Last amendment made by | Republication for |
| --- | --- | --- | --- |
| R1 18 Nov 2005 | 18 Nov 2005– 2 June 2006 | not amended | new regulation |
| R2 3 June 2006 | 3 June 2006– 11 Apr 2007 | SL2006-27 | amendments by SL2006-27 |
| R3 12 Apr 2007 | 12 Apr 2007– 10 Sept 2007 | A2007-3 | amendments by A2007-3 |
| R4 11 Sept 2007 | 11 Sept 2007– 26 Dec 2007 | SL2007-24 | amendments by SL2007-24 |
| R5 27 Dec 2007 | 27 Dec 2007– 30 Mar 2008 | A2007-39 | amendments by A2007-39 |
| R6 31 Mar 2008 | 31 Mar 2008– 14 Aug 2008 | A2008-4 | amendments by A2007-25 and A2008-4 |
| R7 15 Aug 2008 | 15 Aug 2008– 22 June 2009 | SL2008-35 | amendments by SL2008-35 |
| R8 23 June 2009 | 23 June 2009– 21 Sept 2009 | SL2009-29 | amendments by SL2009-29 |
| R9 22 Sept 2009 | 22 Sept 2009– 11 Dec 2009 | A2009-20 | amendments by A2009-20 |
| R10 12 Dec 2009 | 12 Dec 2009– 1 Jan 2010 | SL2009-54 | amendments by SL2009-54 |
| R11 2 Jan 2010 | 2 Jan 2010– 20 Jan 2011 | SL2009-54 | commenced expiry |
| R12 21 Jan 2011 | 21 Jan 2011– 10 Mar 2011 | SL2011-1 | amendments by SL2011-1 |
| R13 11 Mar 2011 | 11 Mar 2011– 30 June 2011 | SL2011-9 | amendments by SL2011-9 |
| R14 1 July 2011 | 1 July 2011– 20 Sept 2011 | A2011-22 | amendments by A2011-22 |
| R15 21 Sept 2011 | 21 Sept 2011– 11 Dec 2011 | A2011-28 | amendments by A2011-28 |
| R16 12 Dec 2011 | 12 Dec 2011– 4 June 2012 | A2011-52 | amendments by A2011-52 |
| R17 5 June 2012 | 5 June 2012– 7 Feb 2013 | A2012-21 | amendments by A2012-21 |
| R18 8 Feb 2013 | 8 Feb 2013– 13 June 2013 | SL2013-2 | amendments by SL2013-2 |
| R19 14 June 2013 | 14 June 2013– 26 Jan 2014 | A2013-19 | amendments by A2013-19 |
| R20 27 Jan 2014 | 27 Jan 2014– 11 Nov 2014 | A2013-40 | amendments by A2013-40 |
| R21 12 Nov 2014 | 12 Nov 2014– 10 June 2015 | A2014-52 | amendments by A2014-52 |
| R22 11 June 2015 | 11 June 2015– 30 June 2015 | A2014-59 | amendments by A2014-59 |
| R23 1 July 2015 | 1 July 2015– 31 Aug 2015 | A2015-19 | amendments by A2015-19 |
| R24 1 Sept 2015 | 1 Sept 2015– 13 Oct 2015 | SL2015-28 | amendments by SL2015-28 |
| R25 14 Oct 2015 | 14 Oct 2015– 23 Feb 2016 | A2015-33 | amendments by A2015-33 |
| R26 24 Feb 2016 | 24 Feb 2016– 11 May 2016 | A2016-2 | amendments by A2016-2 |
| R27 12 May 2016 | 12 May 2016– 20 June 2016 | A2016-24 | amendments by A2016-24 |
| R28 21 June 2016 | 21 June 2016– 14 Aug 2017 | A2016-33 | amendments by A2016-33 |
| R29 15 Aug 2017 | 15 Aug 2017- 30 Aug 2017 | A2017-21 | amendments by A2017-21 |
| R30 31 Aug 2017 | 31 Aug 2017– 20 Dec 2018 | A2017-21 | amendments by A2017-21 |
| R31 21 Dec 2018 | 21 Dec 2018– 8 Aug 2019 | A2018-32 | amendments by A2018-32 |
| R32 9 Aug 2019 | 9 Aug 2019– 31 Aug 2019 | A2019-20 | amendments by A2019-20 |
| R33 1 Sept 2019 | 1 Sept 2019– 23 Dec 2019 | A2019-20 | amendments by A2016-24 |
| R34 24 Dec 2019 | 24 Dec 2019– 22 June 2021 | SL2019-32 | amendments by SL2019-32 |
| R35 23 June 2021 | 23 June 2021– 10 Dec 2021 | A2021-12 | amendments by A2021-12 |
| R36 11 Dec 2021 | 11 Dec 2021– 27 Apr 2022 | A2021-30 | amendments by A2021-30 |
| R37 28 Apr 2022 | 28 Apr 2022– 23 Aug 2022 | SL2021-26 | amendments by SL2021-26 |
| R38 24 Aug 2022 | 24 Aug 2022– 26 Nov 2023 | A2022-14 | amendments by A2022-14 |
| R39 27 Nov 2023 | 27 Nov 2023– 10 July 2024 | A2023-36 | amendments by A2023-36 |
| R40 11 July 2024 | 11 July 2024– 15 Aug 2024 | A2024-35 | amendments by A2024-35 |
| R41 16 Aug 2024 | 16 Aug 2024– 9 Jan 2025 | SL2024-17 | amendments by SL2024-17 |
| R42 10 Jan 2025 | 10 Jan 2025– 14 May 2025 | SL2024-17 | amendments by A2024-35 |

6	Expired transitional or validating provisions

This Act may be affected by transitional or validating provisions that have expired.  The expiry does not affect any continuing operation of the provisions (see Legislation Act 2001, s 88 (1)).

Expired provisions are removed from the republished law when the expiry takes effect and are listed in the amendment history using the abbreviation ‘exp’ followed by the date of the expiry.

To find the expired provisions see the version of this Act before the expiry took effect.  The ACT legislation register has point-in-time versions of this Act.

©  Australian Capital Territory 2025